Gas stability test
with controlled HV
in HARPO
Philippe Gros
LLR, Ecole Polytechique
RD51 mini week
2016-12-14

---
- Reminder: 2015 test results
  - shown at MPGD2015/RD51 collaboration meeting
- HV control with Pyrame
  - the Pyrame framework
  - spike detector for micromegas
- Preliminary results

---
Diagnostics: Q vs Tdrift
Tmax = LTPC/Vdrift
- The charge is normalised with regard to the track angle
- The MPV is obtained from a Landau fit (of slices) (mean value affected by threshold/saturation effects)
- Vdrift is also easily extracted from this plot
gain
electron capture

---
Cosmic runs LLR
- Relative measurements
  - First run as reference (“clean gas”)
- Weekly data taking of ~1.5h, for 6 months
- Clear degradation of gain and e- capture

---
Gas stability
pressure temperature
gain
attenuation
drift velocity
Recovery of full performance after 6 month sealed
Frotin et al., MPGD2015, EPJ Web of Conferences, arXiv:1512.03248
START PURIFICATION

---
Gas stability
- Very encouraging results
  - excellent performance after 6 month sealed
  - detector not optimised for outgassing
- Test done without HV
  - monitoring necessary: risk of damage on µM
  - HV turned on only for data taking ~1h/day
  => New test with continuous HV

---
http://llr.in2p3.fr/sites/pyrame
Frederic Magniette (frederic.magniette@llr.in2p3.fr)

---
Architecture
Hardware
Hardware
Hardware
Low Level
Module
Low Level
Module
Acquisition
Chain
sequence
Module
Scripts
Central
Service
Physics
Module
GUI
Hierarchical architecture of unitary modules
Emulated by peer to peer asynchronous network
Protocol is XML over TCP
[Speaker Notes: The principle of Pyrame is to emulate a hierarchical network of unitary modules managind only a limited aspect of the bench. There are different kind of modules : there are low level modules to control directly hardware or acquire data from it There aresequence modules that coordinate different LL modules together to get a coherent behavior Physicsl modules can implement physics functions like run control or calibrations Some central services allows all the system to work together This architecture is emulated with a peer to peer asynchronous network (collection of intermittent TCP connections) and a protocol based on XML.]

---
Dozens of hardware modules
- Buses : RS232, GPIB, Ethernet, TCP, UDP, USB
- Power Supplies (Agilent, CAEN, Hameg…)
- Pattern Generators (Agilent)
- Motion controllers and probe station (Newport,Thorlabs,Signatone)
- Digital storage oscilloscopes (Lecroy)
- Particle detector chip (Omega)
- GaussMeter (LakeShore)
- Multimeter (Keithley)
- Arduino

---
Service modules
Automatic configurator (calxml) based on a unified XML configuration format
[Speaker Notes: For linking the different modules together, it is necessary to get some centralized modules. Most important of them are The variable modules allowing to share numerical or string values and to make some basic operations on them The configuration modules is a hierachical database to store the parameters of all the modules We also have implemented an automatic configurator that can spread the parameters over all the modules. This way you can manipulate the global configuration of the system as a simple and editable xml file.]

---
Acquisition Chain
- Acquisition
  - Multimedia (plugin system) : Ethernet, TCP, UDP, USB, RS-232
  - Multi-format (plugin system)
  - Good performance : 4Gb/s
- Data logger
  - fetch data on hardware at regular intervals (configurable by device)
- Online monitoring GUI
[Speaker Notes: Raw files for offline treatments Shared memory for high performance but local online treatments TCP sockets for online remote treatment or data dispatching through network]

---
Bindings
- Bindings allow to pilot the setup via scripts or GUIs
- Available bindings in C, C++ (including Root), Python, R
- Easy GUI developpement in Labview or Javascript
- Interfacing with SCADA :
[Speaker Notes: It is very easy to create new bindings because of open formats]

---
Embedded system
- Pyrame is light enough to be easily embedded
- As complete system like in Raspberry Pi (or any other ARM card)
- As a library for very small system like Arduino
- real-time Pyrame components with freeRTOS and Xenomai (real-time Linux)

---
Harpo State Machine
Volt.Target Reached
Config
Power-on
Off
Undef
Ramping
On
Inval
Zero volt Reached
Power-off,Change_voltage
Secure
Too many transitions
Too many high states
Ramping Time-out
Emergency
Spike Detector
Send Warning
Emails

---
Spike detector
- Simple current spike detection
- Current measurement every 2 seconds
  - Serial port limitation
- Detection of overcurrent
  - threshold 50nA
  - Time window (900s)
  - Ntransitions<5
  - Nhigh<10

---
Stability test
- Sealed TPC
- Detector operational 24/7
- 30 minutes cosmic rays every 6h
  - gain
  - e- capture from cosmic ray profile
  - vdrift
  - Cdiff from cluster width

---
First 2 weeks: sealed

---
First results
- Increasing gain
  - quick raise on first day, then steady raise
    => outgasing?
  - corresponding increase in current spikes
  - HV lowered after a couple of days
- Steady evolution of the other parameters
  - decreasing velocity
  - decreasing electron life time
  - diffusion?? (low precision measurement)

---
Comparison with 2015

---
Conclusions and outlook
- HARPO showed promising gas stability in sealed and circulated modes with HV
- New HV control with allows long term test with operational detector
- Early results in sealed mode
  - vdrift, e- capture and diffusion compatible with 2015 (no HV) => probably O2 contamination
  - gain increase unexplained, gas analysis needed