## Slide 1: CLIC Stabilisation meeting 10
14/09/2010
List of actions that were decided during the discussion on Instrumentation WG 9:
Continue work on characterisation of transfer functions different sensors (CERN + LAPP)
Re-contact Eentec/PMD regarding the stability of the SP500 and SP500C seismometers. (LAPP)
Ask Eentec/PMD about the MP483 and differences with the SP500 with respect to stability, radiation hardness and magnetic field influence. (LAPP)
Contact the providers of the sensors used to date to ask if some of the electronics could be put further away from the beam line (some metres) (LAPP + CERN)
Send data on sensor characterisation + alternative solutions to Chr. Collette. He will collect such data with respect to a “state-of –the-art-report” to be issued for Eucard (end 2010). (ACTION ALL)
Look for a magnet at CERN that could be used for testing the influence of magnetic fields on sensors. (CERN)

## Slide 2: CLIC Stabilisation meeting 10
14/09/2010
Determine a map of expected field levels outside of the magnet. (CERN)
Contact IRIS with respect to advances since the 2004 workshop. http://www.iris.edu/stations/seisWorkshop04/seisWorkshop.htm (CERN)
Contact directly people that presented work in progress in the 2004 IRIS workshop. (CERN)
Following the two actions above consider the usefulness of organising a meeting/mini workshop on seismometers/sensors for CLIC stabilisation and feedforward beam control. (CERN)
What is the expected air temperature stability in CLIC during operation and start up transients? (CERN).