## Slide 1: Cooling of electrically insulated high voltage electrodes down to 30 mK – Dynamic measurements
Eisel T., Bremer J., Burghart G., Feigl S., Haug F., Koettig T.
CERN, 1211 Geneva 23, Switzerland
thomas.eisel@cern.ch

## Slide 2: Content
Electrodes integrated in AEgIS
Cooling source: Dilution Refrigerator (DR)
Cooling design: Sandwich
Theory of dynamic measurements
Simulation
Results of dynamic measurements
Discussion/ conclusion

## Slide 3: AEgIS
AEgIS1 experiment at CERN
Scientific goal: influence of g upon antimatter
Penning trap at 100 mK  deceleration of particles
DR
MC
1 http://aegis.web.cern.ch/aegis/home.html

## Slide 4: Dilution Refrigerator
Standard cooling source: DR1
  (0.002 to ~ 0.5) K
  Continuous operation
  Dilution of 3He in 4He
  0.0001W @ 0.05 K
1 http://cdms.berkeley.edu
Notes: 3He 2 protons only one neutron

## Slide 5: Sandwich
1 G. Frossati. Experimental Techniques: Methods for Cooling Below 300 mK. Journal of Low Temperature Physics, Vol. 87, Nos. 3/4, 1992

## Slide 6: Theory of dyn. meas.
  Antimatter creation/ annihilation (Illuminati) is periodically (200 s)
Dynamic measurements
  Information on how fast inserted heat can be transferred
  Key property which determines the propagation-speed of a heat wave in an homogeneous material:
  material’s thermal diffusivity a (m2/s)
  l . . . thermal conductivity
  ρ . . . density
  cp . . . specific heat capacity
Sandwich’s thermal
diffusivity a*

## Slide 7: Theory of dyn. meas.
Semi-infinite rod (one dimensional)
One end imposed temp. function TH=f(t) (sin, pulse)
  TC=f(t) at certain distance  Alteration of the original function (phase shift, attenuation)
material’s thermal diffusivity a
can be analytically solved

## Slide 8: Simulation
Sandwich is not a semi-infinite rod (TMC=const)
Imposed temp. function TH is not sinusoidal (square heat wave)
Simulation (MATLAB®,pdepe):
  TH(t)=TH,meas(t)
  TMC=TMC,meas
  xS=xSapphire
  TC,sim=TC,meas
    xtherm
    Sandwich’s thermal
    diffusivity a*

## Slide 9: Results
Chart: Cold temperature of the Sandwich in mK
| 33.369280948203425 | 33.382825748011122 | 32.697031310827057 | 51.992013897665203 | 51.947122978089133 | 51.514958798405438 | 71.204180830767882 | 71.190807825891056 | 70.708522163459804
A | 3.1 | 2.6 | 2.7 | 6.1 | 5.7 | 5.4 | 14.1 | 14.1 | 14 | 0 | 0 | 0
B | 2.5 | 2 | 2.1 | 5.3 | 4.8 | 5.2 | 11.4 | 11.5 | 11.7
C | 6.5 | 4.8 | 3.4 | 10.3 | 10 | 9.5 | 23.4 | 24.2 | 24.1
D | 6.2 | 4.3 | 3 | 8.6 | 8.1 | 7.9 | 23 | 23.5 | 23.7
test | 2.4078 | 3.126 | 3.9744 | 4.9639 | 6.1054 | 7.4097 | 8.8876 | 10.5501 | 12.4079 | 14.472 | 16.7531 | 19.2622 | 22.0101 | 25.0076

## Slide 10: Discussion/ conclusion
For temperatures > 30 mK an indium deposition improves the diffusivity significantly (about a factor of 2)
The surface roughness influences the diffusivity only minor
 contrary to static measurements1; conclusion: heat transfer mechanisms of dynamic and static measurements are different
1 Eisel T., Bremer J., Burghart G., Feigl S., Haug F., Koettig T., Cooling of electrically insulated high voltage electrodes down to 30 mK. Proceedings of the twenty third cryogenic engineering conference, Poland; 2010.
Sandwich’s thermal diffusivity is more than 6 orders of magnitude smaller than the thermal diffusivity of copper or sapphire  thermal boundary resistance
The diffusivity is not constant, it diminishes with reduced temperature  thermal boundary resistance
 The fastest heat propagation could be achieved along a Sandwich using indium deposited and polished sapphire plates