Noise studies of 2008 runs
Vincent Boudry
LLR, École polytechnique
SDHCAL analysis
CERN
13/07/2010

---
Beam time structure

---
Noise & ROC study
Run00101
Hit rates for each triggered event
Shape:
flat noise+event rate τ
modified by RAMFull (Loss of memory)
probability at -t =
(1- P(avail. mem, t × τ))
avail. mem = 128 evts – Nevt in spill
Current spill
Previous spill

---
Noise fits

---
Noise fits
Low noise / low stat run

---
Global results

---
Global results
Different threshold ?
- Noise ≤ 1 Hz
- Time dependant : slow evolution, + peaks [HV/thr. scans ?]
  - To be correlated with HV, thr...
  - Aging (gas ?)
- PCB A rather noise in 1st period
  - Normalized after → chamber problem ?
  - To be checked with chambers numbers (in principle noted).