## Slide 1: Studies of bremsstrahlung and characteristic X-Ray lines using the VENUS ECR
Janilee Benitez, Damon Todd, Dan Xie
Lawrence Berkeley National Lab

## Slide 2
Outline
VENUS ECR Ion Source
Studies Performed
Previous Bremsstrahlung Study
Recent Bremsstrahlung Study and Some Results
Characteristic X-Ray Line Study and Some Results

## Slide 3
The VENUS ECR
Designed around empirical scaling laws
Extraction
4 Cryocoolers
LHe fill tube
Sextupole
LN Reservoir
Solenoids
Fully Superconducting Niobium-Titanium sextupole & 3 solenoids enclosed in LHe
LN Reservoir: 70K, cools normal conducting leads
LHe Reservoir: 4.2K
Uses 4 cryocoolers to condense evaporated LHe, provide 6W of cooling power at 4.2K
can be run 1.5-2 yrs without transferring LHe
Maximum Injection Field, on axis | 4.0T
Maximum Extraction Field, on axis | 3.0T
Maximum Radial Field, at wall | 2.2T
LHe reservoir Temperature | 4.3K
28 GHz Maximum Power Injected | 6.5kW
18+28 GHz Maximum Power Injected | 8.5kW
Plasma Chamber
RF, Oven, Sputter Probe Feedthroughs
LHe Reservoir
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T)
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR
14 | 0.50 | ~1.7 | 0.25 | 1 | 1
28 | 1 | ~3.5 | ~0.5 | 2 | 2

## Slide 4
ECR’s have been built according to:
Frequency Scaling
Confinement Criterion
Generation | ωμ-wave | Max Inj. B-field | 16O6+ (eμA)
1st | 6.4 GHz | 0.4 T | 
2nd | 14 GHz | 1.7 T | 
3rd | 28 GHz | 4.0 T | 
Electrons absorb energy near the resonance zone
Simulations show more electron heating with shallower gradient (high Bmin/BECR).
Believed that shallow gradient means electrons spend more time near resonance and absorb more energy
Z
BINJ
BEXT
BMIN
BECR
shallow gradient
steep gradient
Electron Heating

## Slide 5
Different studies to gain information on effect of varying Bmin
characteristic X-ray lines
continuous bremsstrahlung spectrum
X-Ray Energy
X-Ray Intensity
A. Bremsstrahlung Radiation | “braking radiation”, incident e- interacts with nucleus of target atom
B. Characteristic Radiation | incident e- interacts with orbital e- of target atom
Studies Performed/In Progress
K
L
M
N
Kα
Kβ
Kγ
Plasma
e-
e-
e-

## Slide 6
Information from Radiation
A. Bremsstrahlung | Spectral Ts or characteristic energy of hot electrons lost from the plasma
characteristic X-ray lines
continuous bremsstrahlung spectrum
X-Ray Energy
X-Ray Intensity
Ts= -1/slope
What do we learn from these processes?
Notes: Ionization energy shift: loss of electrons from outer shell-> electrons in inner shells are attracted more strongly to nucleus and binding energy increases; As atom ionizes, remaining electrons cluster more closely to nucleus, increase binding energy

## Slide 7
Information from Radiation
A. Bremsstrahlung | Spectral Ts or characteristic energy of hot electrons lost from the plasma
B. Characteristic Radiation | Energy shifts of lines can give info on CSD1-2, With increasing degree of ionization the energy of the characteristic x-ray lines increases3 , Characteristic x-ray lines may be indication of slope of F(E)4
characteristic X-ray lines
continuous bremsstrahlung spectrum
X-Ray Energy
X-Ray Intensity
Ts= -1/slope
What do we learn from these processes?
characteristic X-ray lines
1K. Slabkowska et al. Physics of Plasmas 21, 031216 (2014)
2N.R. Pereira et al. Physics of Plasmas 19, 102705 (2012)
3 H. F. BeyerH.F. Beyer, H.J. Kluge, and V.P. Shevelko, X-ray Radiation of Highly Charged Ions, (Springer, Berlin, 1997).
4R. Friedlein et al. Hyperfine Interactions 99 (1996) 225-234
Notes: Ionization energy shift: loss of electrons from outer shell-> electrons in inner shells are attracted more strongly to nucleus and binding energy increases; As atom ionizes, remaining electrons cluster more closely to nucleus, increase binding energy

## Slide 8
Setup
Sextupole
Inj
Cu collimator 3 x 3 mm2 opening
Lead Shielding
XR-100-CdTe or X-123SDD
95% W 5% Cu collimator
1 x 1 mm2 opening
X-ray blocking cube
Ext
Mid
15.5 mm diameter puller aperture
10 mm diameter extraction aperture

## Slide 9
Plasma chamber
10 mm extraction hole
15.5 mm puller hole
Batman Analyzing Magnet
High energy:
XR-100-CdTe
Or
Low energy:
X-123SDD
Detector
Setup

## Slide 10: Bremsstrahlung Radiation

## Slide 11
Chart: Bmin (T)
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
28GHz | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
28GHz | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
18GHz | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
 | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297 | 67.8211
 | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
 | 58.2634 | 51.1894 | 48.0367 | 40.2389 | 30.1491 | 47.03 | 42.27 | 44.48 | 43.34 | 43.49 | 36.73 | 35.83 | 35.3 | 35.3 | 34.08
 | 70.5868 | 65.8155 | 62.3514 | 57.838 | 55.768 | 52.4922 | 50.9188 | 49.6138
Results (2017)
Chart: Bmin/BECR
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
 | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
 | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
 | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
 | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297 | 67.8211
 | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
 | 58.2634 | 51.1894 | 48.0367 | 40.2389 | 30.1491 | 47.03 | 42.27 | 44.48 | 43.34 | 43.49
 | 70.5868 | 65.8155 | 62.3514 | 57.838 | 55.768 | 52.4922 | 50.9188 | 49.6138
Studies have focused on varying the gradient (ex: varying Bmin/BECR)
Shallow gradient
Steep gradient

## Slide 12
Chart: Bmin (T)
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
28GHz | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
28GHz | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
18GHz | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
 | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297 | 67.8211
 | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
 | 58.2634 | 51.1894 | 48.0367 | 40.2389 | 30.1491 | 47.03 | 42.27 | 44.48 | 43.34 | 43.49 | 36.73 | 35.83 | 35.3 | 35.3 | 34.08
 | 70.5868 | 65.8155 | 62.3514 | 57.838 | 55.768 | 52.4922 | 50.9188 | 49.6138
Results (2017)
Chart: Bmin/BECR
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
 | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
 | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
 | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
 | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297 | 67.8211
 | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
 | 58.2634 | 51.1894 | 48.0367 | 40.2389 | 30.1491 | 47.03 | 42.27 | 44.48 | 43.34 | 43.49
 | 70.5868 | 65.8155 | 62.3514 | 57.838 | 55.768 | 52.4922 | 50.9188 | 49.6138
Studies have focused on varying the gradient (ex: varying Bmin/BECR)

## Slide 13
Chart: Bmin (T)
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
28GHz | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
28GHz | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
18GHz | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
 | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297 | 67.8211
 | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
 | 58.2634 | 51.1894 | 48.0367 | 40.2389 | 30.1491 | 47.03 | 42.27 | 44.48 | 43.34 | 43.49 | 36.73 | 35.83 | 35.3 | 35.3 | 34.08
 | 70.5868 | 65.8155 | 62.3514 | 57.838 | 55.768 | 52.4922 | 50.9188 | 49.6138
Results (2017)
Ts is linearly dependent on Bmin not BECR1
Implies that Ts is not dependent on the frequency
*J. Benitez et al. IEEE Transactions on Plasma Science 45, 7, 2017.

## Slide 14
Results (2017)
Ts is linearly dependent on Bmin not BECR*
Implies that Ts is not dependent on the frequency
*T. Ropponen, Presented at ECRIS ‘10, Grenoble, France
**J B Li et al 2020 Plasma Phys. Control Fusion 62 095015
Chart: Bmin (T)
| 0.74832519693233512 | 0.77011777370628631 | 0.80517741699114198 | 0.84005706127493862 | 0.87493670555873526 | 0.86587119829251136 | 0.88784377406752157
28GHz | 87.2164 | 73.1173 | 82.7368 | 88.9637 | 88.8327 | 100.3979 | 92.6424
28GHz | 80.0429 | 45.1264 | 40.1614 | 36.4191 | 35.2078 | 31.2901 | 28.2231 | 88.1983 | 43.8293 | 44.7984
28GHz | 80.2008 | 70.8643 | 70.0937 | 62.4801 | 54.9479 | 46.9854
18GHz | 42.7551 | 43.7902 | 38.4257 | 45.2684 | 61.6179 | 55.0435 | 46.5638 | 43.7902 | 27.1672 | 26.9 | 16.9186 | 19.1133
18GHz | 28.7056 | 56.8229 | 69.9772 | 34.2065 | 38.5177 | 31.1831 | 22.9485 | 30.1812 | 58.0357 | 46.3705 | 38.8736
14GHz | 60.1399 | 50.8263 | 42.3266 | 42.0853 | 34.6691 | 30.2701 | 30.6429 | 30.8807 | 27.8237 | 28.2187 | 29.9224 | 30.2709 | 29.9008 | 17.4843 | 42.1169 | 49.932 | 56.3297
14GHz | 34.6821 | 28.3644 | 27.8763 | 21.002 | 19.9885 | 34.6821 | 38.5407 | 38.9354 | 37.6577 | 36.3032
14GHz | 17.1213 | 18.5023 | 22.7216 | 22.7833 | 32.2079 | 10.4505 | 16.3532 | 17.1869 | 23.7959 | 24.5607 | 22.5752
14 GHz AECR-U | 38.7552 | 38.6987 | 40.4573 | 43.7338 | 46.2985 | 47.1861 | 46.4103 | 46.2491 | 43.6921 | 38.4303 | 17.9431 | 39.5429 | 40.91 | 40.01 | 41.09 | 40.4 | 39.49
8.6 GHz ECR | 25.9 | 26.9 | 25.7
18 GHz- SuSi | 58 | 57.8 | 60.1 | 56.4
18GHz SECRAL 2020 | 33.8 | 36.1 | 38.6 | 42.1 | 43.4 | 45.6 | 47.4 | 48.6
VENUS
VENUS
VENUS
**
*
24 GHz SECRAL 2020 **

## Slide 15
Chart: Bmin (T)
Bmin at 1.6 T | 186
Chart: Bmin (T)
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T)
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR
14 | 0.50 | ~1.7 | 0.25 | 1 | 1
28 | 1 | ~3.5 | ~0.5 | 2 | 2
56 | 2 | 7 | ~1-1.6 | 4 | 4
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T) | Ts (keV) Bmin
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR | 
14 | 0.50 | ~1.7 | 0.25 | 1 | 1 | 30 keV
28 | 1 | ~3.5 | ~0.5 | 2 | 2 | 58 keV
56 | 2 | 7 | ~1-1.6 | 4 | 4 | 
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T) | 
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR | 
14 | 0.50 | ~1.7 | 0.25 | 1 | 1 | 30 keV
28 | 1 | ~3.5 | ~0.5 | 2 | 2 | 58 keV
56 | 2 | 7 | ~1-1.6 | 4 | 4 | 
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T) | Ts (keV) Bmin
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR | 
14 | 0.50 | ~1.7 | 0.25 | 1 | 1 | 30 keV
28 | 1 | ~3.5 | ~0.5 | 2 | 2 | 58 keV
56 | 2 | 7 | ~1-1.6 | 4 | 4 | 186keV!
f (GHz) | BECR (T) | Binj (T) | Bmid (T) | Bext (T) | Brad (T) | 
 | =f(GHz)/28 | 3-4BECR | 0.5-0.8BECR | ~Brad | 2BECR | 
14 | 0.50 | ~1.7 | 0.25 | 1 | 1 | 30 keV
28 | 1 | ~3.5 | ~0.5 | 2 | 2 | 58 keV
56 | 2 | 7 | ~1-1.6 | 4 | 4 | 186keV!
4th generation ECRs: Hot electrons can be avoided if Bmin is not scaled with frequency
An Implication of this Result

## Slide 16
Question as been brought up: does Br have an effect on Ts? 2
Varied Brad from 1.29T to 2.15T with constant Binj/Bext/Bmid=3.39T/2.1T/0.48T
Ts and Br
Notes: Question has risen about the

## Slide 17
Expanded range of Br
Investigated effect of Br by varying Bmin at different values of Br
Ts and Br
Chart: Vary Br @ 1kW 18GHz
| 1.67 | 1.62 | 1.58 | 1.53 | 1.43 | 1.34 | 1.24 | 1.1499999999999999 | 1.05 | 0.95 | 0.91 | 0.86 | 0.81
80-200keV | 23.38 | 23.07 | 22.14 | 23.6 | 23.67 | 24.33 | 24.22 | 26.7 | 27.97 | 30 | 28.47 | 30.2 | 31.43
80-120keV | 24.55 | 21.67 | 25.68 | 27.1 | 34.85 | 37.87 | 39.39 | 41.15 | 33.27
80-200keV | 17.19 | 16.39 | 16.92 | 18.31 | 23.28 | 23.75 | 25.78 | 23.24 | 27.46 | 29.78 | 33.85
 | 16.1 | 16.41 | 20.44 | 24.49 | 24.01
Chart: Vary Br
| 2.1 | 2.0099999999999998 | 1.91 | 1.81 | 1.72 | 1.62 | 1.53
3.27T/2.06T/0.58T 1kW 28GHz | 56.99 | 55.71 | 57.93 | 55.89 | 58.22 | 56.57 | 61.85
3.07T/1.96T/0.49T 1kW 28GHz | 42.8 | 43.96 | 45.78 | 45.85 | 47.48 | 50.15
2.84T/1.83T/0.44T 1kW 28GHz | 35.99 | 34.93 | 35.31 | 37.74 | 40.63 | 41.09 | 44.56 | 47.57
3.37T/1.94T/0.41T 4kW 28GHz | 32.42 | 32.48 | 33.16 | 33.38 | 31.6 | 31.68 | 32.68 | 33.19 | 34.72 | 35.48 | 36.66 | 37.63 | 38.67
2.12T/1.48T/0.38T 1kW 18GHz | 26.77 | 27.15 | 28.85 | 30.09 | 30.54
2.23T/1.47T/0.33T 1kW 18GHz | 17.19 | 16.39 | 16.92 | 18.31 | 23.28 | 23.75 | 25.78 | 23.24 | 27.46 | 29.78 | 33.85
Chart: Vary Br @ 1kW 18GHz
| 1.67 | 1.62 | 1.58 | 1.53 | 1.43 | 1.34 | 1.24 | 1.1499999999999999 | 1.05 | 0.95 | 0.91 | 0.86 | 0.81
80-200keV | 23.38 | 23.07 | 22.14 | 23.6 | 23.67 | 24.33 | 24.22 | 26.7 | 27.97 | 30 | 28.47 | 30.2 | 31.43
80-120keV | 24.55 | 21.67 | 25.68 | 27.1 | 34.85 | 37.87 | 39.39 | 41.15 | 33.27
80-200keV | 17.19 | 16.39 | 16.92 | 18.31 | 23.28 | 23.75 | 25.78 | 23.24 | 27.46 | 29.78 | 33.85
 | 16.1 | 16.41 | 20.44 | 24.49 | 24.01
Chart: O6+ vs Br/Bext
| 1.0194174757281553 | 0.97572815533980572 | 0.9271844660194174 | 0.87864077669902918 | 0.83495145631067957 | 0.78640776699029125 | 0.74271844660194175
Bmin=0.58T Bext=2.06T | 0.92958 | 0.91549 | 0.94366 | 1 | 0.7831 | 0.62535 | 0.50704
Bmin=0.49T Bext=1.96T | 0.68 | 0.92 | 0.99 | 1 | 0.96 | 0.89
Bmin=0.44T Bext=1.83T | 1 | 1 | 0.94444 | 0.77778 | 0.75 | 0.74074 | 0.50926
Bmin=0.41T Bext=1.94T | 0.7205 | 0.8 | 0.82733 | 0.83975 | 0.96894 | 0.95652 | 0.99503 | 0.99379 | 1 | 0.9441 | 0.91925
Bmin=0.38T Bext=1.48T | 0 | 0 | 0 | 0.76202 | 0.88942 | 0.95673 | 0.91346 | 1
Bmin=0.33T Bext=1.47T | 0.37102 | 0.47703 | 0.60071 | 0.68905 | 0.86396 | 0.9364 | 1 | 0.9364 | 0.94346 | 0.71025 | 0.4841
Bmin=0.33T Bext=1.47T | 0.50429 | 0.69099 | 0.81545 | 0.89056 | 0.96996 | 1
Notes: 18GHz 2.23/1.47/0.33T

## Slide 18: Characteristic X-ray Radiation

## Slide 19
Chart: 
Chart: 
Varying Bmin
Xe
4.110 keV
Lα1
Xe
4.415 keV
Lβ1
Minimal shift towards higher energy of peak center
Varying Bmin |  | 
Bmin | Gauss Fit Peak Center | FWHM
0.44 | 4.48401 | 0.17492
0.46 | 4.49078 | 0.18456
0.48 | 4.49406 | 0.18936
0.51 | 4.49083 | 0.19234
0.15% change in peak center |  | 
E (keV)
Counts

## Slide 20
Shifts characteristic x-ray lines for Xenon right indicating a more highly ionized plasma
Chart: 
Chart: 
Xe
4.110 keV
Lα1
Xe
4.415 keV
Lβ1
Varying Power
E (keV)
Counts
Varying Power |  | 
28GHz Power (+1kW 18GHz) | Gauss Fit Peak Center | FWHM
1.0 | 4.5217 | 0.1980
1.5 | 4.4527 | 0.2022
2.0 | 4.5249 | 0.2020
2.5 | 4.5324 | 0.2133
3.0 | 4.5338 | 0.2116
0.27% change in peak center |  | 
1kW 18GHz + 1.0kW 28GHz
1kW 18GHz + 1.5kW 28GHz
1kW 18GHz + 2.0kW 28GHz
1kW 18GHz + 2.5kW 28GHz
1kW 18GHz + 3.0kW 28GHz

## Slide 21
Shifts the characteristic x-ray lines for Xenon left
Chart: 
Chart: 
Varying Pressure
E (keV)
Counts
Varying Pressure |  | 
Injection Pressure (Torr) | Gauss Fit Peak Center | FWHM
8.86E-8 | 4.5170 | 0.2151
1.27E-7 | 4.4832 | 0.1835
1.38E-7 | 4.4706 | 0.1741
1.67E-7 | 4.4645 | 0.1698
1.87E-7 | 4.4608 | 0.1639
-1.24% change in peak center |  | 

## Slide 22
Comparing K and L lines
The ratio between K and L lines
Chart: 28 GHz Power + 1kW 18 GHz (W)
| 1 | 1.5 | 2 | 2.5 | 3
 | 0.016505 | 0.014416 | 0.015396 | 0.016737 | 0.018039
Chart: Injection Pressure (Torr)
| 1.8699999999999999E-7 | 1.67E-7 | 1.3799999999999999E-7 | 1.2200000000000001E-7 | 8.8599999999999999E-8
varying pressure | 0.01187 | 0.011059 | 0.012111 | 0.013419 | 0.021722
Chart: Bmin (T)
| 0.51 | 0.48 | 0.46 | 0.44
 | 0.013953 | 0.014052 | 0.012739 | 0.011144
Power
High energy electrons,  Kα
Pressure
 High energy electrons,  Kα
Bmin
No change in high energy electrons with respect to other energies?
1R. Friedlein et al. Hyperfine Interactions 99 (1996) 225-234
Varying Power
Varying Pressure
Varying Bmin

## Slide 23: What have we shown?
Summary
A. Bremsstrahlung | Ts scales roughly linearly with Bmin for the minimum-B ECRs Ts shows variation with Br however at each Br Ts still scales with Bmin
B. Characteristic Radiation | See the largest peak shifts in energy with changes in pressure; minimal shift when changing Bmin; need further exploration
Ts depends on Bmin but not clear if this is reflective of heating efficiency or only electron confinement

## Slide 24
Shifts the characteristic x-ray lines for Xenon left
Varying Frequency
Chart: 
E (keV)
Counts
Varying Frequency |  |  | 
Peak | Frequency | Gauss Fit Peak Center | FWHM
Lα1 | 18 | 4.12397 | 0.11768
 | 28 | 4.13858 | 0.15256
0.35% change in peak center |  |  | 
Lβ1 | 18 | 4.44866 | 0.13006
 | 28 | 4.46139 | 0.16002
0.29% change in peak center |  |  | 
Bmin=0.48T