## Slide 1: Progress meeting
11/5/21

## Slide 2: 4mm no central bar, 60 mm long alumina

## Slide 3: 6mm no central bar, with alumina

## Slide 4: 6 mm no central bar, no alumina

## Slide 5: 6 mm with central bar, no alumina

## Slide 6: Adapter

## Slide 7: AWAKE parameters

## Slide 8: Field at EO crystal
Field of line charge (first approximation)
For proton beam with gamma=427 and distance 30 mm from bunch, maximum field strength is 230 kV/m

## Slide 9: Choice of EO crystal
Temporal resolution limited by:
Chirped pulse width of probe laser Tmin=(T0Tc)^0.5=(100 fs x 10 ns)^0.5 = 30 ps
Absorption in THz range – ZnTe and GaP have absorption at 5 THz and 11 THz respectively so temporal resolution limited to 120 fs (FWHM). Shorter pulses will lead to a distortion.
Velocity mismatch between bunch E-field and laser.
Velocity mismatch between different spectral components of probe laser.
Geometrical limitation, E-field of particle bunch has opening angle 2/gamma, the resolution is Tgeo=r/(gamma x c) = 30 mm/ (427 x c) = 0.2 ps
ZnTe
GaP

## Slide 10: Choice of EO crystal
GaP more suited to measure short pulses due to higher TO frequency
But Pockels coefficient is about factor 8 lower
ZnTe
GaP
About factor 8 lower

## Slide 11: Frequency response
GaP permits to increase frequency range when short crystals are used
But for crystal thickness d = 300µm, response reaches about 3 THz. Therefore ZnTe is better at this thickness.
For ZnTe d ≈ 200-300µm as compromise between high-frequency response and signal amplitude.
For GaP d ≈ 100µm to detect signals with frequencies up to 7.5 THz
In our case, radiation from proton bunch is in flat region of response curve