## Slide 1
Open discussion on first sample exchange for pumping properties
Nicolas Béchu
On behalf of Vacuum Group and Transmission Bench Task Force
12th Mai 2021 IFAST Task 10.5 Kick-off Meeting

## Slide 2
NEG coating characterization by transmission method
2 Transmission Method Test Benches for NEG coating characterization
P2
P1
Pinj
Gas inlet
C <<
Turbo
Sticking factor
Sorption capacity
Activation optimization
@ Vacuum LAB
Transmission Method
P. Costa Pinto, P. Chiggiato, A. Sapountzis, T. Sinkovits, M. Taborelli,
CERN 80th IUVSTA Workshop, NSRRC, Hsinchu, Taiwan (2016)
is calibrated with MOLFLOW+ to find

## Slide 3
Two transmission method test benches
TESTS Chambre CVQS-AL-02 / Ti-Zr-V-Hf
[Ref. TEST B1 du 17 avril 2019 – BANC 4]
Bench #4
Maybe dedicated to Ne venting for a while
Bench #3
Could be used for quick measurements

## Slide 4: Good or bad NEG by transmission…

## Slide 5
... good or bad NEG with PSD
18

## Slide 6
Quite easy fist NEG coating characterization
Typical sorption capacity curves of NEG coating
for increasing activation T°
Evolution of the ratio
( ‘pumping speed ’)
is a function of the number of injected molecules
When the NEG starts to saturate the ratio start to decrease
Possible to make multiple measurements in different conditions
(example here activation temperature)
Should it be compulsory ?
@ Vacuum LAB
8

## Slide 8
SAES Getter S.p.A
Tested samples
SOLEIL DN10 samples
to be NEG coated soon…