## Slide 1: Access (secondary) system - LS2 modifications
PPE’s
Replacement of the access control badge readers (no changes for the user)
  (Patrol rights)
  Access through GIF++ turnstile
Intercoms dismantling
New position sensors in each door (magnetic & coded)
Suppression of certain zones, becoming new sectors of the primary zones (next slides)
EHN1
PPE144 zone added 2 doors, patrol and BIW flashes
PPE166 out-of-service
EHN2
PPE211 crane access traps are now openable from the ground floor
LOKN
Logic review (P0 TAX and BEND removed)  commissioning ongoing
SPS
access team
Didier Vaxelaire
Tel: 162498
Vitor Rios
Tel: 168788

## Slide 2
ex PPGE81
ex PPGE82
ex PPGE842
ex GL818
Secondary zones became sectors of BA81 primary zone
Access to this sector
by BA81 access point
Access to this sectors
by creating an IMPACT for BA81 or agreement of CCC-SPS
Note: door shall be “forced” and the patrol is lost every access
Access to this sectors
by creating an IMPACT for BA81 or agreement of CCC-SPS
Note: door shall be “forced” and the patrol is lost every access

## Slide 3
ex PPE853
ex PPE854
ex GL300
Secondary zones became sectors of ECN3 primary zone
Access to these sectors by
ECN3 access point
New sector to improve patrol (suggested by NA62 )