## Slide 1: Determination of cluster ion size for Ar-CO2 mixtures by using Rayleigh Scattering.
Yalçın KALKAN
Muş Alparslan University, Turkey.
RD51 Collaboration Meeting and Topical Workshop on Wide Dynamic Range Operation
15-19 November 2021
with TUBITAK Support (The Scientific And Technological Research Council Of Turkey)
Project Number:120F026

## Slide 2: Reminding
[Y. Kalkan et al 2015 JINST 10 P07004]

## Slide 3: Reminding

## Slide 4: Measuring cluster ion size
Lei A. L., 2000. “Size Determination of Argon Clusters from a Rayleigh Scattering Experiment”, Chin.Phy S. Lett.i, Vol. 17, No. 9, 66.
Hagena O. F. and Obert W., 1972. “Cluster Formation in Expanding Supersonic Jets: Effect of Pressure, Temperature, Nozzle Size, and Test Gas”, The Journal of Chemical Physics 56, p1793.
Rayleigh or Mie ?
CO2+.(CO2)N

## Slide 5: Experimental Setup
22 oC Temperature
6% RH Humidity
0.15 Atm Vacuum
Hamamatsu PMT (H11901)
CNI Laser (AO-L-532-500mJ)
Trafag Press. Sensor (847227)
E+E Temp. and Humidity Sensor
with probe (EE310)
Vdrift= 90-300 V
Vind= 20 V

## Slide 6
GEM
PMT
Laser
Fe
55
Sersor
Probes
2 cm drift gap
2 mm ind. gap
PMT
Laser
Top of the
GEM Sheet
Cathode
Vac.
Chamber
Press.
Sensor
Temperature
Humidity
Sensor
532 nm Green 1 kHz Pulsed Laser

## Slide 7
Ar-CO2 Mixture
%80 Ar - %20 CO2
1 kHz Laser Pulse Frequency
300 V GEM Drift Voltage

## Slide 8
Argon-Karbondioksit Karışımı
1 KHz Lazer Darbe Frekansı
90 V GEM Sürüklenme Bölgesi Voltajı
%80 Argon - %20 Karbondioksit

## Slide 9
Argon-Karbondioksit Karışımı
5 KHz Lazer Darbe Frekansı
300 V GEM Sürüklenme Bölgesi Voltajı
%80 Argon - %20 Karbondioksit

## Slide 10
17
Argon Ar+.(Ar)N
CO2+.(CO2)N
N = 3-4
Result
Statictics is going on.
Paper submission work is going on.

## Slide 11
Thank You !