## Slide 1: Nuclear Data at n_TOF for Medicine Javier Praena Prof. Universidad de Granada (Spain) CERN Scientific Associate (EP/SME) n_TOF Physics Coordinator
1

## Slide 2
20 GeV
PS Protons
EAR2
@ 20 m
2
Javier Praena – U. Granada – CERN (EP/SME)
Neutrons
Experiments for medicine
NSTAPP – ND for Medicine, 22/11/2021
EAR1
@ 185 m
  33S(n,α). 2012. PRC 2018. U. Granada-U. Seville.
  12C(n,p). EPJ 2016 and ongoing. U. Zagreb & INFN.
  35Cl(n,). 2017. U. Machester & U. Granada.
  176Yb(n,)177Yb 177Lu. 2021. U. Granada.
  89Y(n,). 2018. INFN. Astrophysics & Medicine?
  160Gd(n,)161Gd161Tb. INFN. 2022?
  33S(n,α). 2015. U. Granada-U. Seville-CERN.
  14N(n,p). 2017. U. Granada-U. Edinburgh.
  35Cl(n,p). 2017. U. Granada-U. Edinburgh.
  160Gd(n,)161Gd161Tb. INFN. 2022?
Neutrons

## Slide 3
Experiments at n_TOF: motivations and results
Dosimetry related to fast neutrons in protontherapy/photontherapy. Secondary tumours.
  12C(n,p)12B in EAR1. Integral finished. Angular-energy distribution, ongoing.
Dosimetry in Boron Neutron Capture Therapy (low energy neutrons).
  14N(n,p) in EAR2.
    Provides the most important biological dose to healthy tissue.
    Data status opens to variations in the dose of at least 12%, depends on the neutron beam.
    At n_TOF, we have found a further reduction of the 1st resonance, as Wallner by integral.
  35Cl(n,p) in EAR2.
      Significant dose in healthy tissue in high sensible organs. Ongoing.
  35Cl(n,) in EAR1.
      Significant dose in healthy tissue in high sensible organs (15%). Ongoing.
New target in Neutron Capture Therapy (low energy neutrons).
  33S(n,α) in EAR1.
      We solved the discrepancies in the resonances between ORNL and Geel measurements.
  33S(n,α) in EAR2.
    For the first time data from thermal to 10 keV were measured.
Production of radioisotopes for medicine in accelerator-based neutron facilities.
  176Yb(n,)177Yb 177Lu in EAR1. Theranostics, well stablished. No resonances had been resolved.
  89Y(n,)90Y in EAR1. It was proposed for astrophysics. It is also demanded radioisotope.
  160Gd(n,)161Gd161Tb in EAR1 and EAR2. Production of 161Tb, on study for theranostics.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 4
Boron Neutron Capture Therapy
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 5
Boron-10 compound (BPA) is injected in the blood stream. BPA is preferably absorbed in tumor cells. Tumoral area is irradiated with neutrons in keV-eV rage. Neutrons are moderated in tissue and reach the tumor with thermal energy maximizing the 10B(n,)7Li (2.4 MeV) reaction probability.
The dose on healthy tissue is lower (>factor 4) than in tumor tissue with 10B-load.
The dose in healthy tissue is lower than in photon or proton therapies. No fractioning.
The dose in healthy tissue is the limiting factor in whatever radiotherapy treatment. Nuclear data on key reactions must be measured as accurate as possible (n_TOF).
Boron Neutron Capture Therapy: bases and motivations
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 6
BNTC: achievements as experimental treatment (in one day)
Substitution of the neutron sources:
New accelerator-based facilities are substituting nuclear reactors (new reactors?).
New status of the therapy in each country where BNCT was carried out:
From experimental treatment to conventional one.
Japan: BNCT for melanoma is already included in the Public Health-Care System.
New Boron compounds.
Improvements in BPA and BSH. New targets or cooperative targets.
New data for accurate treatment planning.
NCT treatment planning systems rely exclusively on Monte Carlo simulations for dose calculations because of the complex, scatter-dominated nature of neutron transport.
BCNT was always an experimental therapy (patients who suffered other therapies or radiotherapies).
Since 2012, important evolutions in BNCT community:
Japan, Finland, Argentina, Italy, Taiwan (old and new BNCT)
UK, Russia, China, Israel (new BNCT), Spain.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 7
NUCLEAR REACTOR
Treatment planning
10BPA, 18!!!
Glioblastoma
Neutron irradiation (30 min)
L. Kankaanranta courtesy
Treatment Hall(Helsinki)
Li, Be
High power accelerator
NEUTRONS
Boron neutron capture therapy: one day treatment (no fractioning)
Boron - BPA uptake with F18-PET
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021
Notes: 7

## Slide 8
BNTC: some achievements with nuclear reactors
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 9
BNTC neutron source: from reactors to accelerators.
FiR reactor, Finland
Neutron Therapeutics Company in Finland has already finished the installation. p+Li+BSA.
Dosimetry measurements have been performed.
Permits for therapy are on going.
With accelerators the fast tail is reduced, however a neutron fraction is above 300 keV, 14N(n,p) reaction!!!
Finland
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 10
Contribution to the dose on healthy tissue for a 10 keV neutron beam.
14N(n,p)14C, 35Cl(n,p)35S, 35Cl(n,γ)36Cl have measured at n_TOF.
Dosimetry in healthy tissue is fundamental
Contribution to the dose on healthy tissue for a 0.4 keV neutron beam
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 11
Dosimetry: 14N(n,p)14C, 35Cl(n,p)35S, 35Cl(n,γ)36Cl
Although the dose in healthy is much lower, the better nuclear data will provide a more realistic Monte Carlo planning, better duration of the neutron irradiation, possible second or third irradiation depending on organ…
The data at n_TOF are very important, and they will be used in the codes.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 12
20 GeV
PS Protons
12
EAR2 setup for 14N(n,p)14C and 35Cl(n,p)35S.
EAR2
@ 20 m
Neutrons
Neutrons
Neutrons
6xMGAS:
235U, 10B
2 x 14N
2 x 35Cl
2xDSSSD:
14N
35Cl
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 13
Johnson: first measurement of the first (493 keV) resonance.
After, Morgan provided a lower strength that Johnson
After, Wallner et al showed a further reduction factor 3.3 by activation.
At n_TOF, we have found a reduction.
14N(n,p)14C at EAR2: covering all the energy range.
Only partial measurements in the energy for AB-BNCT:
Thermal
Above thermal to 80 keV
Above 100 keV
At n_TOF, we cover the whole energy range.
± 12% only in the dose by thermal neutrons (healthy tissue).
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 14
14N(n,p)14C at EAR2: covering range partial previous experiments
It is covered the energy range from thermal to 500 keV.
For the first time.
Pablo Torres PhD-UGR
Purple and Green are Johnson and Morgan experimental with the RF-EAR2.
Black points, n_TOF data.
Reduction of factor 1.5 the area of the resonance.
Impact in the dose on healthy tissue and BNCT planning.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 15
Radioisotope production
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 16
16
New facilities for complementary radioisotope production
There is a trend since a decade to use existing and new nuclear facilities for producing radioisotopes (Medicis-Isolde).
2009
2013
The Technetium world crisis in 2009-2010 was an alarm about the way to supply radioisotopes for nuclear medicine. Few reactors world wide.
2020
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 17
17
International agencies and groups pushed for the use of accelerator-based facilities, as a complementary option.
2014
R&D activities in nuclear facilities as ISOLDE provided a better understanding in nuclear medicine
New facilities for complementary radioisotope production
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 18
18
Also, accelerator-based neutron facilities has been considered for the production of radioisotopes for nuclear medicine.
2014
New facilities for complementary radioisotope production
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021
Accelerator
Lithium Jet
IFMIF-DONES
Granada (Spain)

## Slide 19
20 GeV
PS Protons
19
176Yb(n,γ)177Yb(2 h)177Lu (6.5 d) at EAR1
EAR1
@ 185 m
γ
γ
γ
Neutrons
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 20
20
Previous experimental data 176Yb(n,)
No data in the 1/v region
No resolved resonances. Resonances detected in transmission experiments.
Resolved Resonance Region
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 21
n_TOF experimental data 176Yb(n,)
Preliminary data show that resonances have resolved for the first time and data in the 1/v region.
Francisco García Infantes PhD CERN/UGR
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 22
22
177Lu rising demand & 90Y well established
Theragnostic = diagnosis and therapy.
At present, it is produced in nuclear reactors.
Rising demand radioisotope.
Y-90 is also of interest for complementary production.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 23
23
90Y well established: again, unique data
Preliminary data show that resonances have resolved for the first time and data in the 1/v region.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 24
Conclusions
The n_TOF facility is providing unique data for medicine.
160Gd(n,)161Gd161Tb, will provide data for new radioisotope
AB-BNCT is opening a new framework and market:
Accelerators, targets, BSA and treatment planning codes.
Companies: Neutron Therapeutics, TAE Life Sciences…
Public institutions: Japan.
Radioisotope market, Reuters Report:
10 billion€ in 2017 and it is expected to grow 12.3% until to 2023.
The major hindrance is the high capital investments required, cyclotron.
CERN MEDICIS facility is an excellent example to be followed and synergies should be found.
NEAR opens new possibilities for medicine applications: to be studied.
Javier Praena – U. Granada – CERN (EP/SME)
NSTAPP – ND for Medicine, 22/11/2021

## Slide 25: Javier Praena Prof. Universidad de Granada (Spain) CERN Scientific Associate (EP/SME) n_TOF Physics Coordinator
25
Thank you

## Slide 26
26
177Lu production routes
“Carrier Added”
176Lu(n,γ)  177Lu + 177mLu
Higher production. Lower specific activity.
177mLu is produced (0.05%), 160 days.
“Non Carrier Added”
176Yb(n,γ)177Yb ( 177Lu)
Lower production. Higher specific activity.
177mLu is negligible (<0.0001%)
Javier Praena – U. Granada – CERN (EP/SME)
176Yb(n,γ) proposal, INTC-P-607, 23/06/2021

## Slide 27
27
Specific activity: impact on tumor uptake
“Carrier Added”
“Non Carrier Added”
Javier Praena – U. Granada – CERN (EP/SME)
176Yb(n,γ) proposal, INTC-P-607, 23/06/2021

## Slide 28
Perspectives during the YETS and after
To finish the analysis regarding the commissioning.
28/02/2021 proton beam back, low intensity.
Physics Program: 79Se(n,γ) (INTC-P-580) EAR1, 94Nb(n,γ) (INTC-P-577) EAR2,…
Our Needs for Physics:
  Proton pulses with two different intensities: 7.5-8.5e12 and 2-3.5e12.
  1.05e17 protons per day made in 30 days, in average, as the campaigns before the LS2.
Our Constrains from Target:
  Maximum average intensity on target = 160e10 p/s
  Dimensions for high intensity pulses ≈ 215 mm2.
  Dimensions for low intensity pulses ≈ 40 mm2.
Thanks to the PS team for the constant feedback for improving the quality of the proton beam
Fixed impact point of the proton beam on target.
68th INTC Meeting, 09/11/2021
Proton beam
J. Praena – U. Granada – CERN – n_TOF Physics Report

## Slide 29
29
ESFRI facility. City host: Granada
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 30
30
Spain-Croatia. City host: Granada
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 31
31
The facility goal: produce neutrons
Accelerator
Lithium Loop
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 32
32
Neutron damage in key pieces of fusion reactors
The goal of IFMIF-DONES is to produce neutrons-like DEMO fusion reactor.
Study the behaviour of several key pieces of DEMO.
Irradiations will last several months.
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 33
33
Other applications: in and out the bunker.
The design of the building of IFMIF-DONES has already included an experimental hall (R160) next to the bunker where the neutrons are produced.
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 34
34
UGR and the other applications.
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 35
35
N_TOF versus DONES
Javier Praena – U. Granada – CERN (EP/SME-)
Coll. Board Meeting, 11/05/2021

## Slide 36
36
Javier Praena – U. Granada – CERN (EP/SME)
176Yb(n,γ) proposal, INTC-P-607, 23/06/2021
New facilities for complementary radioisotope production

## Slide 37
37
Facilities under designed and construction as IFMIF-DONES (Granada, Spain) considers the production of radioisotopes for medicine as an complementary application.
MEDICIS-ISOLDE-CERN is an excellent successful example.
Nuclear data are needed to calculate the specific activity of the most adequate radioisotopes.
Javier Praena – U. Granada – CERN (EP/SME)
Accelerator
Lithium Loop
IFMIF-DONES
176Yb(n,γ) proposal, INTC-P-607, 23/06/2021
New facilities for complementary radioisotope production