## Slide 1: NEAR irradiation stations NSTAPP – Neutrons in Science, Technology and applications (22 of November 2021) AP.Bernardes SY-STI on behalf of the n_TOF team
SY-STI: O. Aberle, Y.Aguiar, D.Baillard, M. Calviani, M.Ferrari, R.Garcia, K.Kershaw, M.Maeder, M.Sacristan Barbero, D.Senajova, G.Lerner, M.Cecchetto
EP-SME: M.Barbagallo, A.J.Praena Rodriguez
EP-UNT: A.Mengoni
BE-CEM: L.R.Buonocore, L.Barbosa Pina Pereira, E.Romagnoli, C.Veiga Almagro
HSE-RP: JF.Gruber, F.Pozzi, N.Conan
EDMS 2664682

## Slide 2: Agenda
Introduction
NEAR irradiation station (NEAR IN)
NEAR experimental station (NEAR OUT)
Conclusion

## Slide 3: Introduction - NEAR at n_TOF
TT2 - 801
TT2A- 802
NEAR
Protons from PS
n_TOF target
EAR1: Experimental area 1
EAR2: Experimental area 2

## Slide 4: NEAR irradiation and experimental station
n_TOF mixed field irradiation places for R2M, R2E and n_TOF community applications - Initially foreseen during YETS 2021-2022 but successfully installed before run 3 in 2021
NEAR irradiation station (NEAR IN): Inside Shielding close to n_TOF target. Dedicated to R2M
NEAR experimental station (NEAR OUT): Outide n_TOF target Shielding
Roadmap for the Implementation of a New Target Mobile Shielding and a NEAR Experimental Station at the n_TOF Facility: EDMS 2158356 and associated ECR EDMS 2379173

## Slide 5: Introduction - NEAR at n_TOF
n_TOF target area – Shielding OPEN
NEAR IN or
NEAR irradiation station
Pool where n_TOF target is located
Irradiation positions inside shielding - Close to the target

## Slide 6: Introduction - NEAR at n_TOF
n-TOF target area – Shielding CLOSED
NEAR OUT or
NEAR experimental station
Acknowledgment: M.Barbagallo
Irradiation positions along the center of the external cone aperture

## Slide 7: NEAR irradiation station (NEAR IN)

## Slide 8: NEAR irradiation station (NEAR IN) - Shelve installation
Acknowledgements
L.R.Buonocore, C.Veiga Almagro, E.Romagnoli, L.Barbosa Pina Pereira BE-CEM, JF.Gruber HSE-RP, D.Senajova SY-STI
Dose rate without target and after 2 years decay time 8 mSv/h

## Slide 9: NEAR irradiation station (NEAR IN) – Samples installation
Acknowledgements
L.R.Buonocore, C.Veiga Almagro, E.Romagnoli, L.Barbosa Pina Pereira BE-CEM, JF.Gruber HSE-RP, D.Senajova SY-STI

## Slide 10: NEAR irradiation station (NEAR IN) – Irradiation parameters
IRRADIATION CONDITIONS
Neutron dose 80 to 85 % (in organic materials)
Neutrons in MeV range: dominant component
≈ 2 MGy/y – top shelf
≈ 1 MGy/y – bottom shelf
Satisfactory homogeneity
Total absorbed dose in the samples (FLUKA)
Top and bottom shelf
F.Pozzi, A. Makovec (HSE-RP), March 2021
Slide courtesy: M.Ferrari (SY-STI)
March 2021

## Slide 11: NEAR irradiation station (NEAR IN) – 2021 Samples
Acknowledgements
M.Ferrari SY-STI
List of selected commercial Materials irradiated in 2021 at NEAR
Most of materials are used ate CERN
Remote handling Irradiation samples recovery planned in december 2021

## Slide 12: NEAR experimental station (NEAR OUT)

## Slide 13: NEAR experimental station (NEAR OUT) – Collimator installation
Acknowledgments: M.Barbagallo, G.Lerner, M.Cecchetto
3E6 n/cm2/pulse at the wall (considering a pulse of 7E12 protons)
5E8 n/cm2/pulse
After shielding

## Slide 14: NEAR experimental station (NEAR OUT) – Multifoils activation
Acknowledgements : O.Fjeld, JF.Gruber, O.Aberle, P.Perez Maroto, G.Lavezzari, Y.Aguiar, J.A.Praena Rodriguez, A.Mengoni, N.Patronis
20 Gold samples

## Slide 15: NEAR experimental station (NEAR OUT) – R2E
Acknowledgements : M.Sacristan Barbero, M.Cecchetto SY-STI-BMI
Determine the High Energy Hadron fluence at NEAR by means of SRAM memories
Future neutron beam for Displacement Damage testing in electronics
Measured Neutron flux
4E6 HEH/cm2/pulse

## Slide 16: Summary
n_TOF is well known for the study of neutron-induced reactions
The NEAR Station at n_TOF for:
Irradiation station for R2M (material irradiation)
Irradiation station for R2E (irradiation of electronics)
n-TOF Multifoils activation at the collimator position

## Slide 17
Thank you for
your attention!