## Slide 1: Comparison between magnet configurations for C-ions gantry
E. Felcini
21/09/2021
A first proposal

## Slide 2
The Gantry magnet’s tree
Dipole Field, B0 = 4T
Ramp rate:
0.35 T/s at B0min (2T)
0.10 T/s at B0max (4T)
Fixed gradient
< 5 T/m (mechanical)
+ bolted quads
Variable gradient
< 5 T/m ± 0.5 T/m
(separate circuits)
30 degrees
45 degrees
30 degrees
45 degrees
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
90 mm Ø
90 mm Ø

## Slide 3
The Gantry magnet’s tree
Dipole Field, B0 = 4T
Ramp rate:
0.35 T/s at B0min (2T)
0.10 T/s at B0max (4T)
Fixed gradient
< 5 T/m (mechanical)
+ bolted quads
Variable gradient
< 5 T/m ± 0.5 T/m
(separate circuits)
30 degrees
45 degrees
30 degrees
45 degrees
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
90 mm Ø
90 mm Ø

## Slide 4
The Gantry magnet’s tree
Dipole Field, B0 = 4T
Ramp rate:
0.35 T/s at B0min (2T)
0.10 T/s at B0max (4T)
Fixed gradient
< 5 T/m (mechanical)
+ bolted quads
Variable gradient
< 5 T/m ± 0.5 T/m
(separate circuits)
30 degrees
45 degrees
30 degrees
45 degrees
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
90 mm Ø
90 mm Ø
5.25 m
3.0 m
13.5 m

## Slide 5
The Gantry magnet’s tree
Dipole Field, B0 = 4T
Ramp rate:
0.35 T/s at B0min (2T)
0.10 T/s at B0max (4T)
Fixed gradient
< 5 T/m (mechanical)
+ bolted quads
Variable gradient
< 5 T/m ± 0.5 T/m
(separate circuits)
30 degrees
45 degrees
30 degrees
45 degrees
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
90 mm Ø
90 mm Ø

## Slide 6
The Gantry magnet’s tree
Dipole Field, B0 = 4T
Ramp rate:
0.35 T/s at B0min (2T)
0.10 T/s at B0max (4T)
Fixed gradient
< 5 T/m (mechanical)
+ bolted quads
Variable gradient
< 5 T/m ± 0.5 T/m
(separate circuits)
30 degrees
45 degrees
30 degrees
45 degrees
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
70 mm Ø
90 mm Ø
90 mm Ø
90 mm Ø
6.4 m
4.0 m
12. 9m

## Slide 7
Comparison criteria
Different configurations must be evaluated with common and objective criteria.
The cost estimation would provide a solid and easy parameter for the comparison*
The same work is ongoing for all the main aspects, i.e. mechanics, magnet design,
beam optics solutions, building costs, etc.
*(so that we can compare apples with apples)

## Slide 8
Comparison criteria
Different configurations must be evaluated with common and objective criteria.
The cost estimation would provide a solid and easy parameter for the comparison*
We propose to use the following parameters:
Estimated cost of the magnets
Required R&D: cost and time
Design feasibility in 3 years (estimated probability of success)
*(so that we can compare apples with apples)
The SC magnets probably represents the main contribution to the gantry cost. We should evaluate the cost in terms of:
Fixed costs (e.g. find machines and tools)
Variable costs (e.g. amount of superconductors)
Number of required magnets (small series, spares, etc.)

## Slide 9
Comparison criteria
Different configurations must be evaluated with common and objective criteria.
The cost estimation would provide a solid and easy parameter for the comparison*
We propose to use the following parameters:
Estimated cost of the magnets
Required R&D: cost and time
Design feasibility in 3 years (estimated probability of success)
*(so that we can compare apples with apples)
A too ambitious and aggressive design could be a major threat for the project