## Slide 1: TIMEPIX for beams: Alignment & Profiles

## Slide 2: Timepix Installation in EAR1 for the beam/laser alignement
B04
B05
The two TimepixQuads already used in 2018 have been installed
on the usual aluminum column but this time with
two vernier calliper screws (horizontal and vertical)
allowing a fast alignment of the detector to the beam position

## Slide 3: Online plots
The 4 Timepixes were acquired by the two Windows PC placed in EAR1 and EAR2
The data can be saved by a list of pixels or cluster produced by an online Cluster analysis

## Slide 4: EAR1 beam position : 2D and projections
B05 X : 14.62 => 0.54 mm
B05 Y : 13.13 => - 0.94 mm
B04 X : 15.05 => 0.97 mm
B04 Y : 14.38 => 0.30 mm

## Slide 5: Alignment in EAR1 Timepix positions
EAR1
BEAM
B04
B05
X
X
First measurement
EAR1
BEAM
Second measurement
Final Position

## Slide 6: TimepixQuad Installation in EAR2 for the beam/laser alignment
Installation in EAR2 with the two Timpixquad bought in 2020 by INFN
In this case two special support have been built to hang the stages on the beam pipe
L07
C05

## Slide 7: EAR2 beam position run001 E> 1MeV
L07 X : 10.52 => - 3.56 mm
L07 Y : 19.29 => 5.21 mm
C05 X : 13.70 => - 0.38 mm
C05 Y : 15.43 => 1.35 mm

## Slide 8: Timepix positions
EAR2
BEAM
C05
L07
X
First measurement
EAR2
BEAM
Second measurement

## Slide 9: The 2D fast neutrons beam spot and fits
EAR1
EAR2
L07 X : m = -0.9 mm s = 13.9 mm
L07 Y : m = 0.0 mm s = 13.1 mm r : -0.12
C05 X : m = -0.8 mm s = 18.4 mm
C05 Y : m = -0.2 mm s = 21.6 mm r : 0.37
B04 X : m = 0.3 mm s = 7.8 mm
B04 Y : m = 0.3 mm s = 7.4 mm r = 0.05
B05 X : m = 0.2 mm s = 8.5 mm
B05 Y : m = 0.1 mm s = 8.4 mm r = 0.04
Y
X
L07
C05
X
Y
X
X
Y
B04
X
X
Y
B05
X
BEAM
BEAM
Proton direction

## Slide 10: Gamma flash timing
EAR2
m 10.4 ms
s = 50 ns
m 10.4 ms
s = 50 ns
EAR1
m 9.9 ms
s = 34 ns
Time (mm) = delay +( gate – ToA/48)
Timepix clock 48 MHz
Time ToA
Time ToA
FWHM
80 ns
FWHM
117 ns

## Slide 11: Gamma flash timing
Some issue regarding the real image on gamma flash
due to high intensity
Next year we’ll have Timepix3 quad and this type of
meaasurements can be performed rapidly
Measurements by Stuart George in 2014

## Slide 12: Multi Boron GEM detector

## Slide 13: GEM detector for Neutrons
LNF has developed GEM detectors for thermal neutrons through conversion on Boron coated cathode ( good candidate for He3 detector replacement):
  Imaging capability
  good time resolution (5 ns),
  high gamma rejection (>105)
  high rate capability O(10 MHz/cm2)
  good spatial resolution O(mm)
Neutron beam spot
3He
GEM
Diffraction Measurement at ISIS
Gamma Neutron rejection

## Slide 14: Beam Monitor already tested at nToF in 2017
3 mm
pads on kapton
DRIFT
GAIN
Triple GEM
Mylar 12 um
p
Low Material Budget !

## Slide 15: Multi Boron GEM Detector Layout
Multiborate
GEM cathode
3GEM
pad readoout
Thermal Neutron
a
Li
a
Triple GEM
BGEMs
50 um
pad readoout
DRIFT
GAIN
12 layers of
1 um 10B4C
Triple GEM

## Slide 16: MBGEM Detector assembly
Assembling done in Frascati of
two detectors with 2 and 3 mm gap
between borated gem foils

## Slide 17: MBGEM characterization published on EPJ+
There is a clear evidence of the contribution of all 6 borated layers:
Final preliminary detector efficiency = 9%
Good linearity up to 105 neutrons/s
Spatial resolution ranging between 2.0 to 2.6 mm.
Published on EPJ Plus : EPJP-D-21-01206R2 .

## Slide 18: Big Area MBGEM (12 layers) preparation and test at nToF

## Slide 19: MBGEM detector : neutron spectra and
Gammas
Fast
neutrons
Intermediate
Neutrons
Epitermic
Neutrons
Termal
Neutrons
Fast
neutrons
Active area 10x10 cm2
Gammas
Fast
neutrons
Epitermic
Neutrons
Termal
Neutrons
Every Boron layer contribute to the
the detector efficiency

## Slide 20: Summary
We used few times during this year the 4 Timepixquad for the neutron beam position in EAR1 and EAR2
The systems appear to be solid and reliable
We are going to use for future studies the timepix3; With this readout we have less material budget, better time resolution and wide range of time readout
MBGEM reaches finally a good high efficiency on a wide area The BGEM are mechanically reliable and all the layer are contributing to the thermal neutron detection
Similar detector can now be realized for fast neutrons