## Slide 1: Update on the X17 initiative
G. Gervino (UNITO)
P. Mastinu (INFN LNL)
C. Gustavino (INFN ROMA)
A. Mengoni (ENEA)
C. Massimi (UNIBOLOGNA)
N. Colonna (INFN BARI)
S. Fiore (ENEA ROMA)
A. Mazzone (CNR BARI)
M.C. Petrone (IFIN-HH BUCHAREST)
L. E. Marcucci (UNIPISA)
M. Viviani (INFN PISA)
A. Kievsky (INFN PISA)
L. Girlanda (UNISALENTO)
E. Cisbani (ISS)
F. Renga (INFN ROMA)
Theoretical group
n_TOF
Working group (in evolution)
Detector R&D
C.Gustavino, n_TOF meeting, 25 november 2021, CERN

## Slide 2
Krasznahorkay, A.J.; et al.: Physical Review Letters. 116 (42501): 042501 (2016).
Krasznahorkay, A.J.; et al.: arXiv:1910.10459v1 [nucl-ex] (23 October 2019).
Krasznahorkay, A.J.; et al.: arXiv:2104.10075v1 [nucl-ex] (20 April 2021).
Reaction | MX17±DMstat±DMsyst (MeV) | Statistical evidence
7Li(p,e+e-)8Be | 16.70±0.35±0,50 | >5 sigma
3H(p,e+e-)4He | 16.94±0.12±0.21 | >9 sigma
-A significant anomaly has been recently observed in the emission of electron-positron pairs in the 7Li(p,e+e-)8Be and 3H(p,e+e-)4He reactions.
-This anomaly has been interpreted as the signature of a 17 MeV BOSON, not foreseen in the standard model of particle physics.
-The so called X17 boson could be a mediator of a fifth force, characterized by a strong coupling suppression of protons compared to neutrons.
-This evidence/scenario is presently not confirmed or excluded by other experiments or groups.
X17 ATOMKI RESULTS IN A NUTSHELL
3H(p,e+e-)4He

## Slide 3
3H adsorbed on Ti layer
6 plastic scintillator 82x86x80 mm3
6 double-sided silicon strip detector (3 mm wide strips, 0.5 mm thick)
1 mm thick carbon fiber tube
Detector acceptance only around 90° with respect to the beam axis
no tracking
Target
Carbon fiber tube
Plastic scintillator
Silicon strips
e-
e+
3H(p,e+e-)4He setup @ ATOMKI

## Slide 4
3H(p,e+e-)4He
3He(n,e+e-)4He
X17 @ nToF
Basic idea: new study of excited 4He
exploiting both the conjugated reactions:
Physics:
Probing X17 existence
X17 Mass, quantic numbers, coupling, life time,..
proto-phobic nature of the fifth force.
First measurement of s(E) 3He(n,e+e-)4He
Data Vs Theoretical nuclear physics
ATOMKI REACTION
n_TOF REACTION

## Slide 5
X17 @ nToF
ATOMKY
n_TOF
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 6
X17 @ nToF
ATOMKY data
ATOMKY
n_TOF
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 7
X17 @ nToF
ATOMKY data
n_TOF
ATOMKY
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 8
X17 @ nToF
ATOMKY data
n_TOF
ATOMKY
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 9
X17 @ nToF
ATOMKY data
n_TOF
ATOMKY
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 10
X17 @ nToF
Wide energy range (proton and neutron beams) to explore all resonances with different Jp
ATOMKY data
n_TOF
ATOMKY
courtesy M. Viviani
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 11
M. Viviani et al.: arXiv:2104.07808 [nucl-th] , submitted to PRC
courtesy M. Viviani
ATOMKY data
Wide energy range (proton and neutron beams) to explore all resonances with different Jp
Large detector acceptance (statistics and kinematics)
X17 @ nToF
Notes: The low-energy spectrum of 4He. The dashed lines indicate the thresholds for the opening of the 1+3 channels, while the solid lines indicate the energies of
the various resonances with corresponding widths, J, and isospin assignments to the right. Blue area is investigated with a neutron beam, while thr green one is investigated with protons.

## Slide 12
EAR2 @ n_ToF
Table and Figure: neutrons per pulse (frequency=1.2 sec)
Assuming:
r=8.21*1021 atoms/cm3
target lenght=10 cm
Duty Cycle=100%
efficiency=100%
acceptance=100%
Wide energy range for n_ToF neutrons
Under study (M. Calviani):
Moderator removal/change, to increase the abundance of neutrons in the MeV energy region

## Slide 13
Internal Pair Convertion (IPC) through the 3He(n,e+e-)4He process (virtual gammas convert into e+e- pairs). Most of the pairs can be cut off because of their small relative angle.
Backgrounds
IPC (irreducible background)
X17e+e-
EPC
Picture from PRL 116 (42501): 042501 (2016)
External Pair Convertion (EPC), i.e. 3He (n,g)4He gammas converted into e+e- pairs in the material sorrounding the target. Also in this case, small relative angle between e+e- pairs.
Gammas from 3He (n,g)4He.
protons from (n,p) reactions.
neutrons interacting with setup.

## Slide 14
DETECTOR Conceptual design
Ecal (Ej-200 or LYSO)
target
tracker (RICH/MPGD)
target
tracker (RICH/MPGD)
e+
e-
SIDE
FRONT
e-
beam
e+
High intensity neutron beam 0<En[MeV]<3
High density target r=1021 atoms/cm3
Tracking (vertex and Pairs aperture angle energy)
4-momenta

## Slide 15
Target
0.6 mm thick envelope of Carbon Fibre will be tested to operate with 3He at 380 bar, 300 K. This pressure corresponds to 59 g/L (density of liquid 3He)
courtesy P. Mastinu

## Slide 16
b(e-,e+) @ 8 MeV = 0,993
b(p) @ 100 MeV = 0,42
No signals due to the 3He(n,p)3H protons
Low 3He(n,g)4He gamma background in the RICH
Standard Aerogels with n=1.05
Ellipse centers: e+/e- impact points
Ellipse shapes: e+/e- Directions
ROAD1: RICH (cfr. E. Cisbani)
SiPM
aerogels
neutron beam
3He target
Cherenkov light
e+
e-

## Slide 17
pe = 8 MeV
n=1.05 Sensor radius = 10 cm
no quantum efficiency applied
Single Radiator inner radius = 4 cm, 5 mm thick
Single Radiator inner radius = 4 cm, 5 cm thick
Dual Radiator inner radii = 4 and 9 cm, 5 mm thick
RICH simulation
courtesy E. Cisbani

## Slide 18
-2 x Aerogel 1.05, 2 cm thick
-9 tile di Hamamatsu S13361-3050 8x8, 3x3 mm2
- <600 canali
-Peltier cooling
-Dark box
-possibility of changing positioning/angle with respect the beam
x
RICH prototype
Partially funded by CSN3
courtesy E. Cisbani

## Slide 19
RICH: Test at n_ToF
neutron beam
RICH
ScintIllator
thin tube (Carbon fiber), "low" pressure
-Protons from 3He(n,p)4He
-gammas from 3He(n,g)4He
-simoultaneous test with MPGD
3He/4He target
GOAL:
-Prove the RICH insensitivity to protons, g's, neutrons
-gamma flash
-Comparison with MC
-Final design

## Slide 20
307307 mm2 active area SRL - RWELL
Prototype (Design: LNF-INFN)
PCB production: ELTOS SpA
Detector manufacturing: CERN – PH dept. DT group (Rui de Oliveira)
PCB characteristics:
n.512 1-D strip, with 600 um pitch
30 mm gas gap
Gas mix  Ar/C02/CF4 = 60/20/20
Delivery: end of November
ROAD2: TPC with MPGD

## Slide 21
3He/4He
target
L=3 cm
DT=L/Wdrift=300 ns
T0=Ttof
neutron beam
e-
e+
with Ar/CO2=/CF4=60/20/20
1/Wdrift ~ 10 ns/mm
300 ns signals (crossing e+e- pairs)
TPC: Test at EAR2
Goal of the test: Background evauation
3He(n,p)4He and En>10 MeV)
Gamma Flash
3He(n,g)4He
3He(n,e+e-)4He
interactions with materials
Trigger/timing with pulsed beam

## Slide 22
E.M CALORIMETER
Very preliminary design (simulation is in progress):
5 mm thick segmented composed by EJ-200 bars (X-view)
5 mm thick segmented composed by EJ-200 bars (Y-view)
8 cm thick Ej200 absorber (coarse segmentation)
400 mm
8 cm
100 mm
30 mm
5 mm
40 mm

## Slide 23
Prototype for EAR2 TEST
120 mm
50 mm
30 mm
neutron Beam
target 3He
Ej-200 bars 120 mm lonf and 10x10 mm2 section

## Slide 24
courtesy M.C. Petrone
EJ200 neutron beam induced background
EAR2 neutron flux with the second-generation lead target
Shielding physics list
Two EJ-200 detectors 40x40x8 cm3 faced to the target
4x3x3 cm3 3He target at T=300 k, P=200 bar and with a 0.8 mm Carbon Fibre envelope
Preliminary energy deposition as function of En

## Slide 25
courtesy A. Mazzone
Ideal tracking
L=12 cm, H=5 cm
No tracking
L=12 cm, H=5 cm
X17 Invariant mass
target: 3He at P=30 bar, T= 300 k
thickness of Carbon fibre= 1 mm
Multiple scattering included
IPC/EPC background included
H
L
No tracking
L=40 cm, H=10 cm

## Slide 26
X17 SIGNAL AND (irreducible) BACKGROUND
target: 3He at P=30 bar, T= 300 k
thickness of Carbon fibre= 1 mm
Multiple scattering included
IPC background included
DATA From M. Viviani ab-initio calculations, normailzed to the ATOMKY results
H
L
Y=(Ee-—Ee+)/(Ee-+ Ee+)
qee= aperture angle of e+e- pairs
X17 Signal
IPC background
courtesy A. Mazzone

## Slide 27
Conclusion
The ATOMKY anomaly has been interpreted as the signature of a particle (X17 boson) not foreseen in the standard model of particle physics.
A new measurement to confirm (or reject) the existence of X17 particle is mandatory.
With n_ToF it is possible to exploits the new reaction 3He(n,e+e-)4He in a wide energy range and using a dedicated setup, to probe the purpoted protophobic nature of fifth force and to measure X17 properties.
Standard 3He(n,e+e-)4He and 3H(p,g)4He reactions are also of great interest in nuclear physics, providing an important experimental footing for "ab initio" calculations.
R&D, simulations and theoretical calculations are in progress. Feasibility tests are approved and funded by INFN.
Timeline of X17 @n_TOF
THANKS FOR THE ATTENTION

## Slide 28
SPARES

## Slide 29
courtesy M.C. Petrone
80 mm thick EJ-200 scintillator

## Slide 30
courtesy M. Viviani
Pseudoscalar X17
Vector X17
X17 @ nToF

## Slide 31
TPC Prototype Electronics
HDMI
M
S
M
S
M
S
SRU
PC
FEC
ADC
TPC
APV
CERN STANDARD (RD51)