## Slide 1: CERN / GSI-IND collaboration on the Personnel Access System for FAIR
  Development of the PLC software for the Personnel Access System for FAIR (PAS)
  Start of collaboration was Q2/2020
  Goal: delivery of a protoptype safety program version for PAS prototype until Q4/2021
  SW developed by CERN, successfully integrated in the prototype HW system in CW44-45
  Test of safety programs incl. the interaction between the 3 PLCs (BOG, NE, AAD) in CW46 (last week)
  Goal has been reached : tests at GSI took place and were very successful.
  Open issues:
    Minor points to be finalised
  Ongoing:
    Documentation to be finalised

## Slide 2: CERN / IND PAS collaboration
  Next steps of the present PAS collaboration:
  Solution of some open issues
  Development of SW for BOG19 (special feature that includes comparison of magnet currents)
  Adaptation of the SW to the requirements of the series
  Merge with the non-safety program part (biometry and QR code scanners, DB check)
…

## Slide 3: Current next steps for the PAS
    SW verification and validation with formalized methods (PLCverif, simulators (tbd))
    Proof of functionality through GSI radiation protection department
    Test of all real PAS NE area and BOG configurations via simulation and as far as possible at the GSI prototype facility
    Start development of non-safe SW and the visualization concept (local HMI and PAS SCADA visualization)
    Definition of the FSM (Functional Safety Management) and safety lifecycle management incl. documentation

## Slide 4: Ideas for future PAS collaboration
  Proposals for PAS collaboration with CERN are:
    SW verification and validation with PLCverif (support from Enrique BLANCO VINUELA BE-ICS-CE?)
    Concept for safety life cycle management (with consultancy from Enrique BLANCO VINUELA BE-ICS-CE?)
  Additional proposal are expected to be defined during the next year

## Slide 5: CERN / IND UNICOS collaboration
  UNICOS and related Frameworks:
  IND had been trained to use UNICOS through BE-ICS
  IND has been using UNICOS productively for vacuum and cryogenic systems for several years.
  BE-ICS supports IND in case of bugs and further development of UNICOS
  The next important step for IND is to migrate the WinCC OA SCADA environment from Windows to LINUX and from Value Archiving to Next Generation Archiver
  Open Issue:
    Collaboration contract (are the legal aspects related to UNICOS meanwhile clarified?)

## Slide 6: Thank you