## Slide 1: Feedback from the EP Safety Office for North and East Areas
On the behalf of O. Beltramello, E. Dho, J. Devine

## Slide 2: 2021 Safety Inspections
11 inspections in the East Area between October and November
68 inspections in the North Area between June and November
Dedicated assessments for usage of flammable gases, cryogenics, etc.

## Slide 3: Main feedbacks
Very important to always check beforehand the SDS (Safety Data Sheet) of the gas or chemical products that need to be used (justification why a dangerous product is used)
For experiments that needs to use flammable gases, the already equipped zones shall be used (detection and piping in place) – avoid “bricolage” solutions
Sometimes ISIEC sent last minutes  We have many experiments to inspect (usually, all asking for the same slots on Wednesdays afternoon) and last minutes submissions make organisation more difficult
Usage of wood and carton to build up experiments to be avoided
Beam area and control room have to be emptied from users’ material once the experiment is finished
Notes: Helmet and safety shoes!

## Slide 4: Also some positive feedbacks!
Very good response rate to remarks
ATS and EP FGSOs contacted well in advance for experiments using flammable gases, so that all could be ready for safe operations
Thanks everyone for the cooperation!