## Slide 1
Katarzyna Dziubińska-Kühn
ISOLDE, CERN
Institut für Analytische Chemie, Universität Leipzig
27.04.2022
High-sensitivity Nuclear Magnetic Resonance with laser-polarized metal ions:
technique development and first biological applications
Oct 2018 – April 2022
Notes: 1

## Slide 2: Outline
Liquid-state β-detected NMR
  beamline design
  principles
2018: 26Na - magnetic moment and absolute shieldings
2018 – 2021: beamline upgrades
2021 – now: β-detected NMR in 4.7 T
Notes: 2

## Slide 3: ISOLDE (Isotope Separator On Line facility)
1.4 GeV proton beam (PSB) → radioactive beams
> 1300 isotopes and > 70 elements
credit: M. Jankowski
Notes: 3

## Slide 4: β-detected magnetic resonance at CERN
method:
nuclear physics
M
observable:
analytical chemistry
application:
time-resolved biology
M
M
M
credit: M. Jankowski, B. Karg
Notes: 4

## Slide 5: β-detected magnetic resonance at CERN
method:
nuclear physics
M
observable:
analytical chemistry
application:
time-resolved biology
M
M
M
credit: M. Jankowski, B. Karg
2018 - 2022
Notes: 5

## Slide 6: VITO beamline at ISOLDE
credit: M. Jankowski

## Slide 7: VITO beamline at ISOLDE
beam focusing
ions from ISOLDE
laser
credit: M. Jankowski

## Slide 8: VITO beamline at ISOLDE
neutralisation
atoms
laser
credit: M. Jankowski
beam focusing
ions from ISOLDE

## Slide 9: VITO beamline at ISOLDE
Optical Pumping
atoms
laser
credit: M. Jankowski
beam focusing
ions from ISOLDE
neutralisation

## Slide 10: VITO beamline at ISOLDE
Optical Pumping
atoms
β-detectors
laser
credit: M. Jankowski
beam focusing
ions from ISOLDE
neutralisation

## Slide 11: VITO beamline at ISOLDE
Optical Pumping
4.7 T magnet
atoms
β-detectors
laser
credit: M. Jankowski
B
beam focusing
ions from ISOLDE
neutralisation

## Slide 12
VITO beamline at ISOLDE
beam
credit: M. Piersa-Silkowska
Notes: 12

## Slide 13
-2
0
-1
1
2
-2
0
-1
1
2
-3
3
mF
mF
beam
Liquid-state β-detected NMR
polarize spins

## Slide 14
-2
0
-1
1
2
-2
0
-1
1
2
-3
3
mF
mF
implant
M
M
M
M
M
M
beam
Liquid-state β-detected NMR
polarize spins

## Slide 15
polarize spins
-2
0
-1
1
2
-2
0
-1
1
2
-3
3
mF
mF
implant
M
M
M
M
M
M
β-
β-
β-
β-
β-
β-
β-
β-
detect
beam
Liquid-state β-detected NMR

## Slide 16: Liquid-state β-detected NMR
°
°
°
°
°
°
°
Asymmetry (%)
Radiofrequency (MHz)
beam of radioactive atoms
off resonance
°
β-
RF coil
β-
β-
β-
B
M. Jankowski et al., in preparation
Notes: 16

## Slide 17: Liquid-state β-detected NMR
°
°
°
°
°
°
°
Asymmetry (%)
Radiofrequency (MHz)
beam of radioactive atoms
off resonance
°
°
°
°
°
°
°
on resonance
°
°
°
β-
β-
β-
β-
M. Jankowski et al., in preparation
B
RF coil
Notes: 17

## Slide 18: Liquid-state β-detected NMR
°
°
°
°
°
°
°
Asymmetry (%)
Radiofrequency (MHz)
beam of radioactive atoms
off resonance
°
°
°
°
°
°
°
on resonance
°
°
°
°
°
°
off resonance
°
°
°
°
°
β-
RF coil
β-
β-
β-
B
Larmor frequency
M. Jankowski et al., in preparation
Notes: 18

## Slide 19: Liquid-state β-detected NMR
°
°
°
°
°
°
°
Asymmetry (%)
Radiofrequency (MHz)
beam of radioactive atoms
off resonance
°
°
°
°
°
°
°
on resonance
°
°
°
°
°
°
off resonance
°
°
°
°
°
β-
RF coil
β-
β-
β-
B
Larmor frequency
short-lived radioisotopes of alkali metals: 26Na, 37K
physics
chemistry and biology
measuring magnetic moments with ppm accuracy (e.g. 26Na)
information about chemical environment → chemical reactions
M. Jankowski et al., in preparation
Notes: 19

## Slide 20: 26Na magnetic moment and absolute shielding
Harding et al., doi: 10.1103/PhysRevX.10.041061v
BMIM-HCOO
beam
1.2 T
Notes: 20

## Slide 21: 26Na magnetic moment and absolute shielding
Harding et al., doi: 10.1103/PhysRevX.10.041061v
BMIM-HCOO
beam
beam
β-NMR
sample
1H NMR
sample (H2O)
1.2 T
Notes: 21

## Slide 22: 26Na magnetic moment and absolute shielding
μ26Na = 2.851(2)
F. T. et al., Phys. Rev. C 25, 2756 (1982)
μ26Na = 2.849390(20)
Harding et al., doi: 10.1103/PhysRevX.10.041061v
BMIM-HCOO
beam
beam
β-NMR
sample
1H NMR
sample (H2O)
1.2 T
Notes: 22

## Slide 23
2018 – 2021 beamline upgrade
B
credit: M. Myllymäki, S. Warren, M. Madurga Flores
Notes: 23

## Slide 24: Sample carriage
RF coil + sample
β-detector
M. Jankowski et al., in preparation
Notes: 24

## Slide 25: Sample carriage
RF coil + sample
β-detector
solid state
(e.g. crystal)
liquid droplet
sample
M. Jankowski et al., in preparation
Notes: 25

## Slide 26: Vacuum studies
10-3 – 10-5 mbar
credit: T. Treczoks
Notes: 26

## Slide 27: Vacuum studies
10-3 – 10-5 mbar
not-degassed
pre-degassed
sample aging
0 h
7 h
Sample holders:
  adhesion
  magnetic susceptibility
  size, angle
Samples reproducibility:
  purification (pre-degassing)
  volume (surface tension)
  time-resolved stability (high vacuum)
  hygroscopicity
0 min
13 min
adhesion
degassing
credit: T. Treczoks
Notes: 27

## Slide 28: 26Na β-detected NMR in 4.7 T
high reproducibility
34045777 Hz
34045782 Hz
Dziubinska-Kuehn et al., in preparation
Notes: 28

## Slide 29: 26Na β-detected NMR in 4.7 T
high reproducibility
23Na NMR in 7.05 T
FWHM = 230 ± 1 Hz
26Na β-NMR in 4.7 T
FWHM = 54 ± 6 Hz
34045777 Hz
34045782 Hz
Dziubinska-Kuehn et al., in preparation
Notes: 29

## Slide 30: 26Na β-detected NMR in 4.7 T
23Na NMR in 7.05 T
FWHM = 230 ± 1 Hz
26Na β-NMR in 4.7 T
FWHM = 54 ± 6 Hz
high reproducibility
34045777 Hz
34045782 Hz
Dziubinska-Kuehn et al., in preparation
comparable chemical environment, smaller B
4 x narrower resonances
Notes: 30

## Slide 31: 37K β-detected NMR in 4.7 T
hyperfine structure in KBr
solid-state β-NMR in KBr
credit: M. Jankowski
Notes: 31

## Slide 32: Summary and outlook
First liquid-state β-NMR results for 26Na
Benchmarking beamline with 4.7 T magnet
    Sample and holders → reproducibility
    Liquid-state β-NMR with 4 x narrower resonances in comparison with stable isotopes
Chemical evaluation of Larmor frequencies → biology applications
Further alkali-metal isotopes to try, e.g. 49K
Notes: 32

## Slide 33: Acknowledges
Institute of Analytical Chemistry, Leipzig University
Dr Magdalena Kowalska
ISOLDE, CERN
Prof. Jörg Matysik
This work has been sponsored by the Wolfgang Gentner Programme of the German Federal Ministry of Education and Research (grant no. 05E15CHA)
A. Antusek, N. Azaryan, M. Baranowski, M. Bissell, M. Chojnacki, A. Gerami, A. Hurajt, M. Jankowski, R. Jolivet, B. Karg, M. Kozak, K. Kulesz, M. Maddah, M. Madurga Flores, J. Matysik, I. Michelon, G. Neyens, M. Pupier, T. Treczoks, A. Skrzypczak, J. Viger-Gravel, J. Wolak, D. Zakoucky and M.Kowalska
BetaDropNMR collaboration
Notes: 33

## Slide 34: Backup slides
Notes: 34

## Slide 35
Type of laser polarization can select the transition (here: mF= +1)
Atomic spins are predominantly in the ground state with highest magnetic sublevel mF
Optical Pumping
Total atomic spin F (interaction between electron spin and nuclear spin)
Resonant transfer of atomic spins from one hyperfine level to another (from ground state to excited state), followed by the spontaneous emission.
E
3s 2S1/2
3p 2P3/2
3
2
1
1
2
0
Fine structure
Hyperfine structure
-2
0
-1
1
2
-2
0
-1
1
2
-3
3
Magnetic sublevels mF electron cyclic pumping
mF
mF
Sodium D2: λ = 589 nm
I=3/2
Notes: 35

## Slide 36: Nuclear Magnetic Resonance
E
β
α
hν = Eβ - Eα
B > 0, I ≠ 0, (2I + 1)
RF
I = ½, spherical
I ≥ 1, quadrupolar
E
RF
RF
RF
NMR spectrum
NMR spectrum
Notes: 36

## Slide 37
The great data analysis challenge
radiofrequency [MHz]
β particles in the spin direction
NaCl + Ionic Liquid = ↓
NaCl
+ H2O
+ Ionic Liquid
degassing
16
20
12
8
4
-4
0
-8
high vacuum (10-5 mbar)
23Na NMR [ppm]
Harding et al., Phys. Rev. X 10, 041061 (2020), doi: 10.1103/PhysRevX.10.041061
single atoms implanted into the liquid
high vacuum environment
β-NMR
water cluster
Notes: 37

## Slide 38
Absolute shielding formula
Harding et al., Phys. Rev. X 10, 041061 (2020), doi: 10.1103/PhysRevX.10.041061
Larmor frequency νL
B – local (effective) magnetic field
μ – magnetic moment
h – Planck constant (6.62607015×10−34 J⋅Hz−1)
I – spin
B0 – external magnetic field
α – shape factor
κ – magnetic susceptibility
σ – NMR shielding of the nucleous in the host
B = B0[1 + (
Notes: 38

## Slide 39: Backup slides
Notes: 39