## Slide 1: CTTB Industrial Controls Forum Asset Management Summary
17-February-2022, 28 participants, Indico link
Two main presentations
  BE-ICS Asset Management Recommendations, by Rafael Figueiras
  Asset Management for Controls Infrastructure at EN/CV, by Diogo Monteiro
Very lively discussion 
Two main points to take away
  It is currently problematic to have a global overview of the PLC installed or in store at CERN
    Difficult to answer questions such as
      How many PLC of this type are installed at CERN?
      Where do obsolete PLC of type XYZ are installed at CERN?
    PLC are usually registered in InforEAM but using various conventions
    Some PLCs are registered in other databases (not InforEAM)
    BE-ICS is working on a set of recommendations to register PLCs in InforEAM
  For PLC, InforEAM and LanDB have duplicated fields that requires to be entered manually twice
    There is a need to have InforEAM and LanDB synchronized