## Slide 1: HWC Procedures
Responsible from 28th July
  13 kA circuits RB and RQ: A. Verweij and M. Koratzinos. J. Steckert
  IPQs: N. Catalan and M. Modena
  IPDs: J-PH. Tock and R. Denz
  IT: B. Auchmann and N. Catalan, H. Thiesen
  600A: M. Zerlauth and S. Le Naour
  Orbit correctors: G. D'Angelo and A. Musso

## Slide 2: What needs to be done?
Review potential changes in the procedures
  nQPS commissioning
  EE at 4kA for 13kA circuits
  PNO.a3 for 120A circuits in the triplet
  …
Add a table with re-commissioning steps
  Commissioning steps to be redone after an intervention (warm-up, change of power module, disconnection of water-cooled cables, change of QPS cards, software, etc.)