## Slide 1: Scintillation detectors with PMT readout
E.Kravchenko
BINP/NSU

## Slide 2: Main stages of work
PMT characterization:
  PMT gain measurement (1-2 h)
  PMT linearity measurement (1-2 h)
Detection of cosmic muons (1-2 h)
Assembling and testing of large area scintillation detector (1-2 h)
Detection of extensive air showers (18 hours - 1 night)

## Slide 3: PMT characterization
PMT gain measurement –
single photoelectron spectrum
PMT linearity measurement --
two photodiods method
Chart: Число частиц
| 1.5 | 2.7470740878038447 | 5.3250672576247942 | 10.174920582191739 | 19.965726298926946 | 38.332842909306692 | 74.590575131250603
Делитель3, 900В | 1 | 1.0115 | 1.0349 | 1.0499 | 0.96858 | 0.80761 | 0.63442
Делитель4, 1000В | 1 | 0.97601 | 1.0097 | 1.0281 | 1.0405 | 1.0666 | 1.0415 | 0.87853 | 0.67924
Делитель4+ЭП, 850В | 1 | 1.0302 | 1.0359 | 1.0392 | 1.0405 | 1.03 | 0.99718

## Slide 4: Detection of cosmic muons
Two counters coincidence load
measurement depending on
the HV supply voltage

## Slide 5: Assembling and testing of large area scintillation detector

## Slide 6: Detection of extensive air showers
To make trigger from two adjacent
large area scintillation counters
To measure integral amplitude spectrum
(about one of night data collection).

## Slide 7: Organization of work
Day #1 -> upto 6 students are working simultaneously at 3 workplaces (PMT measurements + muon detection)
Day#2 -> data analysis + assembling of the counter + report preparation
8 days -> 6 x 4 groups = 24 students