## Slide 1: Electron Beam Test Stand (EBTS)
A. Rossi for the EBTS team
BGC Collaboration meeting
30/03/2022
CERN

## Slide 2: EBTS current team
Sameed Muhammed– Senior physicist fellow (2y) and Fredrik Wenander – Senior physicists and expert in beam sources (strong support from BE-ABP-HSL for first phase)
Wilfried Devauchelle- electrical technician + student (interlocks)
Alexandre Frassier- electrical engineer (HV)
Ashley Churchmann mechanical technician and Jean Cenede mechanical engineer (design EBTS + integration)
Students George Bantemits (BI motor control and BPM) + Lukas Golino (readout)
Manfred Wendt – Senior electrical engineer, expert in BI & BPM
Technical support from industrial support for cabling and similar
Acknowledging the work of Sergey Sadovich

## Slide 3: Latest design of the Hollow Electron Lens
Ioannis Papazoglou
Antti Kolehmainen

## Slide 4: Electron Beam Test Stand
E-Gun
Beam Diagnostics Box
BPM
Sector Valve
BGC
Collector
Sergey Sadovich

## Slide 5: EBTS scope and experimental programme: BGC
BGC prototype for LHC measurements:
  Validation of prototype with HEL beam type
See Ashley’s for EBTS layout and installation
Hollow Beam Dext ~16 – 30 mm
Steering ± 5mm
Energy ≥ 10 keV
Pulsed mode: 100us at 5A at 10Hz ≈ 5mA average
  Presently limited by passively cooled collector
  Repetition rate can be increased using water-cooled collector up to HEL nominal parameters (Anode Modulator is also needed), or DC beam

## Slide 6: EBTS: Beam Size.
120mm
400A
560A
800A
* Current at Gun Solenoid
16 – 30 mm at 5A
Offset: ±5mm H/V
BGC
Sergey Sadovich

## Slide 7: EBTS scope and experimental programme: e-GUN
Characterisation of HEL e-gun prototype II: full scan I(T,V)
First prototype 2019
Second prototype
  Tested: small current due to old cathode
  New cathode being activated
A. Churchman
D.Perini, A.Kolehmainen CERN

## Slide 8: EBTS scope and experimental programme: e-GUN
A. Kolehmainen

## Slide 9: EBTS scope and experimental programme: BPM
Strip-line BPM: experimental confirmation of e-beam measurements with HEL type beam
Numerical simulations and laboratory measurements demonstrate the feasibility of measuring both ~ DC e-beam and bunched LHC beam, with < 2um difference
G. Bantemits et at. IBIC2021
Planned to be mounted ~ May 2022
See A. Churchman’s

## Slide 10: EBTS scope and experimental programme
Collector prototype & powering:
  High Voltage behaviour
  Thermomechanical resistance
  Efficiency for electron collection and vacuum
  HV powering: coping with large power pulsed
Material procurement (1/2 done) and construction planned

## Slide 11: Planning 2022
Stage 2
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Stage 1
BDB (FC and YAG Commissioning)
Interlocks
Corrector magnets
Gun characterisation
Stage 3
BPM
BTV
BGC

## Slide 12: Thank you for your attention.
Notes: Merci encore pour tout le travaille a faire aar Adirana et Frederik.