## Slide 1: 3D calculation for the alignment of LHC low-beta quadrupoles
RUDE Vivien
1st November 2022 – IWAA 2022
On behalf : GM group

## Slide 2
Outline
LHC Low Beta Quadrupoles
Alignment requirement
3D calculations
Results
Perspective : HL-LHC

## Slide 3: LHC
Appart’ City Hotel
Ferney-Voltaire
Meyrin
site
Prevessin
site
CMS
ATLAS
ALICE
LHCb

## Slide 4
LHC

## Slide 5
Experiment
140 m
Alignment tolerances :
±0.15 mm at 1
Radius : 0.15 mm at 1
Q1
Q2
Q3
Q3
Q2
Q1
Left
Right
Experiment
Nominal axis
Low Beta alignment requirement
Common points
“Stable” points

## Slide 6
3D transformations
Experiment
140 m
R-ccs (cern)
R-local
R-component

## Slide 7
Alignment sensors
Wire sensor : WPS
Invar rod
DOMS
DOMS
Distance sensor : DOMS + Invar rod
Water sensor : HLS
wire
electrode
electrode
electrode

## Slide 8
R-component
R-interface-WPS
R-interface-HLS
R-interface-DOMS
A priori sigma : 20 μm per axis (1)
Fiducialisation process

## Slide 9
Calibration process
A priori sigma : 5 μm per axis (1)
wire
electrod

## Slide 10
3D model : Wire
A priori sigma : 10 μm per axis (1)
Y
Z
Hyperbolic cosine
Approximation : Second order polynomial
CERN   60 000
, , : Coordinates of the lowest point B
: Azimuth of the vertical plane containing the wire
: parameter of the wire

## Slide 11
3D model : Water
Hydrostatic equilibrium
 Equipotential surface of the Earth’s gravity
Geoid Model : CERN Geoid 1985

## Slide 12
Least square adjustment
LEAST SQUARE ADJUSTMENT
3D transformation
Fiducialisation
Calibration
3D model
Water
3D model
Wire
3D model
Distance
Observations :
WPS : A priori sigma  30 μm
HLS : A priori sigma  30 μm
DOMS : A priori sigma  100 μm
Main Parameters :
3D positions of the components
Sags of the wires
Heights of the water networks
Accuracy (in R-local):
Radial position of the components : [74 μm : 100 μm]
Vertical position of the components : [45 μm : 67 μm]
Sag (absolute accuracy) : 40 μm
Height (absolute accuracy) : 30 μm

## Slide 13
Result : Alignment

## Slide 14
28 Feb
27 Mar
23 Apr
20 May
13 Jul
09 Aug
05 Sep
16 Jun
60
64
68
72
84
88
92
80
76
Humidity [ % ]
Time
52.50
52.45
52.40
52.25
52.20
52.15
52.10
Sag [ mm ]
52.35
52.30
Result : Sag versus Humidity
 = 28%
 = 350 μm
Carbon Kevlar wire
L = 140 m

## Slide 15
Result : Height of water network
21 Aug 2020
21 Nov 2020
21 Feb 2021
24 May 2021
24 Aug 2021
24 Nov 2021
24 Feb 2022
27 May 2022
27 Aug 2022
Time
Height [ mm ]
359291.500
359292.000
359292.500
359293.000
359293.500
359294.000
 = 1 mm
 = 16 months

## Slide 16
Result : Cooling Down
Warm position
Cold position
400 μm
2.5 mm
1 mm
Q1
Q2

## Slide 17
Perspective : HL-LHC
UA57
US57
UR55
UL57
UPR57
Q1
Q2A
Q2B
Q3
CP
D1
DQHDS
D2
Q4
Q5
Crab
Cavities
UW57
TAXN
Courtesy
M. Modena and M. Mendes
LHC
HL-LHC
210 m
50 m

## Slide 18
  Position of the components cryostat along one side of the tunnel : +/- 0.1 mm *
  Position of the components cryostat along one side of the tunnel w.r.t the other side : +/- 0.15 mm *
Q5
Q4
CC2
CC1
D2
TCLX
TCTPH
TCTPV
TAXN
D1
CP
Q3
Q2b
Q2a
Q1
EXP.
UPS gallery
P1
P2
P3
P4
P5
P6
Q1
Q2a
Q2b
Q3
CP
D1
TAXN
TCTPV
TVTPH
TCLX
D2
CC1
CC2
Q4
Q5
Alignment between Q1 and Q5 :
TDR limits :  (1 sigma) < 0.1 mm
Alignment between Q5-left and Q5-right :
TDR limits :  (1 sigma) < 0.15 mm
* On main component
Perspective : HL-LHC Alignment requirement
R = 0.15 mm
Left
Right
R = 0.1 mm
R = 0.1 mm

## Slide 19
Perspective : Accuracy of the sensors
 | LHC | HL-LHC
WPS | 30 μm | 20 μm
HLS | 30 μm | 20 μm
Long range Distance Link UPS-tunnel | 100 μm | 40 μm
Inclinometer | No | 100 μrad
Internal monitoring | No | 20 μm
wire
HLS
WPS
Long range
FSI
Inclinometer
Wire to wire

## Slide 20
Perspective : LHC  HL-LHC
Accuracy
Reliability
Cost / scope / time
Improve accuracy and reliability
LHC configuration
“ Q1 “
HL-LHC configuration
“ Q1 “

## Slide 21
Perspective : LHC  HL-LHC
Number of sensors
Per IP | LHC | HL-LHC
WPS | 22 | 140
HLS | 25 | 90
Long range Distance Link UPS-tunnel | 6 | 12
Inclinometer | -- | 50
Internal monitoring | -- | 160
SUM :
34 components
6 components
53
450

## Slide 22
Conclusion
LHC Low Beta alignment requirement
 +/-0.15 mm (1)
Results
 Accuracy below 0.1 mm (1)
3D versus 2D
 Difference up to 0.1 mm
LHC  HL-LHC
Per IP | LHC | HL-LHC
Distance from IP | 50 m | 210 m
Number of sensors | 53 | 450
Number of components | 6 | 34
Internal monitoring | no | YES
Reliability | no | YES
Alignment tolerance | 0.15 mm [Q3-Q3] | 0.15 mm [Q5-Q5]
0
20
40
60
80
100
120
140
160
180
200
220
-220
-200
180
-160
-140
-120
-100
-80
-60
-40
-20
P1
P2
P3
P4
P5
P6
Q1
CP
D1
TAXN
TCTPV
TCTPH
TCLX
D2
CRAB1
CRABL
Q4
Q5
CP
D1
TAXN
TCTPV
TCTPH
TCLX
D2
CRAB1
CRAB2
Q4
Q5
TCLMB
TCLMC
TCLMC
TCLMB
Q2a
Q2b
Q3
Q1
Q2b
Q2a
Q3
R = 150 μm
R < 40 μm

## Slide 23
Thank you
for your attention

## Slide 24
SPARE

## Slide 25
Reliability from GM group point of view
Least Square Adjustment
Stochastic model which contain
the probabilistic of the observations
Analysis of
Reliability
Analysis of
accuracy
The a priori hypotheses are considered as true without any mistakes on the observations
The analysis of reliability includes the notion of auto-control. That means the possibility to detect the mistakes on the observations
Analysis of accuracy for the position of the point P :
excellent accuracy for
Analysis of reliability for the position of the point P :
d1 and d2 are well controlled  Local reliability : 50%
d3 not controlled  Local reliability : 0%
Only a big mistake on d3 can be highlighted by measurements d1 and d2
 Excellent reliability for
 Poor reliability for
A priori hypothesis :
 Distances d1, d2, d3  accurate (micrometric level)
x
y

## Slide 26
Accuracy of the proposition
Chart: Radial accuracy (mm)
| -207000 | -200000 | -178000 | -171000 | -162000 | -157000 | -148000 | -140000 | -136000 | -133000 | -128000 | -77000 | -72000 | -62000 | -51000 | -40000 | -29000 | 29000 | 40000 | 51000 | 62000 | 72000 | 77000 | 128000 | 133000 | 136000 | 140000 | 148000 | 157000 | 157000 | 171000 | 178000 | 200000 | 207000
Simu1 | 0.32846 | 0.31781 | 0.27105 | 0.2611 | 0.24363 | 0.23396 | 0.21222 | 0.20132 | 0.19371 | 0.18802 | 0.17859 | 0.077113 | 0.068877 | 0.049847 | 0.042217 | 0.038687 | 0.051481 | 0.046987 | 0.037969 | 0.042011 | 0.049797 | 0.068695 | 0.078947 | 0.17843 | 0.18785 | 0.19353 | 0.20113 | 0.21129 | 0.23373 | 0.24339 | 0.26084 | 0.27108 | 0.31748 | 0.32817
Simu 1 : Mirroir | -0.32846 | -0.31781 | -0.27105 | -0.2611 | -0.24363 | -0.23396 | -0.21222 | -0.20132 | -0.19371 | -0.18802 | -0.17859 | -0.077113 | -0.068877 | -0.049847 | -0.042217 | -0.038687 | -0.051481 | -0.046987 | -0.037969 | -0.042011 | -0.049797 | -0.068695 | -0.078947 | -0.17843 | -0.18785 | -0.19353 | -0.20113 | -0.21129 | -0.23373 | -0.24339 | -0.26084 | -0.27108 | -0.31748 | -0.32817
Simu4 : last simulation | 0.15722 | 0.15394 | 0.12898 | 0.12532 | 0.11719 | 0.11271 | 0.10167 | 0.097692 | 0.094221 | 0.091636 | 0.090872 | 0.038248 | 0.035688 | 0.027949 | 0.027522 | 0.027198 | 0.030253 | 0.02897 | 0.024759 | 0.025605 | 0.026444 | 0.035745 | 0.040844 | 0.090709 | 0.091454 | 0.094032 | 0.097495 | 0.099604 | 0.11248 | 0.11695 | 0.12505 | 0.12751 | 0.15361 | 0.15688
simu 4 : last simulation MIRROIR | -0.15722 | -0.15394 | -0.12898 | -0.12532 | -0.11719 | -0.11271 | -0.10167 | -0.097692 | -0.094221 | -0.091636 | -0.090872 | -0.038248 | -0.035688 | -0.027949 | -0.027522 | -0.027198 | -0.030253 | -0.02897 | -0.024759 | -0.025605 | -0.026444 | -0.035745 | -0.040844 | -0.090709 | -0.091454 | -0.094032 | -0.097495 | -0.099604 | -0.11248 | -0.11695 | -0.12505 | -0.12751 | -0.15361 | -0.15688
P1
P2
P3
P4
P5
P6
Wire Q1-D1
Wire Q1-D1
Q5
Q4
CC2
CC1
D2
TAXN
D1
CP
Q3
Q2b
Q2a
Q1
Q1
Q2a
Q2b
Q3
CP
D1
TAXN
D2
CC1
CC2
Q4
Q5
Chart: Vertical accuracy (mm)
| -207000 | -200000 | -178000 | -171000 | -162000 | -157000 | -148000 | -140000 | -136000 | -133000 | -128000 | -77000 | -72000 | -62000 | -51000 | -40000 | -29000 | 29000 | 40000 | 51000 | 62000 | 72000 | 77000 | 128000 | 133000 | 136000 | 140000 | 148000 | 157000 | 157000 | 171000 | 178000 | 200000 | 207000
Simu1 | 0.081317 | 0.093203 | 0.075305 | 0.087722 | 0.086347 | 0.085592 | 0.064456 | 0.082906 | 0.082223 | 0.081693 | 0.080761 | 0.054248 | 0.052379 | 0.051927 | 0.047592 | 0.045812 | 0.033413 | 0.050643 | 0.05056 | 0.055929 | 0.056402 | 0.056865 | 0.060283 | 0.078759 | 0.079308 | 0.079635 | 0.080087 | 0.069669 | 0.082464 | 0.083405 | 0.085524 | 0.083014 | 0.097928 | 0.092094
Simu 1 : mirroir | -0.081317 | -0.093203 | -0.075305 | -0.087722 | -0.086347 | -0.085592 | -0.064456 | -0.082906 | -0.082223 | -0.081693 | -0.080761 | -0.054248 | -0.052379 | -0.051927 | -0.047592 | -0.045812 | -0.033413 | -0.050643 | -0.05056 | -0.055929 | -0.056402 | -0.056865 | -0.060283 | -0.078759 | -0.079308 | -0.079635 | -0.080087 | -0.069669 | -0.082464 | -0.083405 | -0.085524 | -0.083014 | -0.097928 | -0.092094
Simu 4 : last simulation | 0.066774 | 0.078116 | 0.063571 | 0.071426 | 0.071316 | 0.071251 | 0.055123 | 0.070599 | 0.07029 | 0.070008 | 0.073782 | 0.045055 | 0.04361 | 0.039911 | 0.033018 | 0.028379 | 0.02 | 0.037535 | 0.037894 | 0.040248 | 0.045153 | 0.047028 | 0.050535 | 0.074114 | 0.07092 | 0.071595 | 0.072493 | 0.068321 | 0.076477 | 0.077778 | 0.080386 | 0.076722 | 0.096014 | 0.086016
Simu 4 : last simulation : MIRROIR | -0.066774 | -0.078116 | -0.063571 | -0.071426 | -0.071316 | -0.071251 | -0.055123 | -0.070599 | -0.07029 | -0.070008 | -0.073782 | -0.045055 | -0.04361 | -0.039911 | -0.033018 | -0.028379 | -0.02 | -0.037535 | -0.037894 | -0.040248 | -0.045153 | -0.047028 | -0.050535 | -0.074114 | -0.07092 | -0.071595 | -0.072493 | -0.068321 | -0.076477 | -0.077778 | -0.080386 | -0.076722 | -0.096014 | -0.086016
Q5
Q4
CC2
CC1
D2
TAXN
D1
CP
Q3
Q2b
Q2a
Q1
Q1
Q2a
Q2b
Q3
CP
D1
TAXN
D2
CC1
CC2
Q4
Q5
HL-LHC limits (2) : (1) < 0.15 mm
Baseline
Proposition
General coordinate system

## Slide 27
wire
HLS
WPS
Inclinometer
Wire to wire
Internal monitoring

## Slide 28
Difference 2D versus 3D
34.5 mm
 = 2 mrad
 rad = 70 μm
Difference up to 0.1 mm
for LHC configuration