## Slide 1: VELO Upgrade I
Vertex 2022, Tateyama resort hotel
Valeriia (Lera) Lukashenko on behalf of LHCb VELO group
Nikhef, KINR NASU
The LHCb Vertex Locator in Upgrade I

## Slide 2: LHCb
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
9
Forward general purpose spectrometer:
b-, c- physics as well as exotics searches
Vertex Locator (VELO)

## Slide 3: Upgrade1
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
Chart: 
| R/O | Event Builder | Event Filter
Region 1 | 33 | 33 | 33
Chart: 
| VELO | RICH1 | UT | SciFi | RICH2 | ECAL | HCAL | MUON
Region 1 | 15 | 15 | 15 | 15 | 20 | 1 | 1 | 7
DAQ
R/O electronics
Detector Channels
Chart: 
| VELO | RICH1 | UT | SciFi | RICH2 | ECAL | HCAL | MUON
Region 1 | 15 | 15 | 15 | 15 | 20 | 1 | 1 | 7
NEW
OLD
50
5! Times increase in the operational and 5! times more interactions seen
Read-out from 1MHz to 40MHz
No hardware-level trigger
Vertex Locator (VELO)

## Slide 4: VELO
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
50
Vertex Locator (VELO)

## Slide 5: VELO
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
read-out
primary vacuum
secondary vacuum
beam
1 m
A-side
C-side
RF-foil
modules
Notes: RF-foil protests the primary vacuum of LHC from contamination. It also has a retraction mechanism to protect halves of RF-foil from touching. Co@ pipes for cooling are not shown in the picture but are above the readout. We reuse the old closing mechanism

## Slide 6: VELO
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
read-out
primary vacuum
secondary vacuum
beam
modules
1 m
A-side
C-side
RF-foil
Notes: RF-foil protests the primary vacuum of LHC from contamination. It also has a retraction mechanism to protect halves of RF-foil from touching. Co@ pipes for cooling are not shown in the picture but are above the readout. We reuse the old closing mechanism

## Slide 7: Halves
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
Run 1+2
Run 3+4
Upgrade 1
# modules | 42(r, )+4r modules |  | 52 modules
geometry | r, |  | x,y
technology | strips |  | pixels
pitch |  |  | 
distance to beam from the first sensing element | ~8 mm |  | ~5 mm
readout rate | 70MHits/s |  | 900MHits/s
max fluence |  |  | 
sensor temperature | -8°C |  | -25°C
Notes: The cooling is done the same way as before, but the technology had been improved.
There are 12 ASICs per module

## Slide 8: Halves
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
Run 1+2
Run 3+4
Upgrade 1
# modules | 42(r, )+4r modules |  | 52 modules
geometry | r, |  | x,y
technology | strips |  | pixels
pitch |  |  | 
distance to beam from the first sensing element | ~8 mm |  | ~5 mm
readout rate | 70MHits/s |  | 900MHits/s
max fluence |  |  | 
sensor temperature | -8°C |  | -25°C

## Slide 9: Readout
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
256x256p
Opto & Power Board
optical fibers
Vacuum Feedthrough
Board
air
secondary
vacuum
DAQ
~300m
data cables
data cables
Notes: The transition of the data, Low Voltage (LV) and High Voltage (HV) is achieved
with a custom-made VFB made from a 12 layered 2mm thick PCB. The feedthrough
has connectors soldered both on the in air and vacuum sides, enabling a
quick connection of the OPB and module, respectively.
The VFB is built by inserting the PCB into two half-moon holders, making a
connection between the PCB and the rest of the vacuum flange. Araldite 2011 is
used to glue everything in place and left for curing. Afterwards both sides are one
by one potted using Araldite 2020 making the whole object leak-tight.

## Slide 10: Readout
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
256x256p
Opto & Power Board
optical fibers
Vacuum Feedthrough
Board
air
secondary
vacuum
DAQ
~300m
data cables
data cables

## Slide 11: Module
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
sensor tile
VeloPix
microchannel
substrate
front end
hybrids
Interconnection
tapes
CO2
HV
carbon-fiber legs
data
cables
GBTx
LV
Notes: Sensors are from both sides - 6 sensors per side. 3 sensors per ASIC

## Slide 12: RF-foil
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
read-out
primary vacuum
secondary vacuum
beam
modules
1 m
A-side
C-side
RF-foil
Notes: RF-foil protests the primary vacuum of LHC from contamination. It also has a retraction mechanism to protect halves of RF-foil from touching. Co@ pipes for cooling are not shown in the picture but are above the readout. We reuse the old closing mechanism

## Slide 13: RF-foil
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2

## Slide 14: RF-foil
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
Chart: 
| RF-foil | Sensors | Cooling substrate | ASICs | Hybrids | Cooling connector | Other | RF-box
Region 1 | 70 | 15 | 18 | 15 | 7 | 3 | 3 | 3
VELO material budget
Notes: The material budget of the upgraded VELO is evaluated by following straight-line tracks
from the origin to the plane z = 835 mm. For each volume traversed by the track, the
radiation length of the material and the length of the track segment inside the volume
are recorded.

## Slide 15: RF-foil
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
Chart: 
| RF-foil | Sensors | Cooling substrate | ASICs | Hybrids | Cooling connector | Other | RF-box
Region 1 | 70 | 15 | 18 | 15 | 7 | 3 | 3 | 3
VELO material budget

## Slide 16: RF-foil
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
done
etching
milling
block of aluminium

## Slide 17
2018
Run 2
Upgrade 1
2019
2020
2021
2022
Run 3
Velo A
Velo C
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2

## Slide 18: Production Assembly
Installation
2018
Run 2
2019
2020
2021
2022
Run 3
Velo A
Velo C
remove old VELO

## Slide 19: Production Assembly
2018
Run 2
2019
2020
2021
2022
Run 3
Velo A
Velo C
module production
RF-foil
install
module production
RF-foil in place
remove old VELO
Installation
Nikhef
University of Manchester

## Slide 20: Production Assembly
2018
Run 2
2019
2020
2021
2022
Velo A
Velo C
assembly
assembly
install
time constraints because of COVID-19 :
  install C-side in late February-early March
  use technical stop in May to install side A
team effort: Liverpool experts with support of experts from Nikhef, Manchester, Oxford and CERN
University of Liverpool
module production
module production
remove old VELO
Installation
RF-foil
Run 3

## Slide 21: Production Assembly
2018
Run 2
2019
2020
2021
2022
Velo A
Velo C
install
Tests
Perform electrical and noise tests per module before installation
Install modules and test cooling loop
Test half under vacuum
Cooling tests with powered modules
Electrical and noise tests after installation
Metrology with and without cooling
module production
module production
assembly
assembly
noise scans
front ASIC 1
front ASIC 2
back ASIC 1
back ASIC 2
RF-foil
remove old VELO
Installation
Run 3

## Slide 22: Production Assembly
2018
Run 2
2019
2020
2021
2022
Velo A
Velo C
install C
install A
commissioning
commissioning
install
VELO at Point 8
Before installation
Repeat warm electrical and noise tests
Metrology
After installation
Leaks check
Connection to the safety alarm matrix
Communication test
Mapping check
module production
module production
assembly
assembly
remove old VELO
Installation
RF-foil

## Slide 23: Commissioning and calibration
IV curve
Equalisation
Time Alignment
DAC scans
V
LHCb work in progress
LHCb work in progress
LHCb work in progress
LHCb work in progress

## Slide 24: Commissioning and calibration
IV curve
Equalisation
Time Alignment
DAC scans
V
LHCb work in progress
LHCb work in progress
LHCb work in progress
LHCb work in progress

## Slide 25: Equalisation
Get s-curves with extreme trims 0 and 15
Extrapolate respond between 0 and 15
Define one threshold for all pixels
Choose trim per pixel + mask to reach
the same threshold
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity
global threshold is defined per ASIC
trim is defined per pixel

## Slide 26: Equalisation
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity
LHCb work in progress
LHCb work in progress
LHCb work in progress
Get s-curves with extreme trims 0 and 15
Extrapolate respond between 0 and 15
Define one threshold for all pixels
Choose trim per pixel + mask to reach
the same threshold

## Slide 27: Time Alignment and BXID spread
Aim: all ASICs respond at the same time
signal
bxid
time aligned
bxid
signal
signal
bxid
difference within the same bxid
different bxid

## Slide 28: Time Alignment and BXID spread
Aim: all ASICs respond at the same time
Timing and trigger control system delay/ASIC : different bxid
Overall delay: add latency to catch all
ASIC delay : adjust inside one bxid
1 BXID = 25 ns
LHCb work in progress
BXID-BXIDbb
Module
ASIC ID
BXID : VELO locally
BXIDbb : beam-beam BXID from LHC

## Slide 29
But then BXID spread came
Module 22
Asic: VP0-1
threshold: 1700
Also seen in analogue test pulse
1 BXID = 25 ns
LHCb work in progress

## Slide 30: Time Alignment and BXID spread
Threshold is global not per ASIC
Perform DAC scan
Get new threshold voltage
Retake equalisation
Aim: all ASICs respond at the same time

## Slide 31: Time Alignment and BXID spread
Aim: all ASICs respond at the same time
V
V
V
LHCb work in progress
Threshold is global not per ASIC
Perform DAC scan
Get new threshold voltage
Retake equalisation

## Slide 32: Time Alignment and BXID spread
Aim: all ASICs respond at the same time
V
V
V
LHCb work in progress
Threshold is global not per ASIC
Perform DAC scan
Get new threshold voltage
Retake equalisation
showed improvement with
bxid spread analogue test pulse

## Slide 33: Time Alignment and BXID spread
Aim: all ASICs respond at the same time
TFC delay/ASIC fix : different bxid
SOL 40 delay: add latency to catch all
ASIC delay : adjust inside one bxid

## Slide 34: VELO opens it’s eyes
First glance at new data
Real-time data quality with online monitoring - Monet
number of tracks per primary vertex
vertex position alignment
LHCb work in progress
VELO partially closed
Number of tracks per primary vertex
LHCb work in progress
cluster map

## Slide 35: First closure October 2022
At low intensity beam
gap 30 mm
hadronic vertices
not up to scale
LHCb preliminary
LHCb preliminary
LHCb preliminary
LHCb preliminary
gap 20 mm
gap 12 mm
gap 8 mm
gap

## Slide 36: Metrology with beam
Velo A
Velo C
LHCb preliminary
LHCb preliminary
LHCb work in progress
Notes: Here RF-foil is expanded beyond the nominal bound of 3.5 mm . You can also sea beam angle on the gifs.

## Slide 37: Conclusions
Despite COVID-19 delay VELO has arrived
A lot of progress in commissioning, but still some mysteries to solve - this talk did not cover a lot in configuration, firmware, monitoring, overall improvement of stability, cooling, etc.
First data has been seen!
And of course this is all a result of hard work of many-many people

## Slide 38: ありがとう
(arigatō)
G. Bogdanova
A. Leflat
V. Volkov

## Slide 39
Backup

## Slide 40: Module
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
900 MHits/s
900 MHits/s
256x256p
256x256p

## Slide 41: Cooling
2010
2012
2015
2018
2022
2024
2028
2030
2031
Run 1
Run 2
Upgrade 1
Run 3
Run 4
Upgrade 2
subcooled liquid
Gas

## Slide 42: Safety
interlock VELO
trigger alarm for the shifter and piquet

## Slide 44
Overall delay
Experiment Control System
Timing and Fast control
Timing and Fast control
Timing and Fast control

## Slide 45: Equalisation
Scan with extreme trims 0 and 15
Compute the quantity to equalise on
Choose the aim
Extrapolate respond between 0 and 15
Compute trim per pixel + mask
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity
trim 0
trim 0
trim 15
baseline - mean

## Slide 46: Equalisation
Scan with extreme trims 0 and 15
Compute the quantity to equalise on
Choose the aim
Extrapolate respond between 0 and 15
Compute trim per pixel + mask
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity
trim 0
trim 15
noise rate

## Slide 47: Equalisation
Scan with extreme trims 0 and 15
Compute the quantity to equalise on
Choose the aim
Extrapolate respond between 0 and 15
Compute trim per pixel + mask
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity
aim

## Slide 48: Equalisation
Scan with extreme trims 0 and 15
Compute the quantity to equalise on
Choose the aim
Extrapolate respond between 0 and 15
Compute trim per pixel + mask
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity

## Slide 49: Equalisation
Scan with extreme trims 0 and 15
Compute the quantity to equalise on
Choose the aim
Extrapolate respond between 0 and 15
Compute trim per pixel + mask
Aim: equalise the per pixel discriminator behaviour
such that they all respond the same to a given quantity