## Slide 1: BGC regular meeting - Version 3 update
O. Sedlacek, H. Zhang, O. Stringer, S. Mazzoni
08.04.2022

## Slide 2
Gas Jet profile at CERN
16 mm
22 mm
22.5 mm
Measurements
Simulation
3rd skimmer: 0.7x9mm

## Slide 3
Gas Jet at CERN

## Slide 4
Gas Jet at CERN

## Slide 5
Next steps
Further gas jet + e-beam measurements
  Signal still not found
    E-gun
    Camera (noise)
    Higher demagnification -> hard to find
Vacuum tests
Stability gas jet tests for BGV

## Slide 6: Thank you for your attention Any questions? ondrej.sedlacek@cern.ch
Thank you for your attention
Any questions?
ondrej.sedlacek@cern.ch

## Slide 7
Pressures during pump down

## Slide 8
Pressures with Gas jet