## Slide 1: IFJ PAN Kraków
ELQA Activities
Jaromir Ludwin
Division of Scientific Equipment and Infrastructure Construction

## Slide 2: The Institute
Established in Krakow in 1955
First cyclotron built in 1958 (14.5 MeV deuterons and 29 MeV alpha particles)
See more: https://www.ifj.edu.pl/en/institute/history.php

## Slide 3: The Institute
Currently one of the biggest institutes of the Polish Academy of Sciences
Conducting research in fields of
  Particle physics
  Nuclear and strong interaction physics
  Condensed matter physics
  Bio-physics
Two special divisions
  Cyclotron Centre Bronowice (hadron therapy centre – 250 MeV proton beam, 2 gantries, ocular radiotherapy facility)
  Division of Scientific Equipment and Infrastructure Construction (cryogenic infrastructure, mechanical workshop, design office)
Image: geoportal.gov.pl

## Slide 4
Examples of our projects

## Slide 5: Division of Scientific Equipment and Infrastructure Construction
Cold magnet
Current Lead
Cavity
Cryomodule
840 x
103 x
103 x
Qualification tests of superconducting components of the accelerator E-XFEL (2010 – 2015)

## Slide 6: Division of Scientific Equipment and Infrastructure Construction
Wendelstein 7-X Stellarator assembly (2007 – 2012)
Preparation and installation of 120 systems supplying superconducting coils.
Completing of 220 splices of superconducting cables.
Manufacturing of 30 sets of mechanical elements for polychromators.
Verification calculations (FEM) of the designed equipment for the assembly, storage and transport of external module tanks.

## Slide 7: Division of Scientific Equipment and Infrastructure Construction
ITER – design and prototype works (2010 – 2024)
2010-2013: FEM calculations of ITER infrastructure elements
static analyses for nonlinear effects (buckling) and fatigue
dynamic analysis for seismic loads.
2013-2024: Radial Neutron Camera (RNC)
Thermo-hydraulic design and analysis (detector cooling system)
Electromagnetic analyses (dynamic loads and electromagnetic shields)
Design of RNC components (adjustable collimators and rotary detectors)
CAD design support
2014-2016: High Resolution Neutron Spectrometer (HRNS)
Coordination of the engineering part of the project
Leading role in CAD design
Thermo-hydraulic design and analysis - detector cooling system
Electromagnetic analysis – detector shielding system against the influence of magnetic field

## Slide 8: Division of Scientific Equipment and Infrastructure Construction
ESS – Installations and testing (2017 – 2027)
RF installations
S-tub installations
LLRF installations
Local protection system installations
RF power distribution installations
Power converter installations
Klystrons Modulators for RFQ and DTL
Klystron Modulators for Medium / High Beta
Power converters for magnets
RF Cryomodule Tests
Preparation and execution of qualification tests of 30 cryomodules

## Slide 9: Division of Scientific Equipment and Infrastructure Construction
Many projects done in collaboration with scientific divisions of the Institute
STUMM (IFMIF-DONES) in collaboration with Department of Radiation Transport Physics
Building of 2nd prototype and installation of two Cherenkov telescopes in Czech Republic – collaboration with Department of Gamma-Ray Astrophysics
T2K (ND280 detector upgrade) – collaboration with Department of Cosmic Ray Research and Neutrino Studies
IFJ PAN contribution
  Design and manufacturing
  4 full-size modular frames
  36 supports for MicroMegas

## Slide 10
History of CERN – IFJ PAN ELQA collaboration

## Slide 11
First Collaboration Agreement between CERN and IFJ PAN related to ELQA activities singed on 2003 (left photo) and updated in 2005 (right photo)
Source: A. Kotarba

## Slide 12: IFJ PAN ELQA Team at CERN – Arc Interconnection Verification
Source: A. Kotarba

## Slide 13: Partial Arc Qualification
Source: A. Kotarba

## Slide 14: First TP2 - TP4 tests
Source: A. Kotarba

## Slide 15: First TP4 tests
Source: A. Kotarba

## Slide 16: Equipment used during LHC assembly and early HC
Source: A. Kotarba

## Slide 17: Line-N Factory
Source: A. Kotarba

## Slide 18: Summary of the collaboration
We have been working together since the beginning of the LHC, during:
LHC assembly
Hardware commissioning
Recovery after 2008 incident
Long Shutdowns 1 and 2
Technical stops
ELQA hardware and software are our basic tools, which we (Institute and CERN) have created on our own. This provides the tightest possible feedback loop between user and developer.

## Slide 19
Maintenance of the TP4 measurement system
SQLite DB
SQLite DB

## Slide 20: Maintenance of TP4 system
Hardware
General hardware maintenance
Upgrade of gain/phase analyser (EoL of currently used device)
Software
Universal test and measurement application
ELQA database optimisation
Full implementation of local TFM
Upgrade of MIC QHR application
ELQA test plan web application
Additional PXI based monitoring applications

## Slide 21: Hardware
Initial system check
Removal of all devices and cleaning
Upgrade of power distribution box and check of grounding system
Preparation of fasteners for new and relocated devices
Replacement of all connectors
Retightening of all screws
Replacement of broken cables
Design and production of new PCBs for external TFM reference and TFM isolation amplifier

## Slide 22: TP4 instruments rearrangement
Agilent 6643A DC Power Supply (0-35V, 0-6.0A)
Powertek GP102 gain phase analyser with dual analysis channels and generator
PXI computer with two DMM cards
24 VDC to 230 VAC converter
Power supply for the TP4 crate
TP4 Crate (multiplexers
and reference resistors)
Powertek amplifier (output +/-12V, 700 mA RMS, 1A peak)

## Slide 23: TP4 instruments rearrangement
Agilent 6643A DC Power Supply (0-35V, 0-6.0A)
PSM1700 gain phase analyser with dual analysis channels and generator
PXI computer with two DMM cards
24 VDC to 230 VAC converter
Power supply for the TP4 crate
TP4 Crate (multiplexers
and reference resistors)
Powertek amplifier (output +/-12V, 700 mA RMS, 1A peak)
Space for new device (2U)

## Slide 24: Replacement of all connectors
Harting pins after few thousand mating cycles

## Slide 25: Conclusions
There is a huge record of fruitful collaboration between CERN and IFJ PAN, in particular in the field of Electrical Quality Assurance.
TP4 maintenance project started with a significant delay, but we are catching up with the schedule.
Our experts are working on many projects, ranging from accelerator technology to fusion.
We are really good at building and testing.