## Slide 1: WLCG Service Report 7 weeks, 3rd May 2022 - 21st June 2022 WLCG Management Board, 21st June 2022 Katarzyna Dziedziniewicz, Maarten Litmaath CERN v1.1

## Slide 2: Operations Coordination meetings
These meetings normally are held once per month
  Usually on the first Thursday
Each meeting has a standard agenda plus usually at least one dedicated topic, announced in advance
Experiments and sites are kindly asked to have the relevant experts attend, depending on the topic(s)
Next meeting on July 7th
  Topic: TBC

## Slide 3: Operations Coordination main points
Update on XRootD monitoring progress
  Common architecture for OSG and WLCG
Campaign for enabling SRR on the dCache sites
  Was enabled at 75 WLCG sites already
Proposal for improving WLCG site network monitoring
  Well regarded and will be followed up
CE token support campaign launched on EGI
  Tickets for all sites supporting ALICE, ATLAS or LHCb
  CMS had already launched a campaign earlier this year
Customizable WLCG Privacy Notice was published
ESnet installations at CERN were not upgraded June 7-10
  When the HW has become available, new dates will be set

## Slide 4: Selected items from Operations (1)
ATLAS
  DPM to dCache migration (5 PB) at Prague was done in < 24h
    As presented in the June GDB
CMS
  WebDav transition: all T1, T2 and most T3 sites OK
ALICE
  CVMFS problem affected 2 sites in Japan and Thailand
    Stratum-1 at ASGC had run out of disk space (fixed)
LHCb
  RAL: long-standing data management issues (GGUS:156492, GGUS:155120)
RAL
  Major network intervention to increase security took place last weekend

## Slide 5: Selected items from Operations (2)
KIT
  A downtime scheduled for June 20-21 was compounded by cooling issues on June 19: the computing farm had to be switched off as an emergency measure
Middleware
  MyProxy v6.2.9-10 available in EPEL 7, 8 and 9
    Will also be added to the UMD
  Backward-compatible on EL7 and EL8
  Required on both sides if client or server is on EL9
    Due to OpenSSL v3 requirements
  Myproxy.cern.ch is running it on EL7
    Supports older EL7 and EL8 clients
    Is ready for EL9 clients

## Slide 6: Service Incident Reports
No new incident report

## Slide 7: GGUS summary (7 weeks, 2nd May – 19th June)
VO | User | Team | Alarm | Total
ALICE | 4 | 1 | 0 | 5
ATLAS | 7 | 76 | 0 | 83
CMS | 136 | 0 | 0 | 136
LHCb | 0 | 17 | 0 | 17
Totals | 147 | 94 | 0 | 241
Chart: