## Slide 1: MAMMA achievements in 2010
New results since RD51 Collaboration meeting in Bari
Marcin Byszewski
On behalf of the MAMMA collaboration
Notes: See comments

## Slide 2: Outline
Test Beam Oct/Nov 2010
Large Chamber
2D readout in R16
New resistive chambers R14-R15

## Slide 3: Test Beam – OCT / Nov 2010
- New electronics
- Resistive strips width

## Slide 4: The setups in H6 in Oct-Nov 2010
Two sets of micromegas
with resistive coating
CERN et al.
CEA Saclay

## Slide 5: CEA Saclay (1)

## Slide 6: CEA Saclay (2)

## Slide 7: CEA Saclay (3)

## Slide 8: CEA Saclay(4)

## Slide 9: The setups in H6 in Oct-Nov 2010
CERN et al.
We have simultaneously read up to four chambers.
One APV chip per chamber.
R11 – R13 – ‘old’ small resistive chambers
R14, R15 – new chambers

## Slide 10: Resistive Micromegas
R11-R13
Standard small 100 x 100 mm2 chambers
Readout strips 250 μm pitch
Resistive strips along readout strips.
R14, R15
Small 100 x 100 mm2 chambers
Readout strips 250 μm pitch
Varied width of the resistive strips.
150 (1), 400 (2), 650 (3), 900 (4) μm and
18 mm (72 r/o strips) (presented data)
 | R14 | R15 | remarks
R(GND) (MOhm) | 100 | 300 | 
R(strip) (MOhm/cm) | 10 | 60 | 
Mesh pillar spacing | 2.5mm | 10mm | Mesh oscillation R15 for high HV – spacing too large

## Slide 11: New readout system
Scalable Readout System:
4x APV25 chips (128ch)
4x HDMI cables
1 FEC (max 16 chips)
DAQ - ALICE’s DATE connected by Gigabit Ethernet
We got it few days before the test beam start…
it “just worked” and worked reliably.

## Slide 12: Test beam set up
Hybrid card with an Apv25 chip
FEC
We have simultaneously read up to 4 chambers, one APV chip per chamber
  R11 – R13 – ‘old’ small resistive chambers;
  R14, R15 – new

## Slide 13: Representative raw data
  Since test beam, we are very happy users of the SRS :
  - simple and reliable system
  - clean data with only two steps: pedestal subtraction, zero suppression
Strip number (pitch 250um)
Time bin (25ns)
Strip charge (ADC counts)
Example:R12,
2 tracks
1mm

## Slide 14: Strip Charge, Time
Strip number (pitch 250um)
Time bin (25ns)
Strip charge (ADC counts)
3D -> 2D
R11, run 6230 event 1
A simpler example

## Slide 15: Strip Charge
Strip number (pitch 250um)
Time bin (25ns)
Strip charge (ADC counts)
3D -> 2D
Max Q
(strip)
R11, run 6230 event 1
Strip number
Qmax
Strip charge - maximum value of Q for all time bins

## Slide 16: Time information
Strip number (pitch 250um)
Time bin (25ns)
Strip charge (ADC counts)
R11, run 6230 event 1
Strip number
Strip number
Qmax
Time bin
Time of max Q (strip)
Strip charge - maximum value of Q for all time bins
Time - time bin of maximum value of Q (strip)
Max Q
(strip)

## Slide 17: Test Beam Data - 0deg
4 chambers in a row
Track at 0deg incidence angle
R11
R12
R13
R15
Max Q
(strip)
Time of max Q (strip)

## Slide 18: Test Beam Data - 0deg
4 chambers in a row
Track at 0deg incidence angle
R11
R12
R13
R15
Max Q
(strip)
Time of max Q (strip)
R15 vs R13
Wider resistive strips

## Slide 19: R15 - resistive strips
Charge spreads across ≈15 r/o strips due to the charge dispersion in resistive strips.
To neighbouring r/o strips charge comes
much later (>100ns)
Region 1:
1 resistive strip covers 72 r/o strips

## Slide 20: Test Beam Data - 10deg
Track at 10deg incidence angle
R11
R12
R13
R14
maxQ(strip)
Time(strip)

## Slide 21: Test Beam Data - 40deg
Track at 40deg incidence angle
R11
R12
Q(strip)
Time(strip)
Remark: strip numbering is local for each APV

## Slide 22: CSC-size chamber
Non-resistive prototype
See Monday talk by Joerg Wotschack

## Slide 23: Large Chamber - design
Chamber with same dimensions as large CSC, but only one half is equipped with MM (owing to present limit of machines in CERN PCB workshop)
  First half-chamber is non-resistive (test of procedure)

## Slide 24: R16
Micromegas with 2D readout

## Slide 25: R16 - 2D readout
Design of a standard resistive MM.
Modified by an additional layer of readout
strips perpendicular to resistive strips.
Y
X
Resistive strips
X strips:
250 µm pitch
150 µm width
Y strips
250 µm pitch
80 µm width
Resistivity values
RG ≈ 55 MΩ
Rstrip ≈ 35 MΩ/cm

## Slide 26: R16 – 2D readout (10x10cm2)
Y readout
X readout
HV

## Slide 27: R16 Event Display (55Fe γ)
Effect as in R15 (and R14):
The charge spreads to the neighbouring r/o strips that are covered by the same wide resistive strip
R16: The charge spreads along resistive strips to the neighbouring Y r/o strips
X
along resistive strips
Y
across resistive strips

## Slide 28: Other activities
Software for:
- Data acquisition (afternoon talk)
- Data analysis

## Slide 29: Summary
Test beam data with SRS Electronics
Reliable system
Clean data
Large Chamber
Non-resistive prototype
2D readout in R16
We can read two coordinates in the same plane
Charge dispersion along resistive strips
Other activities
Software DAQ and Analysis
R14-R15
Wide resistive strips allow charge dispersion
Mesh pillars spacing of 1cm too big
Resistive prototype is being made