## Slide 1: Service Level Agreements
Emmanuel Tsesmelis
RRB Scrutiny Group Meeting
16-17 May 2011

## Slide 2: Introduction
Meeting held on 5 May 2011 between representatives of LHC experiments and EN Department to review Service Level Agreements (SLAs).
  EN Department – S. Prodon
  ALICE – C. Decosse
  ATLAS – M. Nordberg
  CMS – A. Charkiewicz
  LHCb – C. D’Ambrosio, R. Lindner
  TOTEM – S. Giani
  RRB SG – G. Mallot, S. Schmeling, E. Tsesmelis

## Slide 3: Introduction
Additional SLAs with the experiments may be consulted at the Workspace for the RRB SG.
  https://espace.cern.ch/lhcrrb-sg/2009/default.aspx
Such meetings are occasions in preparation meetings of the RRB SG and/or when existing SLAs are coming to an end or are in need of review.

## Slide 4: M&O A - Power Distribution & Cooling/Ventilation
Current agreement (EDMS 658953 of October 2005) covered period 2005-2010.
  Review of cost estimates is required to cover future years of LHC operation.
EN Department has completed relevant input data on which the new M&O cost estimates have been based and which will be validated by the experiments.
  Data includes list of equipment serving the experiments and the M&O cost per equipment.
  To be circulated via EDMS for final approval by end June.
Experiment TCs and RCs will be requested to sign-off on resulting new agreement.

## Slide 5: M&O A – Detector Cooling
Common SLA exists for detector cooling covering all LHC experiments.
This document needs to be extended in validity as the current version expired end 2010.
Costs for provision of dry air and the inertion system not yet documented in an agreement.
  ALICE & CMS request preparation of such an agreement.
    These are the LHC experiments that currently use such services.

## Slide 6: M&O - Miscellaneous
Heavy-handling
  Agreements are in place between the EN/HE Group & the LHC experiments and no further action is needed at this stage.
Magnet Power Supplies
  Agreements are in place between the TE/PO and the TE/EPC Groups & the LHC experiments and no further action is needed at this stage.
Experimental Area
  Agreements are in place between the EN/MEF Group & the LHC experiments and no further action is needed at this stage.
Gas System
  Common agreement exists for all LHC experiments.
  Extension in validity needed as it expired end 2010.

## Slide 7: Host Lab Support
Underlying document describing support provided by CERN as host lab to the experiments is:
  General Conditions Applicable to Experiments at CERN.
  Changes with respect to this document should be flagged to the RRB SG.

## Slide 8: Host Lab Support
Video Conference
  Roll-out of new video conferencing system VIDYO (replacing EVO) is advancing.
    Tests by experiments are still in progress.
      Response from experiments on whether VIDYO meets their specifications is awaited imminently.
    Transition to VIDYO has not been implemented as originally scheduled for 2011.
      Roll-out schedule will affect the M&O costs.
      EVO support requested until at least end 2011 as it is still used.
      M&O Budgets for EVO had been reduced by 50% (2011) and in full as of 2012 in anticipation of transition to VIDYO.
      Expected that VIDYO will be funded exclusively by CERN.

## Slide 9: Host Lab Support
IT ORACLE Database
  Agreement detailing costs for provision of IT ORACLE Database has been completed and it includes the relevant estimated costs.