## Slide 1: UR15/55 integration FOLLOW UP
WP15 MEETING 25/05/2022
S. Maridor, J. Oliveira, P. Pinheiro
on behalf of HL-LHC WP15.1 – Integration

## Slide 2
position 3 racks cryo/ IP side modified (WP9)
Add 1 rack PIC / IP side (+new arrangement) (WP7)
updated dimension of 600A Power Converter (WP6B)
UR15/55 INTEGRATION WHAT’S NEWS ?

## Slide 3
≈ 65 m
3 racks
3 racks
≈ 45 m
Point 1 :
UR15_1102_INTEGRATION : ST1120748_01 a.06 25/05/2022(in work)
Point 5 :
UR55_1503_INTEGRATION : ST1120275_01 a.03 25/05/2022(in work)
UR15/55:
Add 1 rack PIC
Position 3 rack cryo
NEWS :
+ 1 rack PIC

## Slide 4
3 racks cryo

## Slide 5
ULx7

## Slide 6
+ 1 rack PIC
+ NEW LAYOUT
US
ULx7

## Slide 7
US
( picture turnned 180 ⁰ )
Extracted from installation drawing
ULx7

## Slide 8
+ 1 rack PIC
+ NEW LAYOUT
US
ULx3
ULx7

## Slide 9
US
( picture turnned 180 ⁰ )
Extracted from installation drawing
ULx3

## Slide 10
ULx3

## Slide 11
ULx3

## Slide 12
3 racks cryo
UA13
UR15

## Slide 13
3 racks cryo
UA53
UR55

## Slide 14
+250
ST1295104_01 a.00:
Convertisseur 600A 10V LHC version 2020
+5 U (44.45*5=222.25)
Soit ≈ + 250 mm
MODIF.
position 3 racks cryo/ IP side
Add 1 rack PIC / IP side (+new arrangement)
updated dimension of 600A Power Converter

## Slide 15
Modification cables tray and cables routing :
No impact

## Slide 16
Modification cables tray and cables routing :
No impact

## Slide 17
EXTRA SLIDES :
Section type UR15

## Slide 18
2 QXL

## Slide 19
1 QXL

## Slide 20
UR15

## Slide 21
UR15

## Slide 22
RACK CLIQ
UR15

## Slide 23
RACK DYPG
UR15

## Slide 24
UR15
UL17