## Slide 1: Doped Glass Small RPC study

## Slide 2: Analysis Method
Clustering (for each hit pad find hits up to 2 cm away and add them to the cluster)
Alignment pass :
  fix one chamber
  offset the others by the difference of average x&y of clusters belonging to “Events”
  (Event=synchronized set of frames with hits in at least 3 chambers)
Tracking (see next page)

## Slide 3: Tracking & Efficiency
For each pair of clusters in 2 chambers (but the one analyzed)
  Validate if a cluster<2 cm from prediction in a 3rd chamber
  Work out new track parameters with 3 chambers
  When 5 chambers: check last cross-check chamber and work out new parameters if possible
  Check if cluster is present < 2cm from prediction in studied chamber

## Slide 4: Thick Doped Glass PCB D
Efficiency vs threshold
Multiplicity vs threshold
200 fC
140 fC
100 fC
Triggered event only

## Slide 5: Graphite Float Glass PCB A
Efficiency vs threshold
Multiplicity vs threshold
Triggered event only

## Slide 6: Thick Doped Glass Chamber
Efficiency vs HV
Multiplicity vs HV
Triggered event only

## Slide 7: Rate calculation
Rate/pad : rate from #frames/time in pads with predictions.

## Slide 8: Thick Doped Glass Chamber
100
1000
10000
Triggered event only
Int_t run[]={1148,1189,1144,1142,1192,1194};

## Slide 9: Thick Doped Glass Chamber
Triggered event only
Int_t run[]={1145,1147,1196,1195,1191,1190};

## Slide 10: Float Glass - Graphite
Triggered event only

## Slide 11: Noise Calculation
RAW Hits
synchronized
Track predictions
Track predictions
#frames/time
#frames/time no beam/no fishing line

## Slide 12: Noise Doped Glass
Int_t runs[]={1110,1112,1115,1117,1118,1119,1120,1121,1122,1123,1124};