## Slide 1: Containerized EPICS-based Detector Control System for the mini-Compressed Baryonic Matter (mCBM) experiment
Marcel Bajdel1,2, Florian Feldbauer3, Peter Zumbruch1
1 GSI Helmholtz Centre for Heavy Ion Research, Darmstadt, Germany, 2 Goethe-Universität Frankfurt am Main
3 Ruhr-Universität Bochum

## Slide 2
mSTS as the DCS pathfinder for the STS
The Compressed Baryonic Matter (CBM) Experiment
Silicon Tracking System (STS) – 876 modules
(up to 500 000 PVs)

## Slide 3
mini – STS - 11 modules
mSTS as the DCS pathfinder for the STS
mini – CBM Experiment
About 5000 PVs

## Slide 4
Objectives
Requirements:
Easy and fast to implement and maintain
cross-platform compatible (mostly Unix based machines)
easily scalable EPICS related applications stack
RH + T Fiber Optic Sensors testing (100 PVs)
Readout and Thermal cycling of the Front-End Boards and detector modules (up to 1000PVs)
The mSTS (up to 5000 PVs)
Many small setups/medium setups

## Slide 5
Architecture
Custom st.cmd
Protocol file (if needed)
Database
Other…
Hardware and bus specific changes:
mSTS architecture

## Slide 6
Detector Control System
Alarm Server
Alarm Logger
Phoebus
Sequencer
IOCs
Zookeeper
Archiver
Kafka
Kibana
Jupyter
Redis DB
Elasticsearch
Compose your services
Quick and easy configuration – proper yml file configuration to connect containers
Single host deployment
High productivity
User-defined volumes to store data and ensure persistency
Restart mechanisms
Software interlock to prohibit operation if the ambient temperature is too close to the dew point

## Slide 7
Monitoring and outlook
Containers monitoring:
Weavescope - Access, Control, Metrics, Metadata, Automatic topologies and intelligent grouping
IOC monitoring:
Pimo IOC (ping monitor) - scripts for regular checking via ping the network status of DCS related network devices
IOC heartbeat
Outlook:
Full orchestration for the entire CBM experiment