Tail Correction and Decay-In-Flight
Tristan Sullivan
Rare Pion Decay Workshop
Oct. 6/22

---
Tail Correction Significance
TRIUMF PIENU experiment, from 1994
TRIUMF PIENU experiment, from 2015

---
Experimental Method
π+
π+
τπ = 26 ns
τμ = 2197 ns
μ+
π+ ―> μ+ ―> e+
NPIMU / (τμ – τπ) x (e- t / τμ - e- t / τπ)
e+
e+
Target
Target
e+
Ee = 0.5-52.8 MeV
Ee = 69.8 MeV
Calorimeter
Decay Positron Time (MC)
)
π+ ―> e+ :
(NPIE / τπ) e- t / τπ
Decay Positron Energy (MC)
π+ ―> μ+ ―> e+ :
NPIMU / (τμ – τπ) x (e- t / τμ - e- t / τπ)
τμ = 2197 ns
τπ = 26 ns

---
Detector
Detector:
Acceptance ~ 20%
Energy Resolution 2.2% (FWHM) at 70 MeV
19 radiation lengths of NaI, 9 of CsI
Pion and positron times obtained from fitting B1 and T1 waveforms, respectively
Wire chambers & silicon strips for π+ beam and decay e+ tracking
WC: Wire Chamber
SS: Silicon Strip
B1, B2, Tg, T1, T2: Plastic Scintillator

---
Raw Branching Ratio Extraction
Red line indicates cutoff between high-energy and low-energy spectra (52 MeV)
π → e events with energy below cutoff end up in low-energy time spectrum
Too small to fit; must be corrected for
This is the so-called tail correction
Data from November 2010
4.0 x 105 clean π ―> e ν events
Fitting time spectra simultaneously gives raw branching ratio:
Rraw = [1.1972 ± 0.0022 (stat) ± 0.0005 (syst)] · 10-4

---
Positron Beam Data
70 MeV/c positron beam
Many detector elements removed: B1, B2, Tg, T1, S1, S2, S3
Data taken at ten angles
Tail fraction increases significantly as a function of angle
Requires clean positron beam: PIENU beam had ~1% momentum spread, low-energy tail intrinsic to beam <= 0.01%

---
Positron Beam Energy Spectra
Low-energy
Low-energy
High-energy
High-energy
3.23% ± 0.07% of the spectrum below cutoff
Extra peaks still present, but invisible underneath tail due to shower leakage
0.55% ± 0.01% of the spectrum below cutoff
Extra peaks at 50 MeV and 58 MeV due to photonuclear reactions in 127I

---
Tail fraction as a function of angle
Simulated π → e
Errors on the right are MC statistics, errors on the left are stat + syst (mostly syst)
Plateau at small angles for π → e events is due to Bhabha scattering upstream of calorimeter: positron scatters out of acceptance and low-energy electron triggers
Leading systematic errors on π → e tail are energy calibration, geometry, photonuclear cross-section
e+
Tg
Calorimeter
e+
π
e-

---
Considerations for PIONEER
Positron beam measurement impossible for nominal geometry
For Pacman geometry, can inject beam into the forward part of the detector
Design will be as spherically symmetric as possible, so will provide decent information on calorimeter response
Will not be perfectly symmetrical in reality, so will need to supplement with other measurements, e.g. Michel decays
Would need to know beam properties and photonuclear cross-section very well
Isolation Vacuum
Beam
LXe cold mass
Sensitive volume

---
Bhabha Scattering in PIONEER
e+
e+
ATAR
ATAR
μ
e+
π
μ
e+
π
e-
OR
Impact of Bhabha scattering on the tail correction will be reduced in PIONEER due to higher acceptance; still not zero
Potential to confuse Bhabha events with π →μ → e plus old muon decay events needs to be carefully studied
In principle, the ATAR gives us many handles on distinguishing these topologies. Crucially dependent on performance of real sensor.

---
In Situ Tail Measurement
- Timing cut: keep only early events
- Total energy cut: keep only events with π → e like energy deposit in the target and upstream counters
- Kink cut: remove events with angle between S12 track and WC12 track, for removing pion decay-in-flight events
- A couple of others that helped slightly

---
In Situ Tail Measurement
In tail region, still many more π →μ → e events than π →e events
This limited the accuracy of the technique
Main problem was decay-in-flight (DIF)

---
Decay in Flight
Simulated distributions, normalized to same height
Red lines show selected region
Largest background contribution is πDIF-μDAR
Tail of π →e distribution contains Bhabha scattering events; these must be corrected for

---
Considerations for PIONEER
- Again, ATAR should give extra handles for
  π →μ → e suppression
- πDIF events can potentially be identified based on angle, layer-by-layer energy deposit
- But again, need to know real ATAR performance in order to do good simulations
- All in all, a more promising technique for PIONEER than the positron beam measurement: see Vincent’s talk tomorrow

---
Muon DIF
Muons from πDAR have about 4 MeV of kinetic energy, and stop in < 20 ps in plastic scintillator
Nevertheless, a correction must be made for μDIF: these events have π →e timing, and some have energy above the cutoff
For PIENU, the size of the correction was about 0.25%