## Slide 1: Software for HL-LHC monitoring system
Vivien RUDE
2022-06-15
On behalf :
Mateusz SOSIN
Andreas HERTY

## Slide 2: 3 projects
2023
2024
2025
2026
Single component
String test
LS3
2027
2028
2029
RUN 4
HL-LHC
June
2022

## Slide 3: Single component
Quadrupole or TAP
WPS
WPS
WPS
WPS
WPS
WPS
WPS
WPS
HLS
HLS
HLS
HLS
HLS
HLS
HLS
HLS
FSI
long
FSI
Roll
FSI
Roll
FSI
long
FSI
vert
FSI
vert
FSI
vert
5 motor assemblies (3 vertical and 2 radial) + Associated Load cell (3FSI channels)
2023
2024
2025
2026
Single component
String test
LS3
2027
2028
2029
RUN 4
HL-LHC
June
2022
Wire 1
Wire 2

## Slide 4: String test
2023
2024
2025
2026
Single component
String test
LS3
2027
2028
2029
RUN 4
HL-LHC
June
2022
D1
CP
Q3
Q2b
Q2a
Q1

## Slide 5: HL-LHC
Q5
Q4
CC2
CC1
D2
TCLX
TCTPH
TCTPV
TAXN
D1
CP
Q3
Q2b
Q2a
Q1
EXP.
UPS gallery
P1
P2
P3
P4
P5
P6
Q1
Q2a
Q2b
Q3
CP
D1
TAXN
TCTPV
TVTPH
TCLX
D2
CC1
CC2
Q4
Q5
Alignment between Q1 and Q5 :
TDR limits :  (1 sigma) < 0.1 mm
Alignment between Q5-left and Q5-right :
TDR limits :  (1 sigma) < 0.15 mm
2023
2024
2025
2026
Single component
String test
LS3
2027
2028
2029
RUN 4
HL-LHC
June
2022

## Slide 6
INPUT
OUTPUT
Software
Frequency : 1 Hz
For Monitoring system
with more than 500 sensors
Compatible with FESA or Scada
Compatible with WinCCOA
C++
Universal software
Norm L2
Option : Detection of mistake : Norm L1
Option : Kinematic predictive model

## Slide 7
Rccs
Rlocal
X
Y
Geode
Sensors
INPUT

## Slide 10
Q3L
Q2L
Q1L
Q1R
Q2R
Q3R
Q3L
Q2L
Q1L
Q1R
Q2R
Q3R
Frequency: 1 s

## Slide 11
Thank you
for your attention

## Slide 12
SPARE

## Slide 13: Single component
The following component groups are identified
  Geodetic infrastructure
    location integration, sensor supports, external supports, main hydraulic network
  Sensor systems
    HLS (hydrostatic levelling system)
    WPS (wire positioning system)
    LON (longitudinal monitoring)
    INC (inclination sensor)
    INT (internal monitoring)
    FSI (frequency scanning interferometry) laser system
The following component groups are identified
  Adjustment systems
  jacks and motorized adaptors, load cells
  Software
  FESA (CEM-ICS), WinCC OA (ICS), algorithm (GM)
  Environmental measurements
  SamBuCa, temperature, humidity, pressure probes
  Hardware (of all kinds)
FROM Andreas Herty
(CEM-GM-ICS FRAS meeting)
03.02.2022

## Slide 14
Experiment
P1
P2
P3
P4
P5
P6
Q1L
Q2aL
Q2bL
Q3L
CPL
D1L
TAXNL
TCTPVL
TCTPHL
TCLXL
D2L
CRAB1L
CRAB2L
Q4L
Q5L
Q1R
Q2aR
Q2bR
Q3R
CPR
D1R
TAXNR
TCTPVR
TCTPHR
TCLXR
D2R
CRAB1R
CRAB2R
Q4R
Q5R
Wire 1 Left
Wire UPS
Wire 1 Right
TCLMBL
TCLMCL
TCLMCR
TCLMBR
0
20
40
60
80
100
120
140
160
180
200
220
-220
-200
180
-160
-140
-120
-100
-80
-60
-40
-20
HLS networks
HLS networks
Wire Q1-D1
Wire Q1-D1
6 boreholes
HL-LHC : Detail Configuration
2 wires  WPS sensor
Water networks  HLS sensors
Wire to wire  FSI sensors
Internal monitoring  FSI sensors
Longitudinal monitoring  FSI sensors
1 wire  WPS sensor
Water networks  HLS sensors
Longitudinal monitoring  FSI sensors
Roll  Inclinometer
1 wire  WPS sensor
Longitudinal monitoring  FSI sensors
Roll  Inclinometer
1 wires  WPS sensor
Water networks  HLS sensors
Wire to wire  FSI sensors
Water networks  HLS sensors

## Slide 15: FRAS - ongoing study
FRAS software functional specification (EDMS 2589302)
FRAS safety assesment & proposed compensatory measures (EDMS 2592013)
FRAS funtional specification (EDMS 2166298)
FRAS Stakeholder meeting(s)
Defines main FRAS functionalities and reviews the impact of FRAS on components
Describes the scope of FRAS control system and defines its software functionalities
Study of FRAS failure modes
Proposition of FRAS control system safety measures
Presented on #8-2022 RASWG, to get initial comments
Gather feedback & comments from FRAS Stakeholders on the proposed safety measures
MPP reccomendations / approval
Towards FRAS engineering specification

## Slide 16: FRAS Software Functional Specification

## Slide 17: Full Remote Alignment System controls as colaborative project of BE-GM/CEM/ICS
FRAS Hardware (BE-GM):
Motor assemblies;
Capacitive sensors: WPS
FSI based sensors: HLS, Inclinometers, longitudinal distance, internal monitoring, load cells
FSI patch panels
Environmental sensors: PT100, Humidity, Pressure
FRAS Motion Control hardware (BE-CEM):
SAMbuCa control electronics
Motor drivers
FRAS Sensor electronics hardware (BE-GM):
WPS reading electronics (inside a rad-tol DI-OT crate)
Optical systems
Components:
Sensor systems
Motion control systems
Cables / optical fibers
Racks equipment
FRAS Hardware (BE-CEM):
Motor patch panels
Connection cables between motors & patch panel
FRAS Hardware (BE-GM):
Cables for WPS sensors
Optical fibers for FSI based sensors
Cables for humidity, pressure sensors
FRAS Hardware (BE-CEM):
Cables for motors
Cables for PT100
FRAS acquisition hardware (BE-CEM):
FSI reading electronics (SAMBuCa/DI-OT)

## Slide 18
FRAS - aligned components
Motors
cabling
Control
Electronics
Sambuca
Motor drivers
Motors
DI/OT capacitive electronics
Capacitive sensors
cabling
DI/OT FSI electronics
+ optics
FSI fibres
Sensors (cap/FSI)
FEC (PXIe)
FEC
FEC (PXIe)
WordFIP
WIN CC OA server
(SCADA)
Operators/CCC
FRAS Hardware (BE-GM):
Jacks, actuators (motion control);
Capacitive sensors (WPS network)
Optical FSI sensors (HLS, Inclinometers, distance), fibres
Environmantal sensors: PT100, Humidity, Pressure
FRAS Motion Control hardware (BE-CEM):
SAMbuCa control electronics
Motor drivers
Motor cables, patchpanels
Delivery and reception of MACCON motors
PT100 cables
FRAS Sensor electronics hardware (GM-HPA, BE-CEM):
Rad-tol DI-OT
FSI reading electronics (SAMBuCa/DI-OT)+ gateware
WPS reading electronics
Optical delivery
Optical fibres
Capacitive sensors & cables
Ethernet / TN
FRAS Control Software
SCADA – UNICOS based (BE-ICS, BE-GM):
GUI, objects faceplates
Data logging
Sensors/FRAS disgnostics
Hi-level SU data analysis (Expert system)
Hi-Level Front-End Software (BE-ICS,BE-GM):
Abstraction of Q1-Q5 string, magnets, jacks, sensors, etc ...
3D motion control
Interlocks, RT-disgnostics
Low-Level Front-End Software (BE-CEM): drivers, single motor motion control algorithm
FRAS SYSTEM: Equipment/Software layers
FRAS Collaboration - controls HW/SW layout and responsibilities

## Slide 19
FRAS Software data flow
FSI-ch[1]
FSI-ch[2]
FSI-ch[n]
...
FSI-HW-CTRL
WPS-ch[1]
WPS-ch[2]
WPS-ch[n]
...
WPS –HW-CTRL
Inclino
HLS
Humi-Bragg
Load-Bragg
Inclino
Inclino
HLS
HLS
Humi-Bragg
Humi-Bragg
Load-Bragg
Load-Bragg
WPS
WPS
WPS
Temp
Temp
Temp
Pressure
Pressure
Pressure
Dist
Dist
Dist
MOT-ch[1]
MOT-ch[2]
MOT-ch[n]
...
PT100[1]
PT100/DI/AI/DO[n]
SAMbuCa – motors control + temp. meas.
WPS sensor meas.
FSI channel meas.
Least square position computation
Adjusted object
Least square position computation
Adjusted object
Position computation
Motor commands
Aligned object
Internal monitoring
Internal monitoring
Internal monitoring
Q1-Q5
Internal monitoring
Internal monitoring
Internal monitoring
IT
CRABs
Sensors meas Errors
Sensors meas Errors
Raw meas, Parametrization diagnostics, Errors
Raw meas, Parametrization diagnostics, Errors
Raw meas Errors
INTERLOCK
LOGIC
Motors status,
Errors, HW interlock info
Software interlocks, motor commands
Hi-level Front-End Software
Low-level F-E S
SCADA (WIN CC OA)
Obj
Obj
Obj
Obj
Obj
Obj
FRAS objects HMI, alarms
CMW communication
GEODE, MTF, LOGGING
Data logging, Parametrization,
Calibration coef.
SURVEY EXPERT
SYSTEM
Long term data analysis
Anomalies detection
Sensors validation
...
Diagnostic devices
Diagnostic devices
Diagnostic devices
Internal monitoring
Sensors
Aligned objects