## Slide 1: ALICE ITS2 ALPIDE Characterization Updates
August Muller
CERN Summer Student Programme 2022

## Slide 2: Recap
“What is this project about?”
Testing ALPIDE sensor response to highly ionizing particles
New! Effect of localized radiation damage on ALPIDE chips
New!

## Slide 3: Cluster Sizes

## Slide 4: At the Proton Synchrotron: TB10
250 & 500 MeV runs
Notes: ALPIDEs previously tested with MIPs (minimum ionizing particles)
Stronger signals encountered once in use; identified a need to understand ALPIDE response to non-MIPs

## Slide 5: First Results: Low Momentum Clusters
250 MeV
500 MeV

## Slide 6: First Results: Low Momentum Clusters
250 MeV
500 MeV

## Slide 7: Radiation Damage

## Slide 8: Testing ALPIDEs…

## Slide 9: The “Old Telescope”
Received from MAMI (Mainz Microtron) test beam: very small beam profile & high energies

## Slide 10: What it should look like… …vs. what it does

## Slide 11: Next Steps
Clustering
PS test beam track reconstruction
Compare 250–500 MeV and MIP data
Damage Analysis
Where is the damage – in each pixel or associated electronics?

## Slide 12: Questions?
Thank you!