## Slide 1: CW 29 – Experimental set-up: Edmundoptic lenses

## Slide 2: Absorption curve of a black PE

## Slide 3: ASB-IR-18K
https://en.oceanhoodtw.com/products_detail/595.htm

## Slide 4: LAT150
https://www.thorlabs.com/thorproduct.cfm?partnumber=LAT150
https://www.thorlabs.com/newgrouppage9.cfm?objectgroup_id=1627

## Slide 5: Magnification - telescope
Edmund optics
Menlo Systems FL 200mm

## Slide 6: THz Lense Menlo System FL 200mm

## Slide 7: Edmund Optics Aspheric Lenses
Dia.25 EFL 17.50 Uncoated; Stock Number #66-006 Quantity: 1
Dia.25 EFL 20.00 Uncoated; Stock Number #66-007 Quantity: 1
Dia.25 EFL 30.00 Uncoated; Stock Number #66-009 Quantity: 1
Dia.25 EFL 40.00 Uncoated; Stock Number #66-010 Quantity: 1
Dia.25 EFL 50.00 Uncoated; Stock Number #66-011 Quantity: 1

## Slide 8
Set Up | Distance | Power
Background noises with PE – Black Body Lamp off | - | 179µW
Black Body Lamp without PE | 23cm | 29.34mW
Black Body Lamp with PE | 23cm | 1.080mW
TPX Lense (focal length unknown) | TPX Lense: 7cm Black Body Lamp: 23cm | 291.0µW
Edmundoptics FL 50mm without PE | FL 50mm: 6cm Black Body Lamp: 23cm | 48.30mW
Edmundoptics FL 50mm with PE | FL 50mm: 6cm Black Body Lamp: 23cm | 607.0µW
Magnification without PE | FL 20mm: 6.5cm FL 50mm: 13cm Black Body Lamp: 23cm | 6.370mW
Magnification with PE | FL 20mm: 6.5cm FL 50mm: 13cm Black Body Lamp: 23cm | 359.0µW

## Slide 9: Approximation

## Slide 10: Efficiency
The power output (without PE) is 29.34mW
The output source power is calculated
Efficiency =

## Slide 11: Maximum Output power through focusing
40mm radius for light spot, 4 mm sensor radius: 100x smaller spotsize
PE filter: 100x1.08mW=0.1W assuming all light is focused
PE filter+THz lens: 100x0.13mW=13mW assuming all light is focused
8cm0.5cm

## Slide 12: Experimental set-up

## Slide 13: Background noises (with lights off)
With black PE

## Slide 14: Without black PE at a distance of 23cm

## Slide 15: With a single black PE at a distance of 23cm

## Slide 16: THz Lense with Thorlabs holder

## Slide 17: Edmundoptics FL 50mm without black PE

## Slide 18: Edmundoptics FL 50mm with black PE

## Slide 19: Magnification without black PE

## Slide 20: Magnification with black PE

## Slide 21: Questions
What is the THz transmission for edmund optics lenses? (page 4)
Why do we lose so much power during maginification with the PE foil? (page 5)