## Slide 1: Linac4 report Week 45
José-Luis Sanchez Alvarez for the L4 team
next week LINAC 4 supervisor: Evangelia Gousiou

## Slide 2
Cardiogram
Availabitily : 99.5 %
The proton beam from Linac4 will be stopped this afternoon at 14:00
to exchange the oil in the HT tank of the RFQ klystron.
to exchange the control rack and the cable (subd15) of the power converter L4L.RCH.111.
Power converter L4L.RCH.111 tripped 8 times
(downtime 31 min)
RFQ tripped 3 times
(downtime 17 min)
One Bad pulse of CCDTL3
(downtime 1 min)