## Slide 1: Integration update tunnel and arcs, caverns, service caverns, etc
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 2
F. Valchkova-Georgieva
  FCC-ee Underground Structure Overview
  Integration of FCC-ee Arc Cell
  FCC-ee Underground Structure point A and G
  Integration of FCC-ee Beamstrahlung dump
  Integration of FCC-ee Alcove and transport area
  Integration of FCC-hh Arc Cell
  Integration of FCC-hh Transfer line
06.06.2023 / FCC Week

## Slide 3
Only schematic, and not to scale.
Courtesy A. Navascues Cornago
  FCC-ee Underground Structure Overview
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 4
F. Valchkova-Georgieva
  Integration of FCC-ee Arc Cell
06.12.2022

## Slide 5
  Integration of FCC-ee machine elements (regular arc)
Main cross section as for FCC-hh
Main ring below of booster ring
Main ring and booster ring 1.3 m distant
Collider Center
Machine tunnel 5.5m in diameter
F. Valchkova-Georgieva
Smoke/He extraction
Cable trays:
Fibre optic
LV distribution
Control cables
Demineralized water
Leaky feed
Warm He recovery
Demineralized water felling
Drain
Fresh air duct
Fresh air diffused
Alignment space occupation
Compressed air
Firefighting/Row water
Chilled water
Cable tray:
MV distribution
Electrical HV
power transmission
Collider ring
Booster ring
He
06.06.2023 / FCC Week

## Slide 6
  Integration of FCC-ee machine elements (regular arc)
Collider Center
Machine tunnel 5.5m in diameter
F. Valchkova-Georgieva
Perspective view
06.06.2023 / FCC Week

## Slide 7
  Integration of FCC-ee machine elements (regular arc)
F. Valchkova-Georgieva
Front view
Dipole magnet
Dipole magnet
Sextuple magnet
Quadrupole magnet
Dipole magnet
Sextuple magnet
Quadrupole magnet
Dipole magnet
Booster ring
Main ring
06.06.2023 / FCC Week

## Slide 8
  FCC-ee Underground Structure point A and G
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 9
  FCC Experiment Underground Structure
35000
35000
12000
Experimental Shaft ø18m
Elliptical Service Shaft
18x12
Service Cavern
Extension
FCC-ee Detector
Booster ring
8000
1030
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 10
  FCC Experiment Underground Structure
FCC-hh Detector
Elevators and Stairs
Safety Area
Connection tunnel , two levels
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 11
  FCC Experiment Underground Structure
F. Valchkova-Georgieva
06.06.2023 / FCC Week
FCC-hh Detector
FCC-ee Detector

## Slide 12
  FCC Experiment Underground Structure
Experimental Shaft ø18m
Elliptical Service Shaft
Connection tunnel ø 5.5m
Connection tunnel ø 5.5m
Machine tunnel
Survey Galleries
Service Cavern
Experiment Cavern
Evacuation
connection tunnel
Connection tunnel ø 10m
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 13
  FCC Experiment Underground Structure
Experimental Shaft ø18m
5900
17000
Open Space for transport of detector parts
Elevators and Stairs
8600
4500
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 14
  Integration of FCC-ee Beamstrahlung dump
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 15
  FCC-ee main and booster rings Layout
Courtesy K. Oide/ A. Chance
The separation of 3 rings is about 12.7m
Wide tunnel in necessery around the IP for 0.8 km
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 16
  FCC-ee beamstrahlung dump integration at point A
IP
100m
200m
300m
400m
500m
E- ring
E+ ring
Booster ring
Beamstrahlung Dump
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 17
IP
100m
200m
300m
400m
500m
  FCC-ee beamstrahlung dump integration at point A
15.3m
5.5m
1560m
225mm
2870mm
7500mm
E+ ring
E- ring
Beamstrahlung
Booster ring
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 18
  FCC-ee beamstrahlung dump integration at point A
IP
100m
200m
300m
400m
500m
15.3m
5.5m
810mm
5220mm
6000mm
E+ ring
E- ring
Booster ring
F. Valchkova-Georgieva
1560mm
Beamstrahlung
06.06.2023 / FCC Week

## Slide 19
  FCC-ee beamstrahlung dump integration at point A
IP
100m
200m
300m
400m
500m
Booster ring
6.5m
2030mm
6890mm
4500mm
17.8m
F. Valchkova-Georgieva
1560mm
Beamstrahlung
E+ ring
E- ring
06.06.2023 / FCC Week

## Slide 20
  FCC-ee beamstrahlung dump integration at point A
IP
100m
200m
300m
400m
500m
Booster ring
6.5m
3510mm
8290mm
4480mm
17.8m
F. Valchkova-Georgieva
1560mm
Beamstrahlung
E+ ring
E- ring
06.06.2023 / FCC Week

## Slide 21
  FCC-ee beamstrahlung dump integration at point A
IP
100m
200m
300m
400m
500m
E+ ring
E- ring
Beamstrahlung
Booster ring
6.5m
3880mm
9300mm
1500mm
17.8m
F. Valchkova-Georgieva
1560m
06.06.2023 / FCC Week

## Slide 22
  Integration of FCC alcove and transport Layby
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 23
  FCC Alcove and transport Layby integration
F. Valchkova-Georgieva
Schematic of the principle of cabling from the alcoves
Courtesy Jean-Paul Burnet
06.06.2023 / FCC Week

## Slide 24
  FCC Alcove and transport Layby integration
F. Valchkova-Georgieva
  Requirements:
Big layby zone
Small layby zone
  Transport:
  Electrical equipment:
06.06.2023 / FCC Week

## Slide 25
  FCC Alcove and transport Layby integration
F. Valchkova-Georgieva
Isometric view of FCC alcove in the arc
Indicate the position of different electrical equipment in the FCC Alcove in the arc
06.06.2023 / FCC Week

## Slide 26
  FCC Alcove and transport Layby integration
F. Valchkova-Georgieva
Small transport Layby with standard FCC Alcove
Big transport Layby with standard FCC Alcove
06.06.2023 / FCC Week

## Slide 27
  Integration of FCC-hh Arc Cell
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 28
  Integration of FCC-hh machine elements (regular arc)
Main cross section as for FCC-ee
Collider Center
Machine tunnel 5.5m in diameter
F. Valchkova-Georgieva
Smoke/He extraction
Cable trays:
Fibre optic
LV distribution
Control cables
Demineralized water DN250
Leaky feed
Warm He recovery DN250
Demineralized water felling DN65
Drain
Fresh air duct
First aid equipment
Compressed air DN80
Firefighting DN200
Cable tray:
MV distribution
Electrical HV
power transmission
He DN100
Superconducting link DN250
QRL ø 1350
Machine cryostat ø 1200
06.06.2023 / FCC Week

## Slide 29
  Integration of FCC-hh Transfer line
F. Valchkova-Georgieva
06.06.2023 / FCC Week

## Slide 30
  Integration of FCC-hh transfer line
Collider Center
Machine tunnel 5.5m in diameter
F. Valchkova-Georgieva
Machine cryostat ø 1200
Transfer line
Permanent quadrupole magnet
Machine cryostat ø 1200
Transfer line
Normal conducting quadrupole magnet
For further details please refer to Massimo Giovannozzi's presentation "FCC-hh ring: an overview of the new layout" on Thursday at 10:30 am.
06.06.2023 / FCC Week

## Slide 31: Thank you for your attention.
31
F. Valchkova-Georgieva
06.06.2023 / FCC Week