## Slide 1: Run 2c Diagnostics Development
Catherine Swain, Joseph Wolfenden, Carsten Welsch
04/10/2022

## Slide 2
Overview
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
1
Broadband imaging of CxR bunch length monitor
Single-shot emittance diagnostic development
Optical fibre beam loss monitor

## Slide 3
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
2
Broadband imaging of CxR bunch length monitor

## Slide 4
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
3
Types of CxR under investigation
  CTR – Coherent Transition Radiation
  CSR – Coherent Synchrotron Radiation
Experimental work at MAX IV
Machine learning
Simulation work

## Slide 5
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
4
Bunch Image
No. of e-
Bandwidth
Single e- Spectral Image
Bunch Form Factor

## Slide 6
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
5
Pyrocam
HRFZ Si Lens
Pyrocam
[1]
[2]

## Slide 7
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
6
x100,000
Machine Learning simulations
Generated 100,000 double Gaussians with varying amplitudes, offsets, and widths
Simulated CTR image for each
Verified physics by fixing certain parameters and checking model outputs, ensuring phase couldn’t be predicted

## Slide 8
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
7
x100,000
6.7% RMSE
6.2% RMSE
17.2% RMSE
1.0% RMSE

## Slide 9
Broadband imaging of CxR bunch length monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
8
Ground Truth
Model Prediction

## Slide 10
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
9
Broadband imaging of CxR bunch length monitor
Pyrocam
HRFZ Si Lens
Pyrocam

## Slide 11
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
10
Single-shot emittance diagnostic development

## Slide 12
Single-shot emittance diagnostic development
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
11
Focusing on OTR – Optical Transition Radiation
  Could also be done with other types of radiation, e.g. OSR
Two methods under investigation:
  MLA – Micro Lens Array
  DMD – Digital Micromirror Device

## Slide 13
Single-shot emittance diagnostic development
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
12
Micro-Lens Array

## Slide 14
Single-shot emittance diagnostic development
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
13
DMD Stage
Angular Image
Beam Image
0
[3, 4]

## Slide 15
Single-shot emittance diagnostic development
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
14

## Slide 16
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
15
Optical fibre beam loss monitor

## Slide 17
Optical fibre beam loss monitor
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
16
oBLM operating principle
Sensor Unit
Particle bunch
Optical-fibre
Beam pipe
Screen
v
Charge shower
Cherenkov radiation
[5, 6, 7]
Improved loss location resolution, <10cm
New PhD student
Simulation studies
RF breakdown detection
Ideas for plasma diagnostic capability

## Slide 18
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
17
Summary

## Slide 19
Summary
C. Swain (catherine.swain@liverpool.ac.uk)
AWAKE collaboration meeting 05/10/2022
18
CxR bunch length monitor
  CTR imaging set up currently in place in MAX IV and operational as a compression monitor
  ML analysis of simulated CTR images model capable of predicting bunch profiles at high level of accuracy (no phase), and will be tested on experimental data in the near future
  SR simulations of CSR version of monitor are underway
Single-shot emittance diagnostic development
  Both MLA and DMD systems currently being tested and benchmarked at CI
  Plans in place to test both systems at SPARCLab and FEBE CLARA
Optical fibre beam loss monitor
  Loss location resolution improved to <10 cm
  New PhD student focused solely on OBLM started this week

## Slide 20: Thank you for your attention! Questions?
References:
[1] S. Thorin et al., Proc. IPAC2017, TUPAB099
[2] B. Kyle et al., Proc. IPAC2019, MOPRB061
[3] G. Le Sage et al., PRAB (1999)
[4] R. Fiorito et al., AIP Conf. Proc. 648, (2002)
[5] M. Kastriotou et al., Proc. IBIC2016, WEPG20
[6] A. Alexandrova et al., Proc. IBIC2017, WEPWC01.
[7] A. Alexandrova et al., Proc. IPAC2018, THPML090.
J. Wolfenden (joseph.wolfenden@cockcroft.ac.uk)