## Slide 1: Study of sMDT Chambers at the ATLAS Experiment
October 4, 2022
Fedir Boreiko

## Slide 2: The ATLAS Experiment
sMDT Barrel Inner Sector 7A (BIS7A)
Figure 1-1
Figure 1-2

## Slide 3: Monitored Drift Tube (MDT) Chambers
The muon momentum determination by ATLAS MDT chambers is based on the deflection of a charged particle in the magnetic field.
Muon momentum can be determined as:
, [2.1]
, - curvature radius.
Figure 2-1

## Slide 4: Functioning Principle of Cylindrical Drift Tubes
The basic detection element is a cylindrical aluminum drift tube with a diameter of 29.97 mm and filled with an Ar/CO2 mixture (93%/7%) at a pressure of 3 bars.
Drift velocity:
[3.1]
- charge mobility.
The electric field in the tube:
, [3.2]
- radius of the anode wire,
- inner radius of the tube,
- potential difference between anode wire and tube wall.
Figure 3-1: Schematic view of a monitored drift tube.
Figure 3-2: Drift tube operation in a magnetic field with a curved drift path.
Figure 3-3: RT relation of the MDT chamber.

## Slide 5: Tube Resolution and Efficiency
Figure 4-1: Visualization of the biased residuals for a track.
Figure 4-2: Visualization of a track hole.

## Slide 6: small Monitored Drift Tube (sMDT) Chambers
- Smaller radius (7.5 mm compared to 15 mm), which shortens the maximum drift time to 175 ns compared to 700 ns for MDTs, which means the electronic dead time is 4 times smaller for sMDTs, allowing for sMDT chambers to function 8 times higher rates than MDT chambers.
- The smaller size of sMDT chambers allows them to be installed in certain areas of the muon spectrometer that other chambers could previously not be mounted.
- However, sMDT chambers have significantly poorer resolution than MDT chambers.
Figure 5-1: Main MDT and sMDT chamber parameters.
Advantages of sMDT Chambers:

## Slide 7: small Monitored Drift Tube (sMDT) Chambers
Figure 6-1: Measured spatial resolution of MDT chambers vs the drift radius at different rates of radiation.
Figure 6-2: The plot of drift times for an sMDT chamber compared to that of a MDT chamber.

## Slide 8
Thank you for your attention!