## Slide 2: Data analysis activities and needs of IQ section
D. Alves, on behalf of the BI-IQ section

## Slide 3: Outline
Current use cases
  UC#1: fBCT Vs DCBCT calibration
  UC#2: fBCT + DCBCT noise in LHC
  UC#3: fBCT relative bunch population in LHC
  UC#4: Head-tail processing
  UC#5: LHC Schottky offline processing
  UC#6: LHC Schottky real-time processing
  UC#7: Schottky processing in LEIR
  UC#8: LHC QPU processing
  UC#9: LHC tune processing
  UC#10: LHC feedbacks
  UC#11: fBCTs PS complex (real-time)
  UC#12: fBCTs SPS + LHC
  UC#13: BPM-based intensity in ELENA ring
  UC#14: LHC MIM
  UC#15: Orbit systems AD+ELENA+LEIR
  UC#16: Longitudinal Schottky ELENA
  UC#17: Longitudinal phase space reconstruction
  UC#18: Comparative intensity measurements in AD + ELENA rings and lines
  UC#19: DOROS and LHC dI/dt
  UC#20: DCBCT + SPS dI/dt
  UC#21: fBCTs PS complex calibration ‘visualisation and alarms’
Solutions developed in the section
Difficulties found
Feedback on existing solutions
Wishlist

## Slide 4: UC#1: fBCT Vs DCBCT calibration
Data sources
  NXCALS
Algorithms
  Ratios
Performance required
  offline
Where it runs
  OAF
Results storage
  OAF report
Results presentation/notification
  OAF report, OAF plots
Tools used
  OAF
Status / criticality
  Production
Contact people
  Nathan + Manuel + Tom + Diogo

## Slide 5: UC#2: fBCT + DCBCT noise in LHC
Data sources
  NXCALS
Algorithms
  Linear fit
Performance required
  offline
Where it runs
  OAF
Results storage
  OAF report
Results presentation/notification
  OAF report
Tools used
  OAF
Status / criticality
  Production
Contact people
  Nathan + Manuel + Tom + Diogo

## Slide 6: UC#3: LHC fBCT relative bunch popul
Data sources
  NXCALS
Algorithms
  Ratios
Performance required
  offline
Where it runs
  OAF
Results storage
  OAF report
Results presentation/notification
  OAF report
Tools used
  OAF
Status / criticality
  Production
Contact people
  Nathan + Manuel + Tom + Diogo

## Slide 7: UC#4: Head-tail processing
Data sources
  HDF5 files stored on NFS
Algorithms
  Baseline removal, bunch alignment (linear least-squares fitting)
Performance required
  Nearly offline requirements, Up-to 4GB per acquisition
Where it runs
  Python GUI (can be run anywhere with NFS access)
  Python script pre-processing files in CCR server (either deletes data file(s) or not)
Results storage
  None
Results presentation/notification
  Python GUI
Tools used
  Python and Cron
Status / criticality
  Production
Contact people
  Tom

## Slide 8: UC#5: LHC Schottky offline processing
Data sources
  NXCALS
Algorithms
  Filtering, Linear algebra, Non-linear multivariable optimization
Performance required
  offline
Where it runs
  VMs and local PCs
Results storage
  HardDisk
Results presentation/notification
  Python/matplotlib plots
Tools used
  Python notebooks
Status / criticality
  Development
Contact people
  Kacper + Diogo

## Slide 9
Data sources
  Live data
Algorithms
  Filtering, Linear algebra
Performance required
  Real-time
Where it runs
  Kontron (FESA server)
Results storage
  NxCALS
Results presentation/notification
  Timber + Jupyter notebooks
Tools used
  FESA
Status / criticality
  Development
Contact people
  Kacper + Diogo
UC#6: LHC Schottky real-time processing

## Slide 10: UC#7: Schottky processing in ELENA + LEIR
Data sources
  Live data
Algorithms
  FFT, statistics (mean, variance, skewness on spectral distributions)
Performance required
  Real-time
Where it runs
  FESA server
Results storage
  NXCALS
Results presentation/notification
  Timber
Tools used
  FESA
Status / criticality
  Production
Contact people
  Stephane B. Pedersen + Ole + Diogo

## Slide 11: UC#8:LHC QPU processing
Data sources
  Live data
Algorithms
  Algebra + linear least-squares fitting
Performance required
  Real-time
Where it runs
  UCAP node
Results storage
  NXCALS
Results presentation/notification
  Timber
Tools used
  UCAP python
Status / criticality
  Development
Contact people
  Diogo

## Slide 12: UC#9: Tune
Data sources
  Live data
Algorithms
  FFT, filtering (median, mean), Gaussian fit
Performance required
  Real-time
Where it runs
  FESA server
Results storage
  NxCALS
Results presentation/notification
  Timber, Q-meter, LHC tune viewer
Tools used
  FESA
Status / criticality
  Production
Contact people
  Tom + Stephen Jackson + Miha + Marek

## Slide 13: UC#10: LHC feedbacks
Data sources
  Live data
Algorithms
  SVD, linear algebra, filtering
Performance required
  Real-time
Where it runs
  FESA server
Results storage
  NxCALS
Results presentation/notification
  Timber, OP GUI
Tools used
  FESA, Root
Status / criticality
  Production
Contact people
  Diogo + Stephen Jackson

## Slide 14: UC#11: fBCTs PS complex
Data sources
  Live data
Algorithms
  Filtering, numerical integration, slope correction, visualisation
Performance required
  Real-time
Where it runs
  FPGA
Results storage
  NXCALS
Results presentation/notification
  Timber
Tools used
  VHDL
Status / criticality
  Production
Contact people
  Miha Dolenc

## Slide 15: UC#12: fBCTs SPS + LHC
Data sources
  Live data
Algorithms
  Filtering, numerical integration, slope correction, bunch detection
Performance required
  Real-time
Where it runs
  FPGA
Results storage
  NXCALS
Results presentation/notification
  Timber
Tools used
  Verilog
Status / criticality
  Production
Contact people
  Miha + Tom

## Slide 16: UC#13: BPM-based intensity in ELENA ring
Data sources
  Live data
Algorithms
  Histogram, statistics (mean and variance)
Performance required
  Real-time
Where it runs
  FESA server
Results storage
  NxCALS, On-demand data dump from FESA navigator
Results presentation/notification
  Timber, Jupyter notebook with NxCALS, Jupyter notebook importing dumped data files
Tools used
  FESA, GSL
Status / criticality
  Development
Contact people
  Ole + Diogo

## Slide 17: UC#14: LHC MIM
Data sources
  Live data
Algorithms
  FFT
Performance required
  Real-time
Where it runs
  FESA server
Results storage
  None (NxCALs storage limitation)
Results presentation/notification
  Timber, Jupyter notebook
Tools used
  FESA, FFTw
Status / criticality
  Development
Contact people
  Tom

## Slide 18: UC#15: Orbit in AD, ELENA and LEIR
Data sources
  Live data
Algorithms
  IQ demodulation, digital filter, peak detection, time alignment, numerical integration
Performance required
  Real-time
Where it runs
  Firmware, DSP, FESA server
Results storage
  NxCALS , On-demand data dump from FESA navigator
Results presentation/notification
  Timber, Jupyter notebook with NxCALS, Jupyter notebook importing dumped data files
Tools used
  VisualElite, AnalogDSP++, FESA, Jupyter notebooks
Status / criticality
  Production
Contact people
  Ole + Steen

## Slide 19: UC#16: Longitudinal Schottky in ELENA
Data sources
  Live data
Algorithms
  FFT , complex phase shifting, digital filtering
Performance required
  Real-time
Where it runs
  DSP, FESA server
Results storage
  NxCALS , On-demand data dump from FESA navigator
Results presentation/notification
  Timber, Jupyter notebook with NxCALS, Jupyter notebook importing dumped data files
Tools used
  AnalogDSP++, FESA
Status / criticality
  Production
Contact people
  Ole + Steen

## Slide 20: UC#17: Longitudinal phase space reconstruction
Data sources
  WCM recorded data from files (for the moment)
Algorithms
  Kalman filter
Performance required
  Offline (for the moment)
Where it runs
  Jupyter notebook
Results storage
  None
Results presentation/notification
  Jupyter notebook
Tools used
  Jupyter notebook
Status / criticality
  Development
Contact people
  Diogo + Kacper

## Slide 21: UC#18: Comparative intensity measurements in AD + ELENA rings and lines
Data sources
  NxCALs
Algorithms
  FFT, digital filtering
Performance required
  Offline analysis
Where it runs
  Jupyter notebook
Results storage
  NxCALS
Results presentation/notification
  Timber, Jupyter notebooks
Tools used
  Jupyter notebooks
Status / criticality
  Development
Contact people
  Nathan + Ole

## Slide 22: UC#19: DOROS & LHC dI/dt
Data sources
  NxCALs (often data dumped from timber), FESA navigator dumps
Algorithms
  FFT, digital filtering
Performance required
  Offline analysis
Where it runs
  Timber, Mathematica
Results storage
  None
Results presentation/notification
  Timber, Mathematica
Tools used
  Timber, Mathematica
Status / criticality
  Production, Development
Contact people
  Marek

## Slide 23: UC#20: DCBCT + SPS dI/dt
Data sources
  NxCALs (often data dumped from timber), data dumped from lab instruments
Algorithms
  Mainly visualisation and units conversion
Performance required
  Offline analysis
Where it runs
  Timber, Excel
Results storage
  None
Results presentation/notification
  Timber, Excel
Tools used
  Timber, Excel
Status / criticality
  Production, Development
Contact people
  Sebastien

## Slide 24: UC#21: fBCTs PS complex calibration ‘visualisation and alarms’
Data sources
  NxCALs
Algorithms
  Mainly visualisation and alarms, calibration analysis
Performance required
  Offline analysis
Where it runs
  OAF, Jupyter notebooks
Results storage
  OAF
Results presentation/notification
  OAF, Jupyter notebooks
Tools used
  OAF, Jupyter notebooks
Status / criticality
  Production, Development
Contact people
  Miha

## Slide 25: Solutions Developed in the Section
Jupyter notebooks
  Development/concept testing
  Data analysis
  fBCTs + DCBCTs
  LHC Schottky
  LHC QPU
  …
Spectrogram visualisation GUI (LEIR Schottky)
Head-tail GUI and processing
LHC Schottky (real-time side)
…

## Slide 26: Difficulties found
NxCALs storage limitations
  Doesn’t accept large publications (>2MB) without special request
  Still there could be issues even <2MB but too frequent publication rate
  For very large data sets, e.g. head-tail, ad-hoc solutions are required

## Slide 27: Existing Solutions Feedback
OAF
  Fragile - reports break easily and need to be maintained by OAF developers/experts
NxCALS APIs
  PyTimber – excellent
Swan/Jupyter notebooks
  Excellent for data analysis and prototyping
UCAP
  Performance overhead when compared to FESA
  SETs not supported
  Otherwise, excellent, super flexible

## Slide 28: Wishlist
Be able to manage OAF reports without the need to always “go back” to OAF “developers/experts”
Turn-key solution to setup Python data analysis environment (numpy, scipy, pytimber, pyjapc, git repo)
Basic support (e.g. templates) for rapid application development (e.g. read/write registers, convert values, plot data) for lab development (with/without FESA)