## Slide 1
RAL site update
George Patargias on behalf of the Antares team
pre-GDB Tape Evolution
07/11/2023

## Slide 2
Introduction
Two main storage endpoints at RAL
Echo: Ceph cluster for disk storage
Antares: EOS/CTA instance for tape storage
Antares main features
Tier-1 EOS cluster: 13 x 1.5TB SSD nodes
Facilities EOS cluster: 2 x 3.5TB + 7 x 1.5TB SSD nodes
Tier-1 tape library: 20 x TS1160, 14 x LTO9 drives
Facilities tape library: 28 x TS1160, 12 x LTO8, 6 x LTO9 drives
EOS: 4.8.105-1, CTA: 4.8.7-1

## Slide 3
Recent developments
June 2023: CASTOR Facilities migration to Antares completed
August 2023: CASTOR decommissioned at RAL!
May 2023: Minor version upgrade to EOS 4.8.98 and CTA 4.8.7 and enabled HTTP Tape REST API

## Slide 4
CASTOR Facilities migration
The last CASTOR to CTA migration
Data migrated: ~13.3 million files (>100PB)
More complex than the Tier-1 data migration
Integrate Facilities client code with EOS-CTA
Remove FileID clashes with ~100,000 Tier-1 files
Care for the dual-copy tape pools

## Slide 5
CTA Frontend/CTA CLI
Tier-1 EOS cluster
Tier-1 CTA Tape Servers
CTA Catalogue
XRootD Client
TS1160 Tape Drives
CTA object store
x17
x13
x4
x1
x20
TPC proxies
Tier-1 Spectra Logic
Tfinity tape library
LT09
Tape Drives
x14
LT08
Tape Drives
Facilities EOS cluster
x9
Facilities CTA Tape Servers
Data
Metadata
x 8
x12
Facilities SpectraTfinity tape library
XRootD Client
Antares:
Current setup
x17
TS1160
Tape Drives
x28
LT09
Tape Drives
x6

## Slide 6
Experiment file sizes
For LHC, the max file size is limited to 128GB
  For local users 1.1TB
CTA max file size may need change due to some uncertainty in the
size of the file aggregates that Facilities ingest servers send to Antares
Small SSD buffer that fixes the files in place until archived/recalled
Size of the largest available EOS FS determines CTA max file size
What is CTA max file used by other sites?

## Slide 7
Antares Tier-1
WebDAV fully enabled
LHC Run-3 ingest rates
are achieved
Initially, only XRootD access was offered to LHC users
    Use TPC proxies for external transfers
    Combine with WebDAV by doing multi-hop transfers
    Used by ATLAS and LHCb
    Deployed fix (EOS 4.105) for the bug that disrupted ATLAS recalls
atl23 pool
growth rate

## Slide 8
CTA Databases
Until August, the Antares DB was a 3 node RAC
The DBA team decided that a third node was not needed –
DB load very low
CTA Oracle service is running on a single node anyway
The two Oracle nodes removed from CTA were used to
create a new OL8 DB

## Slide 9
Future plans
Upgrade to EOS5 following CERN
Plan and carry out upgrade to Rocky 9
Run cta-taped in a container
Transition to LTO media
Notes: Ingest logs into OpenSearch

## Slide 10: Tape storage for SKA
Construction phase expected to finish 2028
  Marking start of full operations
Keep recent (and popular) data on disk
Custodial data archived to nearline storage
Current estimates suggest ~ 1 Exabyte of data to tape (or equivalent nearline storage) (including replicas for resilience).
Increasing linearly per year.
UK will represent up to O(15-20)% of SKA data.