Run3 trigger online software overview
A. Jusko

---
Infrastructrure
External software
Daemons at P2
Monitoring

---
Infrastructure in P2
DCS network
ECS network
GW
CTP
readout
control
monitoring
clock
alitriwn001
alitriwn001
ctpctr
ctpapp
alidcsvme018
TTCmi crate
aliflpcom-ctp
alitriwn002
10Gb uplink
alidcsen004
CR1, CR3
1Gb switch
Cavern
18x 1Gb ethernet over fibre
9x USB
- GBT links to FEs (ITS/MFT),
CTPreadout
- oldTTC links through TTCex
9x USB
- TTCPON nets to CRUs
ATB: Alice Trigger Board serving as CTP (1x) or LTU (18x)
BC1/2 and RND1/2 generators were used till now only in technical runs.
Trigger descriptor using generator is created dynamically:
Trigger config
BC1 CTP 0 6 6
RND1 CTP 0 1073741823 1073741823
D0HWU_RND1 0HWU RND1
CINT1WU-B-NOPF-ALL 2 D0HWU_RND1 ALL {NONE} {BCM2} 0 1 8 236
CINT1WU-B-NOPF-ALL 2 D0HWU_BC1 ALL {NONE} {BCM2} 0 1 8 236
RND1 rate = 1073741823*40Mhz/0x7fffffff = 20Mhz, downscaling: 50%
BC1 rate = 40Mhz/(6+1) = 5.714, downscaling: 14.3%
Note: when using BC, choose corect n (3564= 3**4 * 2**2 * 11) to get all Bcs in orbit triggered
An example of 2 classes downscaled by 14.3%. We need to count also non-downscaled signal before vetos:
BC1 CTP 0 6 6
CINT7WU-AC-NOPF-ALL 2 DINT7WU ALL {NONE} {BCM3} 2097151 0 3 3
CINT7WU-AC-NOPF-ALL 2 DINT7WU_BC1 ALL {NONE} {BCM3} 0 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7 ALLNOTRD {NONE} {BCM3} 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7_BC1 ALLNOTRD {NONE} {BCM3} 0 0 3 3
Avoiding duplicated class names:
CINT7WU-AC-NOPF-ALL 2 DINT7WU ALL {NONE} {BCM3} 0 0 3 3
CINT7WU_B1-AC-NOPF-ALL 2 DINT7WU_BC1 ALL {NONE} {BCM3} 0 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7 ALLNOTRD {NONE} {BCM3} 0 0 3 3
CINT7-AC_B1-NOPF-ALLNOTRD 7 DINT7_BC1 ALLNOTRD {NONE} {BCM3} 0 0 3 3
Basic set of extensions: _B1 _R1 _B2 _R2
Extended, in case we need combinations: _B[12]R[12] i.e.: _B1R1
An example of 2 classes downscaled by 14.3%. We need to count also non-downscaled signal before vetos:
BC1 CTP 0 6 6
CINT7WU-AC-NOPF-ALL 2 DINT7WU ALL {NONE} {BCM3} 2097151 0 3 3
CINT7WU-AC-NOPF-ALL 2 DINT7WU_BC1 ALL {NONE} {BCM3} 0 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7 ALLNOTRD {NONE} {BCM3} 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7_BC1 ALLNOTRD {NONE} {BCM3} 0 0 3 3
Avoiding duplicated class names:
CINT7WU-AC-NOPF-ALL 2 DINT7WU ALL {NONE} {BCM3} 0 0 3 3
CINT7WU_B1-AC-NOPF-ALL 2 DINT7WU_BC1 ALL {NONE} {BCM3} 0 0 3 3
CINT7-AC-NOPF-ALLNOTRD 7 DINT7 ALLNOTRD {NONE} {BCM3} 0 0 3 3
CINT7-AC_B1-NOPF-ALLNOTRD 7 DINT7_BC1 ALLNOTRD {NONE} {BCM3} 0 0 3 3
Basic set of extensions: _B1 _R1 _B2 _R2
Extended, in case we need combinations: _B[12]R[12] i.e.: _B1R1
A
ATB
ATB
ANYWHERE USB
ANYWHERE USB
ATB

---
External software
G++
Qt
Python 3.6 (3.9)
IPBUS suite
rarpd
TTCPON 1.0.1
GRPC, ZeroMQ
TSDB: Telegraf/InfluxDB
VMERCC driver
WinCC, DIM, MS VS C++
Fusion Digital Power Designer (TI)

---
Overview
IR/TCR
O2
QC
monscal
O2
infoLogger
cpu,ram,io (2 PCs)
ecsc/ctpc
o2-readou
InfluxDB
ctpd-broker
AliECS
ctpd
gbt
grpc
zmq
ltud
18x
ctp3-mon
ipbus
consulDB
WWW
LTU
18x
CTP
ltudc
ECS network
WWW
DCS network
bmd
bmd
LHC
Interface
clocktransition
SIGUSR1
WinCC
FED
bcmserver
dim
ttcmidims
RF2TTC,
CORDE
VME

---
ctpd, ltud
 ctpd
Listen to ECS commands, keep info about active runs
Update CTP
Send commands to ltud
Send physics counters/monitoring values to ctpd-broker
infoLogger
ctpd-broker
AliECS
ctpd
grpc
 ltud
Listen to ctpd commands
Update LTU
Send physics counters/monitoring values
to ctp3-mon
zmq
ltud
18x
ctp3-mon
ipbus
consulDB
LTU
18x
CTP
WWW

---
ttcmidims
ECS network
DCS network
1
LHC
Interface
TTCMI/MICLOCK_SET BEAM1/LOCAL
TTCMI/CORDE_SET shift (10ps units)
clocktransition
WinCC
FED
3
dim
3
TTCMI/MICLOCK
TTCMI/MICLOCK_TRANSITION
TTCMI/QPLL
TTCMI/SHIFT
2
ttcmidims
RF2TTC,
CORDE
VME

---
clocktransition
infoLogger
grpc
AliECS
ctpd
ltud
18x
consulDB
LTU
18x
CTP
ECS network
WWW
 90s before clock transition:
Activate HOLDVOVER mode for its mft mch tpc
After clock transition:
Clear Orbit counter
Reset CTP readout
Deactivate HOLDOVER mode
DCS network
LHC
Interface
clocktransition
dim
TTCMI/MICLOCK
TTCMI/MICLOCK_TRANSITION
ttcmidims

---
bmd (2x), bcmserver
ctpd
ipbus
ECS network
CTP
Follow BEAM MODE, ...
In PREPARE RAMP:
create WORK/CFG/bcmasks.cfg (for bcmserver)
Follow BEAM MODE, FILL NUMBER,
INJECTION_SCHEMA,
CIRCULATING_BUNCHES_B1
CIRCULATING_BUNCHES_B2
In PREPARE RAMP time:
create DBCTP/bcmasks.cfg (for ctpd)
When FILL_NUMBER changed:
update WORK/fillnumber (for ctpd)
WWW
DCS network
bmd
bmd
LHC
Interface
SIGUSR1
bcmserver
Provide DIM services
bcm/E bcm/B bcm/ZDC
dim
ZDC
ttcmidims
RF2TTC,
CORDE
VME

---
Monitoring
Physics scalers, read from ATBs over ipbus
U, I, T for each ATB available over PMbus/USB (WinCC project). U, T (different source) for each board available also over ipbus.
U, T, optical power for all SFPs (OLTs, ONUs, GBTs) over ipbus
OLTs/ONUs Counters and Sticky bits catching the status of all ttcpon nets
Remote ONUs in CRUs (if upstream implemented in CRU)
Values archived, time trends available
Not archived, history not available

---
ttcpon health monitoring
OLT, ONU:
optical rx/tx power,U, T, 5 sticky bits
CTP
ONU:
forward error corrections (single,double)
SLC errors detected
…6x
fv0 ft0 fdd
ctp.net
OLTs: cca 30, ONUs: 18
Available in ctpd/ltud over ipbus.
LTU
LTU
LTU
...
mid.net
mch.net
tpc.net
cca 500 ONUs
Available over ttcpon SLC in ltud
if implemented in CRU
CRU
CRU
CRU
1
CRU
30
CRU
1
CRU
60
...
...
OLT1
OLT2
ONU
ONU
ONU
OLT1
OLT1
OLT1
ONU
ONU
ONU
ONU
OLT6
ONU
ONU

---
Practical example
When LTU in global mode, we sometimes observe triggers even if they are not sent from CTP. The spurious triggers are seen usually only in one LTU, although 3 LTUs share one ttcon splitter.
The FEC (Forward Error Correction) counters in corresponding LTUs also detect errors, which is an indication the problem is not in LTU itself but in the upstream connection to the CTP.
Seems the problem happens only after ctp.net ttcpon calibration (after power up or fw modification of CTP/LTU), i.e. we check it always after such intervention.
The fix: reinitialise ONU, sometimes repeatedly.
Plan: arrange the FEC archival (also CRU values if available) in TSDB and alarms.

---
Summary
Development
Seems we were able to follow the Alice needs during 1st year of run3
Update of firmware+sw to the new ttcpon 1.0.1 done before run3 started
TTCPON monitoring (mainly ttcpon) should be given more attention
Runtime
control/monitoring daemons running all the time in P2.
We appreciate activities of Košice group and help from our students, mainly with:
Firmware development for RORC and CTP readout (Jakub, Simone) and GBT interface (Luis)
Luminosity calculation published to LHC (Ivan)
QC -trigger specific interface (Marek)
DCS -WinCC project (Ishaan)
Manufacturing/repair of ATBs (Dodo).
Monitoring -(Martin) takes care about TSDB and its presentation, also maintaining semi-automatic update of our software in P2

---
Backup
2019 trigger meeting in Danišovce: https://indico.cern.ch/event/810823/