## Slide 1: Cable List for De-cabling and Re-cabling HL-LHC
G. Georgiev
09 December 2022
EDMS 2806309

## Slide 2: General Process Remainder
*This is the second iteration of the exercise performed in 2020 (EDMS 2378603 – Miguel Mendes document).
Today we are here
SharePoint details in
Miguel Baeza presentation

## Slide 3: Cable list 1/3
Extraction from GESMAR
…..
Classification
Exercise performed in 2020, only collaterally impacted cables (EDMS 2378603 – Miguel’s document)
To confirm now
Exercise June 2021, including collaterally impacted and unused cables (EDMS 2607291). Cable list extracted in 2018, P1L and P5 complete.
General categories Slide 4
Slide 5

## Slide 4: Cable list 2/3
…..
General categories and Strategy
Example P1L. The same categories for P1L, P5L and P5R
General categories to fill in the list:
Category A (Obsolete Cable)
Category B (Collaterally Impacted Cables)
N/A (not expected)
De-cabling limit

## Slide 5: Cable list 3/3
Geographical Location
Location 4: Beginning and end of cable
in UPS14, UPS14 is not in LSS1
Location 21: One cable end in US15, UL14 or UL16, the second going to the surface (denoted by the cross)
Location 1: HL-LHC LSS cables
Location 2: Local Cables
Location 3: Traversing cables
Geographical Location is to help users to identify quickly where the cable goes.

## Slide 6: Different studies among the years
Only collaterally impacted cables analyzed
Collaterally impacted and unused cables analyzed
To be analyzed
Geographical Location 21 & 4: P1 217, P5 272 cables

## Slide 7: BACKUP SLIDES

## Slide 8: Definitions from EDMS 2378603
Category A (Obsolete Cable): These are cables that, because of the HL-LHC upgrade do not have any function for Run 4.
  Action: During LS3, remove definitively this cables.
  Category by Locations: A1, A2, A3
Category B (Collaterally Impacted Cables) : These are cables belonging to systems not upgraded/replaced by HL-LHC project, but that must be removed and put back before Run 4 because their function is required in that frame.
  Action: During LS3, remove fully or partially, then reinstall them.
  Category by Locations: B1, B2 (not applicable), B3
HL-LHC LSS cables: these are cables for which at least one of the extremities falls within the area impacted by HL-LHC project (IP centre to the IP side of the RR alcove), and are routed in tunnel cable trays
Local cables: local cables are defined as cables that connect equipment either in the same gallery, or between two galleries, but without passing in the LHC tunnel.
Traversing cables: these are cables whose extremities are outside of the area impacted by HL-LHC upgrade (as defined in HL-LHC LSS cables), put whose path passes in the areas impacted by the upgrade.

## Slide 9: Guidelines summary
The Layout of the cable sheets is a GESMAR extraction with four columns to the left of it under the name of "Classification;
The "EDMS 2378603" column is the result of the exercise taken in 2020;
This document uses the same notation for collaterally impacted cables as noted in EDMS 2378603;
The "Exercise June 2021" Column adds the collaterally impacted and undused cables notations found in Georgi GEORGIEV’s
presentation on 24/10/2022, EDMS 2607291;
The "Exercise Dec 2022" Column is where the user is demanded to put his/her de-cabling and re-cabling demands
using the notation (A & B) from EDMS 2378603;
The "Geographical Location" Column depicts the beginning and end location of the cable as noted in EDMS 2378603 where:
  1 = HL-LHC LSS cables;
  2 = Local Cables;
  21 = Local Cables going to surface(Specific to this document, not in 2378603);
  3 = Traversing cables;
  4= Not in impacted LSS but part of cables that are(Specific to this document, not in 2378603);