## Slide 1
FROM MWPC TO MPGD
Fabio SAULI
CERN
RD51 Micro Pattern Gaseous Detectors School
CERN November 27, 2023 to December 1, 2023

## Slide 2
MULTIWIRE PROPORTIONAL CHAMBER (MWPC)
Georges Charpak
Ionization
Drift
Multiplication
-HV
-HV
GND
+
e-
FIRST LARGE MWPC (CERN 1970)
G. Charpak et al,
Nucl. Instr. Meth. 62(1968)282
1992

## Slide 3
MULTIWIRE DRIFT CHAMBERS
A. H. Walenta et al
Nucl. Instr. Meth. 92(1971)373
G. Marel et al, Nucl. Instr. Meth. 141(1977)43
WA1 NEUTRINO DETECTOR AT CERN
Measurement of electron drift time t
s = w t
s

## Slide 4
MULTIWIRE DRIFT CHAMBERS
Discovery of the W and Z vector bosons
C. Rubbia, Simon van der Meer
Nobel Laureates 1984
UA1 EXPERIMENT - CERN PROTON-ANTIPROTON COLLIDER
XY FROM WIRE CHAMBER
Z FROM ELECTRONS DRIFT TIME
pp COLLISION (1982)
_

## Slide 5
TIME PROJECTION CHAMBER (TPC)
DAVID NYGREN (1975)
ALEPH TPC (CERN LEP)
D. Decamp et al,
Nucl. Instr. Meth. A294(1990)125
LBL PEP-4 TPC
3-D TRACKING
dE/dx: PARTICLE IDENTIFICATION

## Slide 6
LARGE HADRON COLLIDER AT CERN (LHC):
HIGH LUMINOSITY LHC: UP TO 50 kHz Pb-Pb MINIMUM BIAS EVENTS
LHC: 109 pp COLLISIONS/sec
MWPC LIMITATIONS:
TWO-TRACKS RESOLUTION ~ mm
RATE CAPABILITY ~ 104 mm-2 s-1
AGING
HARD TO BUILD, FRAGILE
SIMULATED LEAD-LEAD COLLISION

## Slide 7
MICROSTRIP GAS COUNTER (MSGC)
Anton Oed, 1988
A. Oed, ucl. Instr. Meth. 263(1988)351
Space Accuracy ~ 50 µm
Two-track Resolution ~ 500 µm
Rate capability ~ 106 mm-2 s-1
100-200 µm
ALTERNATING ANODE AND CATHODE STRIPS ENGRAVED ON GLASS WITH PHOTOLITHOGRAPHY

## Slide 8
CMS MSGC BARREL TRACKER (1999)
~ 15,000 MSGCs
DISCHARGE PROBLEMSAND
LONG TERM RELIABILIY
MICROSTRIP GAS COUNTER (MSGC)
GAIN TO DETECT MIPs (100 e-) : ~104 D Q ~ 106
~ MeV NEUTRON CONVERSION (~ 104 e-) DQ ~ 108 >> RAETHER LIMIT!

## Slide 9
NEW MICRO-PATTERN GASEOUS DETECTORS (MPGD) - 1999 to PRESENT
MICRO-PIXEL DETECTOR (A.Ochi, 2001)
MICRO GROOVE (R. Bellazzini, 1999)
MICRODOT (S.Biagi, 1995)
MICRO-PIN ARRAY (P. Rehak, 2000)

## Slide 10
NEW MICRO-PATTERN GASEOUS DETECTORS (MPGD) - 1999 to PRESENT
MICROMEGAS
GAS ELECTRON MULTIPLIER (GEM)
I. Giomataris et al,
Nucl. Instr. Meth. A376(1996)29
F. Sauli, Nucl. Instr. Meth. A386(1997)531
Esther Ferrer Ribas: MPGD TECHNOLOGIES 1
Eraldo Oliveri: MPGD TECHNOLOGIES 2

## Slide 11
MICRO-MESH GASEOUS CHAMBER (MICROMEGAS)
I. Giomataris et al,
Nucl. Instr. Meth. A560(2006)405
Rui de Oliveira: MPGD MANUFACTURING

## Slide 12
MICRO-MESH GASEOUS CHAMBER (MICROMEGAS)
C. Bernet et al, Nucl. Instr. Meth. A536(2005)61
COMPASS SPECTROMETER TRACKER AT CERN
12 PLANES 40x40 cm2 aCTIVE
3 XYUV STATIONS
POSITION ACCURACY ~ 70 µm

## Slide 13
MICRO-MESH GASEOUS CHAMBER (MICROMEGAS)
N. Abrgall et al, Nucl. Instr. Meth. A637(2011)25
TIME PROJECTION CHAMBER FOR THE T2K NEAR DETECTOR

## Slide 14
MICROMEGAS
ATLAS MICROMEGAS UPGRADE
T. Alexopoulos et al, Nucl. Instr. Meth. A955(2020)162086
1280 m2 active surface
2.1 M readout channels
128 detectors / 4 types
4 layers
2 to 3 m2 area

## Slide 15
MICROMEGAS
RESISTIVE MICROMEGAS: DISCHARGES SUPPRESSION
F. Kruger, Nucl. Instr. Meth. A845(2017)248

## Slide 16
GAS ELECTRON MULTIPLIER (GEM)
F. Sauli, Nucl. Instr. Meth. A386(1997)531
140 µm
70 µm Ø
50 µm thick Kapton, 5 µm Cu-coated

## Slide 17
GAS ELECTRON MULTIPLIER (GEM)
GEM CHAMBER WITH
2-DIMENSIONAL READOUT
STANDARD XY 400 µm PITCH
PAD MATRIX 500 µm PICH

## Slide 18
MULTI-GEM DETECTORS
LOWER VOLTAGE ON EACH GEM
HIGHER SAFE TOTAL GAIN
S. Bachmann et al, Nucl. Instr. Meth. A479(2012)294

## Slide 19
COMPASS TRACKER AT CERN (2001-2020)
~ 30 TRIPLE-GEM DETECTORS
30x30 cm2 – 2-D Readout
C. Altunbas et al, Nucl. Instr. Meth. A490(2002)480
LARGE MULTI-GEM DETECTOR SYSTEMS
A 30x30 cm2 GEM ELECTRODE

## Slide 20
GEM FOILS MANUFACTURING
R.Chechik et al, Nucl. Instr. and Meth. A535(2004)303
THIK GEM (also LEM: Large Electron Multiplier):
MECHANICAL DRILLING OF METAL-CLAD PCB
1 mm THICK, 400 µm HOLES
Rui de Oliveira: MPGD MANUFACTURING

## Slide 21
LARGE MULTI-GEM DETECTOR SYSTEMS
M.G. Bagliesi et al, Nucl. Instr. Meth. A617(2010)134
HALF-MOON TRIPLE-GEM GEM DETECTORS FOR TOTEM AT CERN

## Slide 22
A. Balla et al,
Nucl. Instr. Meth. A732(2013)221
KLOE-2 INNER TRACKER
S. Duarte Pinto arXiv:1011.5528v1
IEEE 2011 Nucl. Sci. Symp. Conf. Rec.
CYLINDRICAL AND SPHERICAL GEMs

## Slide 23
CMS FORWARD MUON DETECTOR
GEM UPGRADE: 3 NEW STATIONS WITH TRIPLE-GEMs
CERN DETECTORS TECHNOLOGIES

## Slide 24
CMS FORWARD MUON DETECTOR
INSTALLATION OF 36 SUPER-CHAMBERS FOR FIRST AND SECOND END-CAP

## Slide 25
ALICE TPC UPGRADE: QUAD GEM
72 GEM MODULES
165 cm
87 cm
Piotr Gasik: GAS DETECTORS PHYSICS 2

## Slide 26
ALICE TPC GEM UPGRADE
J. Adolfsson et al, JINST16 (20210)P03021
Paolo Iengo: MPGDs in LHC EXPERIMENTS

## Slide 27
T. Meinschad, L. Ropelewski and F. Sauli,
Nucl. Instr. Meth. A 535(2004)324
UV PHOTONS DETECTION
GEM WITH REVERSE CsI PHOTOCATHODE
W. Anderson et al, Nucl. Instr. Meth. A646(2011)35
HADRON BLIND DETECTOR FOR PHENIX

## Slide 28
HYBRID MPGD: GEM + MICROMEGAS
LARGE GAINS, REDUCED POSITIVE IONS BACKFLOW
CHERENKOV RING
J. Agarwala et al, Nucl. Instr. Meth. A952(2020) ﻿161832
CHERENKOV RING IMAGING (COMPASS)

## Slide 29
SOFT X-RAY POLARIMETRY
R. Bellazzini et al, Nucl. Instr. and Meth. A720(2013)173
5.9 keV PHOTOELECTRON (80 µm pixels pitch):
L. Baldini et al, Astroparticle Physics (2021
~ 1 mm

## Slide 30
GAS PIXEL DETECTOR
NASA IMAGING X-RAY POLARIMETRY EXPLORER (IXPE)
L. Baldini et al, Astroparticle Physics (2021)
LAUNCHED DECEMBER 15, 2021
M. Negro et al,
Astro. J. Letters 946(1923)L21
POLARIZATION MAP OF
221009A GAMMA RAY BURST
Marco Cortesi: Applications beyond HEP
Jona Bortfield: Applications beyond fundamental research

## Slide 31
F.A.F. Fraga, et al, Nucl. Instr. and Meth. A478(2002) 357
TRIPLE GEM
CCD CAMERA
n INTERACTIONS IN 3He
MeV a PARTICLES
OPTICAL GEMS: CARBON TETRAFLUORIDE SCINTILLATION
CF4 SECONDARY SCINTILLATION

## Slide 32
GEM: BEAM IMAGER
OPTICAL MPGD IMAGING
MUON TRACKS
HADRONIC SHOWER
SOFT X-RAY RADIOGRAPHY
F. Brunbauer et al, JINST 13(2018)T02006

## Slide 33
OPTICAL MPGD IMAGING
D. Pinci et al,
Nucl. Instr. Meth. A936(2019)453
CYGNO:
DIRECTIONAL DARK MATTER SEARCH
Davide Pinci: OPTICAL AND HYBRID READOUT TECHNIQUES

## Slide 34
C. Cuesta et al, ﻿arXiv:1910.10115v1(2019)
DUAL-PHASE LIQUID ARGON TIME PROJECTION CHAMBER
Proto-DUNE

## Slide 35
THE END
OF THE INTRODUCTION