## Slide 1: Xboxes Update
25/01/2023

## Slide 2: X-Box3 – Line 2

## Slide 3: X-Box3 – Line 2
Parameters:
1.9 us klystron pulse
100 ns CP
150 Hz rep rate per line
Current Power: 37,5 MW
17
18
19
20

## Slide 4: X-Box3 – Line 2
Parameters:
1.9 us klystron pulse
100 ns CP
150 Hz rep rate per line
Current Power: 37,5 MW

## Slide 5: X-Box3 – Line 2
Parameters:
1.9 us klystron pulse
100 ns CP
150 Hz rep rate per line
Current Power: 37,5 MW

## Slide 6: X-Box3 – Line 2
Step | Pulse Witdth | Compressed Pulse Width | Power | DUT BDs | DUT BDR | HyPC BDs | HyPC BDR | Millions of Pulses
17 | 1,9 us | 200 ns (210 ns) | 33.5 MW | 16 | 5,0000E-07 | 6 | 1.87500E-07 | 32
18 | 1,9 us | 150 ns (160 ns) | 34.5 MW | 4 | 2.10526E-07 | 2 | 1.05263E-07 | 19
19 | 1,9 us | 150 ns (160 ns) | 35.5 MW | 7 | 2.12121E-07 | 0 | 0 | 33
20 | 1,9 us | 150 ns (160 ns) | 33.5 MW | 4 | 1.08108E-07 | 0 | 0 | 37
21 | 1,9 us | 100 ns (120 ns) | 37.5 MW |  |  |  |  | 
22 | 1,9 us | 100 ns (120 ns) | 35.5 MW |  |  |  |  | 
23 | 1,9 us | 100 ns (120 ns) | 33.5 MW |  |  |  |  | 
24 | 1,9 us | 50 ns (72 ns) | 39.5 MW |  |  |  |  | 
25 | 1,9 us | 50 ns (72 ns) | 37.5 MW |  |  |  |  | 
26 | 1,9 us | 50 ns (72 ns) | 35.5 MW |  |  |  |  | 
27 | 1,9 us | 50 ns (72 ns) | 33.5 MW |  |  |  |  | 

## Slide 7: X-Box3 – N1,N2

## Slide 8: X-Box2

## Slide 9: X-Box2
Parameters:
1.6 us klystron pulse
50 ns CP
50 Hz rep rate per line
Current PKI Power: 12 MW

## Slide 10: X-Box2
Parameters:
1.6 us klystron pulse
50 ns CP
50 Hz rep rate per line
Current PKI Power: 12 MW

## Slide 11: X-Box2
Parameters:
1.6 us klystron pulse
50 ns CP
50 Hz rep rate per line
Current PKI Power: 12 MW

## Slide 12: X-Box2

## Slide 13: All TD31

## Slide 14: All TD31

## Slide 15: All TD31

## Slide 16: XBox2 Pulses

## Slide 17: XBox2 Pulses

## Slide 18: XBox2 Pulses

## Slide 19: XBox2 Pulses

## Slide 20: XBox2 Pulses

## Slide 21: XBox2 Pulses

## Slide 22: XBox2 Pulses

## Slide 23: X-Box3 – Line 1

## Slide 24: X-Box3 – Line 1
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: 33 MW (peak)

## Slide 25: X-Box3 – Line 1
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: 33 MW (peak)

## Slide 26: X-Box3 – Line 1
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: 33 MW (peak)

## Slide 27: X-Box3 – Line 1
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: 33 MW (peak)

## Slide 28: X-Box3 – Line 1
Step | Pulse Witdth | Compressed Pulse Width | Phase Ramp | Init Power | Max Power | Init | End | Comment
1 | 50 ns (72 ns) | NO | NO | 0,5 MW | 7,7 MW | 27 July 2022 | 6 August 2022 | 
2 | 1,32 us | 50 ns (72 ns) | Manual | 3,5 MW | 28,3 MW | 6 August 2022 | 14 September 2022 | 
3 | 1,62 us | 50 ns (72 ns) | Manual | 27,3 MW | 31,5 MW | 14 September 2022 | 16 September 2022 | 
4 | 1,9 us | 50 ns (72 ns) | Manual | 30,5 MW | 38,5 MW | 16 September 2022 | 22 September 2022 | 
5 | 1,9 us | 100 ns (120 ns) | Manual | 34 MW | 37 MW | 22 September 2022 | 26 September 2022 | 
6 | 1,9 us | 150 ns (160 ns) | Manual | 34 MW | 35 MW | 26 September 2022 | 3 October 2022 | 
7 | 1,9 us | 200 ns (210 ns) | Manual | 31 MW | 33 MW | 3 October 2022 | 5 October 2022 | 
8 |  |  |  |  |  |  |  | Data points run
9 | 1,9 us | 200 ns (210 ns) | Manual | 33 MW | 33 MW | 5 October 2022 | 7 October 2022 | Init Pulse Count: 542 M# End Pulse Count: 567 M#
10 | 1,9 us | 150 ns (160 ns) | Manual | 35 MW | 35 MW | 7 October 2022 | 10 October 2022 | Init Pulse Count: 569 M# End Pulse Count: 600 M#
11 | 1,9 us | 150 ns (160 ns) | Manual | 33 MW | 33 MW | 10 October 2022 | 13 October 2022 | Init Pulse Count: 602 M# End Pulse Count: 643 M#
12 | 1,9 us | 100 ns (120 ns) | Manual | 37 MW | 37 MW | 13 October 2022 | 15 October 2022 | Init Pulse Count: 645 M# End Pulse Count: 671 M#
13 | 1,9 us | 100 ns (120 ns) | Manual | 35 MW | 35 MW | 15 October 2022 | 17 October 2022 | Init Pulse Count: 673 M# End Pulse Count: 693 M#
14 | 1,9 us | 100 ns (120 ns) | Manual | 33 MW | 33 MW | 17 October 2022 | 19 October 2022 | Init Pulse Count: 694M# End Pulse Count: 717 M#
15 | 1,9 us | 50 ns (72 ns) | Manual | 38,5 MW | 38,5 MW | 19 October 2022 | 21 October 2022 | Init Pulse Count: 719 M# End Pulse Count: 740 M#
16 | 1,9 us | 50 ns (72 ns) | Manual | 37 MW | 37 MW | 21 October 2022 | 23 October 2022 | Init Pulse Count: 741 M# End Pulse Count: 764 M#
17 | 1,9 us | 50 ns (72 ns) | Manual | 35 MW | 35 MW | 23 October 2022 | 27 October 2022 | Init Pulse Count: 766 M# End Pulse Count: 801 M#
18 | 1,9 us | 50 ns (72 ns) | Manual | 33 MW | 33 MW | 27 October 2022 |  | Init Pulse Count: 803 M# End Pulse Count:

## Slide 29: X-Box3 – Line 1
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: 33 MW (peak)
9
10
11
12
13
14
15
16
17
18

## Slide 30: X-Box3 – Line 1
Step | Pulse Witdth | Compressed Pulse Width | Power | DUT BDs | DUT BDR | HyPC BDs | HyPC BDR | Millions of Pulses
9 | 1,9 us | 200 ns (210 ns) | 33 MW | 23 | 9.20000E-07 | 50 | 2.00000E-06 | 25
10 | 1,9 us | 150 ns (160 ns) | 35 MW | 27 | 8.70968E-07 | 29 | 9.35484E-07 | 31
11 | 1,9 us | 150 ns (160 ns) | 33 MW | 5 | 1.21951E-07 | 40 | 9.75610E-07 | 41
12 | 1,9 us | 100 ns (120 ns) | 37 MW | 13 | 5.00000E-07 | 41 | 1.57692E-06 | 26
13 | 1,9 us | 100 ns (120 ns) | 35 MW | 4 | 2.00000E-07 | 23 | 1.15000E-06 | 20
14 | 1,9 us | 100 ns (120 ns) | 33 MW | 6 | 2.60870E-07 | 24 | 1.04348E-06 | 23
15 | 1,9 us | 50 ns (72 ns) | 38,5 MW | 11 | 5.23810E-07 | 58 | 2.76190E-06 | 21
16 | 1,9 us | 50 ns (72 ns) | 37 MW | 5 | 2.17391E-07 | 37 | 1.60870E-06 | 23
17 | 1,9 us | 50 ns (72 ns) | 35 MW | 2 | 5.71429E-08 | 44 | 1.25714E-06 | 35
18 | 1,9 us | 50 ns (72 ns) | 33 MW | 2 | 4.08163E-08 | 27 | 5.51020E-07 | 50

## Slide 31: X-Box3 – Line 1

## Slide 32: X-Box3 – Line 1

## Slide 33: X-Box3 – Line 1