## Slide 1: Xboxes Update
01/03/2023

## Slide 2: X-Box3 – Line 2

## Slide 3: X-Box3 – Line 2
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: OFF
17
18
19
20
21
22
23
24
25
26
27

## Slide 4: X-Box3 – Line 2
Parameters:
1.9 us klystron pulse
50 ns CP
150 Hz rep rate per line
Current Power: OFF

## Slide 5: X-Box3 – Line 2
Step | Pulse Witdth | Compressed Pulse Width | Power | DUT BDs | DUT BDR | HyPC BDs | HyPC BDR | Millions of Pulses
17 | 1,9 us | 200 ns (210 ns) | 33.5 MW | 16 | 5,0000E-07 | 6 | 1.87500E-07 | 32
18 | 1,9 us | 150 ns (160 ns) | 34.5 MW | 4 | 2.10526E-07 | 2 | 1.05263E-07 | 19
19 | 1,9 us | 150 ns (160 ns) | 35.5 MW | 7 | 2.12121E-07 | 0 | 0 | 33
20 | 1,9 us | 150 ns (160 ns) | 33.5 MW | 4 | 1.08108E-07 | 0 | 0 | 37
21 | 1,9 us | 100 ns (120 ns) | 37.5 MW | 5 | 1.38889E-07 | 1 | 2.77778E-08 | 36
22 | 1,9 us | 100 ns (120 ns) | 35.5 MW | 2 | 4.00000E-08 | 1 | 2.00000E-08 | 50
23 | 1,9 us | 100 ns (120 ns) | 33.5 MW | 3 | 6.38298E-08 | 1 | 2.12766E-08 | 47
24 | 1,9 us | 50 ns (72 ns) | 39.5 MW | 15 | 4.16667E-07 | 5 | 1.38889E-07 | 34
25 | 1,9 us | 50 ns (72 ns) | 37.5 MW | 10 | 2.77778E-07 | 0 | 0 | 36
26 | 1,9 us | 50 ns (72 ns) | 35.5 MW | 4 | 6.34921E-08 | 0 | 0 | 70
27 | 1,9 us | 50 ns (72 ns) | 33.5 MW | 3 | 3.15789E-08 | 0 | 0 | 1000

## Slide 6: X-Box3 – Line 2

## Slide 7: X-Box3 – Line 1

## Slide 8: X-Box2

## Slide 9: X-Box2
Parameters:
1.6 us klystron pulse
100 ns CP
50 Hz rep rate per line
Current PKI Power: 32.8 MW

## Slide 10: X-Box2
Parameters:
1.6 us klystron pulse
100 ns CP
50 Hz rep rate per line
Current PKI Power: 32.8 MW

## Slide 11: X-Box2

## Slide 12: X-Box3 Structure Temperature

## Slide 13: X-Box3 Structure Temperature

## Slide 14: X-Box3 Structure Temperature