## Slide 1
Neutron and beta imaging with Micromegas detectors with optical readout
PHENIICS FEST – 11/05/2023
Antoine Cools
CEA Saclay
1

## Slide 2
1.CONTEXT
1.1 Micromegas detector
1.2 Light production mechanisms
2. DETECTOR CHARACTERIZATION WITH X-RAY
2.1 Soleil beam test
3. APPLICATIONS
3.1 B-imaging
3.2 Preliminary results with tritium samples
3.3 Neutron radiography
3.4 Preliminary results with a neutron source
CONCLUSION and PERSPECTIVES
2

## Slide 3
Advantages:
2D pixelized readout of high granularity
Megapixel resolution from commercial cameras
Integrated imaging approach
Applications:
Real-time neutron imager
β imager for sub-becquerel activity measurements
3
1.1 MICROMEGAS GASEOUS DETECTOR

## Slide 4
Scintillation
f Fluorescence
Prompt emission of photon after absorption of incident radiation.
(1 ns to 1 µs)
Primary scintillation
Coming from the excitation of the gas due to incident particles.
Secondary scintillation
Coming from avalanche amplification.
1.2 LIGHT PRODUCTION MECHANISMS
Gas mixture : Ar/CF4
4

## Slide 5
2. DETECTOR CHARACTERIZATION WITH X-RAY SOURCES
2.1 Soleil beam test
5

## Slide 6
2. DETECTOR CHARACTERIZATION WITH X-RAYS
ORCA - Quest qCMOS
Lens 25 mm
Cover PLA
Glass Micromegas
55Fe
Experimental set-up for x-rays
Bulk on glass from CERN and IRFU
Charge readout test in Argon+5%Iso:
  gain above 104 and FWHM reaches 16%
Glass Micromegas
S. Aune, T. Benoit, M. Kebbiri
Coated glass with 150 nm of ITO (Indium Thin Oxide)
Pillars with hexagonal pattern and large pitch (6 mm)
55Fe energy spectrum – 5.9 keV
6

## Slide 7
2. DETECTOR CHARACTERIZATION WITH X-RAYS (CERN GDD)
X-ray radiography (20 kV) – Ar/CF4(20%)
High gain: 1 min exposure time gives images with good contrast
60 sec full detector image with simple background suppression.
60 sec exposure time bat radiography with simple background suppression and beam profile correction.
7

## Slide 8
2.1 SOLEIL BEAM TEST
Goals
Determination of Point Spread Function (PSF)
Spatial resolution dependence on electric fields
Detector homogeneity
5 x 5 µm beam, Amplification
(Va=400 V, Vd=210 V)
8
Synchrotron Soleil (4 keV – 15 keV)

## Slide 9
9
Diffusion
2.1 SOLEIL BEAM TEST

## Slide 10
10
Deconvolution
MTF : 281 µm
MTF : 800 µm
PSF
Deconvolution
2.1 SOLEIL BEAM TEST

## Slide 11
3. APPLICATIONS
3.1 B-imaging
3.2 Preliminary results with tritium samples
3.3 Neutron radiography
3.4 Preliminary results with a neutron source
11

## Slide 12
3.1 Β-IMAGING
Tumor heterogeneity: different cell types inside a tumor
  Heterogeneity effect on drug targeting?
  Develop more efficient drugs
  Requires better detection sensibilities
Pharmaceutical needs at the cell level for drug development:
  Assess the drug distribution among cells
  Evaluate the impact of the cell heterogeneity on drug biodistribution
  At the cell level: Quantification of 3H concentration in single cell samples
12
Molecule labelling and tracking with tritium

## Slide 13
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES
First deposit : tritiated glucose
3H concentration ↔ sample activity (Bq)
Activity measurement limits and dynamic range → Activities: 0.1 Bq, 1 Bq and 10 Bq
Tritium deposits schema and picture
β
Cathode
Mesh
ITO
Glass
Light cover
Camera
VIS light
e-
OPTIMED-BETA set-up scheme
13

## Slide 14
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES
All drops positions are well assessed
0.1 Bq drops are close to the background noise
720 frames of 5 sec (60 min) added with simple background suppression - 20% of CF4
Integration method :
Light intensity profile
14
Reference | 9.8 | 1.76 | 0.09
Average | 11.74 | 0.84 | 0.086
σ | 1.28 | 0.18 | 0.026
Matching | 83% | 47% | 95%
Activity measurement (Bq)

## Slide 15
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES
Clustering method :
15
200 msec frame with single beta events

## Slide 16
Clustering method :
16
20000 frames of 200 msec (64 min), individual pixel background thresholding, 20% of CF4
Precise measurement of the drops positions
Better signal-to-noise ratio and counting events capability
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES

## Slide 17
20000 frames of 200 msec (64 min), individual pixel background thresholding, 20% of CF4
Clustering method :
17
Precise measurement of the drops positions
Better signal-to-noise ratio and counting events capability
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES

## Slide 18
Clustering method :
18
Reference | 9.8 | 1.76 | 0.09
Measurement | 5.13 | 0.85 | 0.108
σ | 0.38 | 0.088 | 0.014
Matching | 52% | 48% | 83%
Activity measurement (Bq)
3.2 PRELIMINARY RESULTS WITH TRITIUM SAMPLES

## Slide 19
3.3 NEUTRON RADIOGRAPHY
Acquisition modes:
  Event-by-event: track reconstruction:
  Potentially higher resolution (100 µm), better ɣ-to-n suppression
  Integrated: real-time radiography:
  Almost no data computation
Micromegas-based neutron imager
10B4C neutron-to-charge converter
  Thermal neutrons absorbed by 2 µm thin 10B4C layer
  Conversion efficiency: 5%
  (α or Li) fragments cause strong ionisation
  Drawback: fragments long range in the gas (5 mm)
Boron converter principle
19

## Slide 20
3.4 PRELIMINARY RESULTS WITH A NEUTRON SOURCE
Cathode
Mesh
ITO
Glass
Light cover
Camera
VIS light
e-
Experimental set-up
OMNIS set-up schema
B4C
Neutron source
Slow neutron
α & 7Li
10 mm
20

## Slide 21
3.4 PRELIMINARY RESULTS WITH A NEUTRON SOURCE
Drift field affects the diffusion in the gas
Diffusion spreads the light
50 V/cm drift field
800 V/cm drift field
2000 V/cm drift field
50 V/cm
800 V/cm
2000 V/cm
21

## Slide 22
3.4 PRELIMINARY RESULTS WITH A NEUTRON SOURCE
22
10 mm drift gap
250 µm drift gap
Reconstruction algorithm

## Slide 23
3.4 PRELIMINARY RESULTS WITH A NEUTRON SOURCE
23
10 mm drift gap
250 µm drift gap
Reconstruction algorithm

## Slide 24
CONCLUSION
What I have done
  Detector characterization with X-rays
  Activity measurement on low activity tritiated samples
  Neutron events analysis and reconstruction
Outlook
  Beam test at Soleil accelerator: spatial resolution measurement
  β-imaging: tests on isolated single tumor cells
  Neutron radiography: Irradiation at neutron facilities
24
Conferences :
Poster at NDIP conference (Troyes, France) https://doi.org/10.1016/j.nima.2022.167910
Presentation at MPGD22 conference (Tel Aviv, Israel) https://doi.org/10.48550/arXiv.2303.17444
Presentation at Animma (Pise, Italy), June 2023

## Slide 25
THANK YOU
25

## Slide 26
BACK UP
26

## Slide 27
LIGHT DETECTION DEVICES
Hamamatsu CMOS camera
Readout noise
Photon number resolving
Dark current
Cooling Sensor temperature Dark current
Air - 20 °C 0.016 e- /pixels/s
Pixels
Number Size
4096 x 2304 4.6 µm x 4.6 µm
Minimum exposure time
Mode Rate
Standard 1 µs/frame
Ultra quiet 100 ms/frame
27

## Slide 28
LIGHT DETECTION
28

## Slide 29: Light production mechanisms
Light yield : amount of light determines the signal to noise ratio. It depends on electric field, pressure and gas mixture.
Scintillation : excited atoms or molecules emit photons during de-excitation.
Scintillation
f Fluorescence
Prompt emission of photon after absorption of incident radiation.
(1 ns to 1 µs)
Phosphorescence
: Delayed emission of photons after absorption.
(1 ms to 100 s)
Primary scintillation
From the creation of primary electron coming from the excitation of gaz due to incident particles.
Secondary scintillation
From the creation of secondary electrons taking place during avalanche amplification.
Electroluminescence
Electrons with energy lower than ionization threshold just excite atoms or molecules.
29
Notes: 29

## Slide 30
PRELIMINARY RESULTS WITH TRITIUM SAMPLES
β particle range in Ar-Isobutane gas mixture
30

## Slide 31
DETECTOR CHARACTERIZATION WITH X-RAYS
X-ray radiography
MTF measurement
60 sec exposure time lead target radiography with simple background suppression.
31

## Slide 32: Beta spectrum : CF4 Overall activity : 76 Bq

## Slide 33
33

## Slide 34
34

## Slide 35
35

## Slide 36
36