## Slide 1: PERLE INJECTOR DIAGNOSTICS
Mohammed Ben Abdillah
sidi-mohammed.ben-abdillah@ijclab.in2p3.fr

## Slide 2: PERLE Genesis
PERLE: A testbed to explore and validate a broad range of accelerator phenomena & technical choices on the pathway to the LHeC and other new frontier machines realisation.
Main challenges: Multi-turn, high bunch charge, high power energy recovery, …
2 Linacs (Four 5-Cell 801.58 MHz SC cavities)
3 turns (164 MeV/turn)
Max. beam energy 500 MeV
I = 20mA
Injector Parameters | Unit | Value
Injection energy | MeV | 7
Normalised Emittance γεx,y | mm mrad | 6
Average beam current | mA | 20
Bunch charge | pC | 500
Bunch length | mm | 3
Bunch spacing | ns | 25
Duty factor |  | CW
Injector

## Slide 3: PERLE Injector scheme
DC gun
HV tank
Booster:
Buncher
Merger
Light box
Green laser 40 MHz

## Slide 4: PERLE injector: what should be monitored?
BEAM LOSS
Laser
LASER
Cathode
Buncher
Booster
Merger
ERL

## Slide 5: PERLE injector: where should it be monitored?
Diagnostics along the injector: Beam manipulation constraints available space for diagnostics
Position, charge
Transverse profile
Loss
Laser parameters (might be optional)
Unsure how much space would be dedicated to post merger diagnostics
Diagnostics beyond the Merger: Footprint issues
Energy and Energy dispersion
Transverse profile
Halo
Longitudinal profile

## Slide 6: PERLE injector: monitors to be used
ORBIT
PROFILE
ENERGY
CHARGE
LOSSES
BPM
View screens
View screens
(transverse)
+ deflecting cavity (longitudinal)
Dipole + View screen
BEAM
LASER
Power meters
CCD Cameras
Virtual cathode
GUN (optional)
High voltage Ripple monitor
BCM (BPM)
ICT
Faraday cup
PMT
Fiber
GOAL: injector with necessary diags and not a diag station

## Slide 7: PERLE Injector : example with diag positions
BUNCHER
MERGER
Booster

## Slide 8
Readout hardware and interface issues
Acquisition systems
Beam Manipulation
Commissioning schemes
Machine Protection
Injector Components

## Slide 9
Task force and partners
Needs: Task force for many diagnostics yet to be studied

## Slide 10
Conclusions
PERLE@Orsay is a key ERL project for HEP and Nuclear Physics communities
Diagnostics are crucial devices for PERLE success.
PERLE injector diagnostics quite challenging: commission schemes, CW operation, large dynamic ranges, broad range diagnostics, beam dynamics...
Collaborations on diagnostics under construction and still opened to new comers.

## Slide 11
Thank you for your attention!