## Slide 1: Spring at ISOLTRAP 2023/4/27
Roy Bualuan

## Slide 2: QUICK REMINDER:
Environmental Sensors
Various Odd Jobs/Help
Partial Software Transition to EPICS

## Slide 3: Technical Difficulties
RedPitaya issues
  Couldn’t detect BME280
  Couldn’t use BME280 and flux detector simultaneously
  Couldn’t push data to server
  Couldn’t communicate via pyVisa
  Inconsistent across different Python versions
Solution: Ditch RedPitaya!

## Slide 4: Technical Difficulties (cont.)
Arduino incompatibility
Couldn’t use BME280 and flux detector simultaneously
Couldn’t push data to PC
Inconsistent across different Python versions
Grafana breaking randomly
Low resolution
Decoding serial data

## Slide 5: Where are we now?
Working arduino & python code
High resolution data sent to Grafana
Multiple (prototypical) detectors functional

## Slide 6: What’s next?
Environmental Sensors
  Third set of detectors & arduinos
  3D case modeling
  Properly mount detectors
  Rewire detectors and electronics
Beam time!