| PS nTOF |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Facility Coordinator last week |  |  | Nikolas Patronis |  |  |
| Facility Coordinator this week |  |  |  |  |  |
| Beam Requested |  |  |  |  |  |
| EAR 1 | No |  |  | EAR 2 | No |
| Facility Status |  |  |  |  |  |
| Summary | - Beam at the n_TOF target since Saturday morning. Everything looks OK! - NEAR: Diamond detector test started. Very nice and promising results from the first shots. - EAR1 & EAR2: detection setups are working as expected, except for some issues with the umegas pre-amps. - DAQ in all areas looks to work nicely and smoothly |  |  |  |  |
| Issues |  |  |  |  |  |
| Plans | - Increase the intensity of the proton beam towards to the nominal one - Finalize beam settings for the FTN line (many thanks to PS) - EM “ringing” study will take place based mostly to the Si detectors. - EAR1: Optimization of the umegas electronics, data taking with SiMON - EAR2: Preparation of the capture setup; data taking with SIMON - NEAR: Final steps of the diamond detector tests and data taking |  |  |  |  |
| Foreseen Beam Stop |  |  |  |  |  |
| No | Duration |  |  | Date/Time |  |